# Primary Specimen Collection Manual

# (Pathology User Manual)

1 Introduction	5

1.1	The Quality Policy of the Pathology Laboratory at the National Maternity Hospital	5

1.2	Guide to Using this Manual	5

1.2.1	Using the “Table of Contents” for Navigation	5

1.3	Pathology Department Telephone Numbers	6

1.3.1	General Pathology	6

1.3.2	Anatomic Pathology	6

1.3.3	Biochemistry	6

1.3.4	Blood Transfusion	7

1.3.5	Haematology	7

1.3.6	Microbiology	8

1.4	Location of Pathology Departments	8

1.5	Pathology Department Opening Hours	9

1.6	Advisory Services	9

1.7	Requesting Tests	9

1.7.1	Transgender patients	9

1.7.2	Routine Requests	10

1.7.3	Urgent Requests during Routine Hours	10

1.7.4	Pathology On-Call Services	10

1.7.5	Verbal Request Policy by Department	13

1.7.6	Routine Cut Off Times for Specimen Acceptance/Processing	14

1.7.7	Critical results phoning policy	14

1.7.8	Special considerations for results	15

1.7.9	Availability of information	15

1.7.10	Release of information	15

1.7.11	Open Disclosure	15

2	Patient Identification and Consent	16

2.1	Patient dignity and Respect	16

2.2	Patient Consent	16

2.2.1	Anatomical Pathology Patient Information and Consent	16

2.3	Clinical Procedure for Patient Identification	16

2.3.1	Neonates, Unconscious Patients and Patients Unable to Identify Themselves	16

2.3.2	Identification of Foetus	16

2.3.3	Urgent Specimen from a “Moribund” (Unidentified) Patient	17

3	Safety	17

3.1	General Safety Guidelines	17

3.2	Venepuncture Procedure / Collection of Specimens	17

4	Requesting Tests on MN-CMS	19

4.1	Electronic Requests MN-CMS	19

4.2	How to Order Tests via the PowerChart	19

4.2.1	Genetic Requests	21

4.3	Specimen Collection MN-CMS	21

4.4	Requests with No Specimen Collection	22

4.5	Specimen Labelling MN-CMS	22

4.6	Specimen Labelling in the Event of MN-CMS Printer Failure	23

4.7	Processing Samples ‘Not Collected’ on MN-CMS	24

5	Requesting Tests: Paper Request	24

5.1	Consultant or Pathology Request Forms	24

5.2	Labelling the Primary Specimen and Filling in the Request Form	25

5.2.1	Request Form	25

5.2.2	Primary Specimen	26

5.2.3	Labelling Criteria for Community/GP Blood Transfusion Samples	27

6	Storage and Transport of Specimens	27

6.1	Pre-Analytical Specimen Storage	27

6.2	Specimen Transport	28

6.2.1	Delivery of Biological Specimens from ‘Off Site’ Clinics	28

6.2.2	Specimen Transport: Anatomic Pathology	29

6.2.3	Post Mortem	30

6.3	Transport of Potentially High Infectious Risk Specimens	30

6.3.1	Model Rules for Laboratory Porters and All Who Deliver Specimens to the Laboratory	30

6.4	Specimen Location Delivery Instructions	31

7	Specimen Acceptance Requirements	32

7.1	Laboratory Criteria for Specimen Acceptance	32

7.2	Laboratory Criteria for Rejection of Specimens	32

7.2.1	Reasons for Rejecting a Specimen	32

7.2.2	Factors that May Affect the Performance of the Test/Interpretation of Results	33

7.2.3	Exceptions to Rejecting a Specimen	33

7.3	Sample Receipt	33

7.4	Secondary Sampling of Primary Specimen	33

8	Reports	34

8.1	Reporting of Results within the Hospital	34

8.1.1	MN-CMS Reports	34

8.2	Winpath Ward Enquiry	34

8.2.1	Paper Reports	34

8.3	Reports for External Locations	34

8.4	Telephoned Reports	34

8.5	Critical results from a referral laboratory	35

8.6	Faxed Reports	35

8.7	Urgent Reports	35

8.8	Supplemental Reports	36

8.9	Amended Reports	36

8.10	Corrected report	36

8.11	Copy Reports	36

8.12	Delayed Results	36

8.13	Uncertainty of Measurement	36

8.14	Reference Ranges	37

8.15	Accredited and Non-Accredited Test Reporting	37

8.16	Pre-Authorised Results	37

8.17	Reports on Results from Referral Laboratories	37

8.18	Incomplete list review	38

9	Post Analytical Storage, Retention and Disposal	38

9.1	Anatomical Pathology	38

9.2	Blood Sciences	38

9.3	Microbiology	38

9.4	Specimen Reception and Dispatch	38

10	Policy on Protection of Personal Information	39

11	Complaints Procedure	39

11.1	Monitoring User Complaints	39

11.2	Feedback and Suggestions in relation to laboratory tests or results	39

12	Anatomical Pathology (Histology) Department	40

12.1	Anatomical Pathology Tests	40

12.2	Anatomical Pathology Specimen Requirements	40

13	Biochemistry Department	42

13.1	Tests and Specimen Requirements	42

13.2	Stability of Routine Biochemistry Tests	42

13.3	Specialised Biochemical Investigations	46

13.4	Retrospective Requesting/Additional Requests	64

13.5	Reference Ranges and Critical Alert Ranges	64

14	Blood Transfusion Department	73

14.1	Storage of Blood Specimens	78

14.2	Specimen Request Form	78

14.2.1	Antenatal Blood Grouping and Antibody Screen	78

14.2.2	Crossmatch Request	78

14.2.3	Blood Transfusion Laboratory Services at the National Maternity Hospital to Support Termination of Pregnancy Services	79

14.2.4	Routine Antenatal Anti-D Prophylaxis (RAADP) at the NMH	79

14.3	Maximum Blood Order Schedule	79

14.4	Massive Haemorrhage Pathway	80

14.5	Urgent Blood Product Requests	80

14.6	Investigation Following Suspected Transfusion Reaction	80

14.7	Reference Ranges and Critical Alert Ranges	80

14.8	Collection/Delivery of Blood, Components and Blood Products	81

14.9	Intra Uterine Transfusion	82

15	Haemovigilance	83

15.1	Patient Identification	84

15.2	Positive Patient Identification Procedure	84

15.3	General Haemovigilance Issues	85

15.3.1	Traceability (Legal Requirement)	85

15.3.2	Notification of Serious Adverse Events and Reactions (SAR and SAE)	85

15.3.3	Following Suspected Transfusion Reaction	85

16	Haematology	86

16.1	Haematology Tests	86

16.2	Stability of Routine Haematology Tests	88

16.3	Blood Films Outside of Routine Hours	104

16.4	Haematology Reference Ranges	104

16.5	Haematology Critical Alert Ranges	109

16.6	Retrospective/Add-On Requesting	110

17	Microbiology	112

17.1	Microbiology Specimens and Tests	112

17.2	Microbiology Specimen Stability	112

17.3	Reference Ranges and Critical Alert Ranges	131

17.4	Mandatory Reporting	136

17.5	Requesting Additional Examinations/Tests	136

18	Specimen Referral/Dispatch	137

18.1	Specimen Referral	137

18.2	Reports from Referral Laboratories	137

19	Virology Referral	138

19.1	Retrospective Requesting/Additional Requests	148

20	Appendices	149

20.1	Appendix 1: Useful Referral Contact Numbers	149

20.2	Appendix 2: Uncertainty of Measurement	149

Table of Figures:

Figure 1: General Pathology Telephone Numbers	6

Figure 2: Anatomic Pathology Telephone Numbers	6

Figure 3: Biochemistry Telephone Numbers	6

Figure 4: Blood Transfusion Telephone Numbers	7

Figure 5: Haematology Telephone Numbers	7

Figure 6: Microbiology Telephone Numbers	7

Figure 7: Department Location	8

Figure 8: Department Hours	8

Figure 9: Tests 'On-Call'	10

Figure 10: Telephone Request Policy	12

Figure 11: Specimen 'Cut off Times'	13

Figure 12: Specimen Location Delivery Instructions	27

Figure 13: Anatomical Pathology Tests	35

Figure 14: Anatomical Pathology Specimen Requirements	35

Figure 15: Routine Biochemistry Tests	37

Figure 16 : Routine Biochemistry Profiles	40

Figure 17: Glucose Testing	40

Figure 18: Urine Biochemistry Tests	41

Figure 19: CSF Biochemistry Tests	41

Figure 20: Specialised Biochemical Investigations	42

Figure 21: Reference Ranges for In House Testing	55

Figure 22: Haematology Critical Values Management	93

Figure 23: Stability of Microbiology Specimens	95

Figure 24: Blood Cultures	96

Figure 25: CSF Microbiology Examination	96

Figure 26: Faeces Examination	96

Figure 27: Fluids for Microbiology Examination	97

Figure 28: Sputum Microbiology Examination	97

Figure 29: Routine Swabs Microbiology Examination	98

Figure 30: Surveillance Screens	99

Figure 31: Urines Microbiology Examination	100

Figure 32:Other Specimens Microbiology Examination	100

Figure 33: Microbiology Referral Tests	102

Figure 34: Normal values for WBC, RBC, Protein and Glucose for Various Age Groups in CSF	111

Figure 35: Microbiology Critical Alert Ranges	112

Figure 36: Referred Test for Serology/Virology	118

Figure 37: Genetic Testing	127

Appendices

20.1	Appendix 1: Useful Referral Contact Numbers	128

20.2	Appendix 2: Uncertainty of Measurement	128

# 1 Introduction

This manual is designed to give an overall view of the services provided by the Department of Pathology and Laboratory Medicine. This manual is intended for users of the pathology service both within the hospital, and those from outside agencies. In January 2018, the National Maternity Hospital (NMH) implemented the Maternal Newborn–Clinical Management System (MN-CMS).  This replaced the existing paper patient health record with an electronic Powerchart for obstetric and neonatal patients. This was further extended for all gynaecological patients in September 2019.

## The Quality Policy of the Pathology Laboratory at the National Maternity Hospital

The Department of Pathology and Laboratory Medicine is committed to promoting and providing the highest quality diagnostic and consultative services for all its users.  The department is committed to the implementation of the National Maternity Hospital mission statement.

The quality policy is implemented by the following means:

- Implementation of a quality management system, the purpose of which is to review and continuously improve the quality of the services provided.

- Setting quality objectives and plans to implement the quality policy and ensure it is appropriate to the purpose of the hospital.

- Ensuring that all staff are familiar with the quality policy through publication of the quality manual to ensure user satisfaction.

- Treating health and safety as a prime focus for both staff and visitors.

- Upholding professional values and good professional practice.

- Complying with all environmental legislation.

The department will comply with the standards set by International Standard ISO 15189, AML-BB, EU Directive 2002/98/EC, HIQA and INAB for the services and tests defined in the quality manual and is committed to:

- Staff recruitment, training and development at all levels to provide an effective and efficient service to its users.

- Providing and managing resources to ensure that laboratory examinations are processed to produce the highest quality results possible and fit for intended use.

- Reporting results in ways, which are timely, confidential, accurate and are 	supported by clinical advice and interpretation when required.

- Implementation of internal quality control, external quality assessment, audit and assessment of user satisfaction to continuously improve the quality of the service.

- The safe testing, distribution and transfusion of blood and blood components.

- Providing a service for patients that is free from discrimination

## Guide to Using this Manual

A controlled up to date electronic version of this manual is available hospital wide in Q-Pulse software.  Any printed copies are uncontrolled documents.

### Using the “Table of Contents” for Navigation

One can navigate to any part of this document by holding down the CTRL key while also left clicking with the mouse in the appropriate area of the table of contents at pages 1-4 of this document.

## Pathology Department Telephone Numbers

Insert (01) 637 before extension number for direct access from outside the hospital.

Figure 1: General Pathology Telephone Numbers

| ### General Pathology | Contact Name | Phone/ Bleep |
| --- | --- | --- |
| Director of Pathology and Consultant Pathologist | Dr Susan Knowles | Contact on mobile phone through hospital switch or ext. 3578 |
| Laboratory Manager | Damian Lally | Ext: 3313 (Diverts to mobile if no answer) |
| Laboratory Administration | Edel Connolly | Ext: 3531 |
| Quality Manager | Laura Kennedy | Ext: 3187 |
| Information Systems Scientists | Andrew O’Keeffe Donal Noonan | Ext: 3383 |
| Point of Care Scientist | Sarah Brady | 0867969647 |
| Specimen Reception/ Specimen Dispatch | Mariela Zalduendo | Ext:3178/3545 Fax: 01 6373410 |
| Medical Scientist Emergency On-Call | Rotational | Mobile: 086 385 3277* *Current primary contact source |

Figure 2: Anatomic Pathology Telephone Numbers

| ### Anatomic Pathology | [CTRL + Click on link to go to dept. details] | Phone/ Bleep |
| --- | --- | --- |
| Consultant Pathologists | Dr Eoghan Mooney Dr Paul Downey Dr Catherine Connolly Dr David Gibbons | Ext: 3181 Ext: 3135 Ext: 4089 Ext: 3531 |
| Chief Medical Scientist | Paula Whyte | Ext:3263 |
| Senior / Specialist Medical Scientist | Declan Ryan David Mahon Constance Young | Ext: 3180 |
| Routine Laboratory |  | Ext: 3531/3180 |
| Senior Pathology Technician | John Long | Ext: 3531 |
| Reports/Administration | Edel Connolly | Ext: 3531 |
| Pathology Registrar | Rotational | Ext: 3252 |

Figure 3: Biochemistry Telephone Numbers

| ### Biochemistry | [CTRL + Click on link to go to dept. details] | Phone/ Bleep |
| --- | --- | --- |
| Consultant Clinical Chemist | Prof. Carel Le Roux | Contact on mobile phone through hospital switch or ext. 3490 |
| Chief Medical Scientist | Catherine Doughty | Ext: 3546 |
| Senior Medical Scientist | Philip Clarke | Ext: 3546 |
| Routine Laboratory |  | Ext: 3546 |
| Emergency On Call | Medical Scientist On Call | Mobile: 086 385 3277* *Current primary contact source |

Figure 4: Blood Transfusion Telephone Numbers

| ### Blood Transfusion | [CTRL + Click on link to go to dept. details] | Phone/ Bleep |
| --- | --- | --- |
| Consultant Haematologist | Dr Joan Fitzgerald | Routine: 01 2213125 Ext: 3382(SVUH) Emergency: On Call Haematology Consultant (Speed Dial) 17301(SVUH) |
| Chief Medical Scientist | Aoife Reynolds | Ext: 3547 |
| Senior Medical Scientists | Donal Noonan Christine Clifford | Ext: 3547 |
| Routine Laboratory |  | Ext: 3547 |
| Emergency On Call | Medical Scientist On Call | Mobile: 086 385 3277* *Current primary contact source |
| Major Haemorrhage Emergency Phone |  | Ext: 3584 Diverts to emergency mobile out of hours |
| Haemovigilance Officer | Bridget Carew | Ext: 3569 Bleep: 095 |

Figure 5: Haematology Telephone Numbers

| ### Haematology | [CTRL + Click on link to go to dept. details] | Phone/ Bleep |
| --- | --- | --- |
| Consultant Haematologist | Dr Joan Fitzgerald | Routine: 01 2213125 Ext: 3382(SVUH) Emergency*: On Call Haematology Consultant (Speed Dial) 17301(SVUH) |
| Chief Medical Scientist | Sinead O’Brien | Ext: 3548 |
| Senior Medical Scientist | Paul Keenan | Ext: 3548 |
| Routine Laboratory |  | Ext: 3548 |
| Emergency On Call | Medical Scientist On Call | Mobile: 086 385 3277* *Current primary contact source |

Figure 6: Microbiology Telephone Numbers

| ### Microbiology | [CTRL + Click on link to go to dept. details] | Phone/ Bleep |
| --- | --- | --- |
| Consultant Microbiologist | Dr Susan Knowles | Ext: 3578 or Contact on mobile phone through hospital switch |
| Chief Medical Scientist | Anya Curry | Ext: 3179/3533 |
| Specialist Medical Scientist | Gráinne O’Dea | Ext: 3179/2004 |
| Surveillance Scientist | Carol O’Connor | Ext: 3179/3533 |
| Senior Medical Scientist | Gwen Connolly | Ext: 3179/3533 |
| Microbiology Office |  | Ext: 3179 |
| Routine Laboratory |  | Ext: 3533 |
| Molecular Microbiology |  | Ext: 2004 |
| Emergency On Call | Medical Scientist On Call | Mobile: 086 385 3277* *Current primary contact source |
| Virology Dispatch |  | Ext: 3178 |
| Virology Results |  | Ext: 3178/3179/3533 |
| Microbiology Specialist Registrar | Rotational | Ext 2049 / bleep 315 |

## Location of Pathology Departments

Figure 7: Department Location

| Department | Location | POD Station |
| --- | --- | --- |
| Anatomic Pathology | Above the outpatient clinic in the main hospital building. | 11 |
| Biochemistry | Blood Sciences laboratory on the ground floor in the new wing of the hospital. | 12 |
| Blood Transfusion | - Blood Sciences laboratory on the ground floor in the new wing of the hospital | - 12 |
| Haematology | - Blood Sciences laboratory on the ground floor in the new wing of the hospital | - 12 |
| Microbiology | - The Microbiology Laboratory is located in the basement of the new wing of the hospital | - 13 |
| Specimen Reception | Ground floor of the new wing of the hospital. Beside Blood Sciences laboratory | 12 |

## Pathology Department Opening Hours

Figure 8: Department Hours

| Department/Activity | Opening Hours |
| --- | --- |
| Routine Service |  |
| - Monday to Friday All Departments with the exception of Anatomic Pathology | 08:00 - 18:00 |
| - Anatomic Pathology Monday to Friday | 08.00 – 17.00 |
| Saturday (Biochemistry, Blood Transfusion, Haematology and Microbiology) | 09:30 -13:00 A reduced service is provided on Saturday (Specimens should reach the laboratory before 12.00) |
| Emergency out of hours’ service - (Biochemistry, Blood Transfusion, Haematology and Microbiology only) | - (On Call emergency diagnostic service) - Pod Station 12 |
| - Monday to Thursday | - 18:00 – 08:00 the following day |
| - Friday | - 18:00 – 09:30 Saturday |
| - Saturday | - 13:00 –09:30 Sunday |
| - Sunday and Bank Holiday: | 09:30 – 08:00 the following day |
| - Sunday of Bank Holiday Weekend | 09:30 – 09:30 the following day |

## Advisory Services

Advisory services and clinical advice are available at Consultant level 24 hours a day, seven days a week via ‘on site’ Consultants or through telephone support either from the ‘in house’ Consultants or via agreed support.

Memoranda of understanding have been agreed between the Consultants in the Department of Pathology and Laboratory Medicine and Consultant colleagues.

Frequency of requesting examinations is a clinical decision and can be discussed at Consultant level (see section 1.3 for contact details).

## Requesting Tests

The requesting clinician can order a test(s)or blood product(s)either by using a request form and labelling the sample container, or by ordering electronically on MN-CMS and attaching the generated barcode label to the sample.  MN-CMS is used for all patients of NMH. In the event that the MN-CMS system is unavailable or it is not possible to make a request through MN-CMS, staff can revert to use of paper request forms. The requesting clinician must complete the appropriate request in full, including clinical details.  The personal information received is treated as confidential in line with the hospital policy on personal information.

### Transgender patients

When ordering laboratory tests for transgender patients, please inform the lab if the patient’s gender is recorded in the ‘sex’ field in MN-CMS instead of the sex at birth.

In the clinical details section, enter the following:

Transgender patient.  Sex at birth [M/F]. Gender [M/F]

This will allow the lab to assign the appropriate ranges for the tests requested and select the appropriate blood for transfusion.

It is the responsibility of the requesting clinician and person collecting patient specimens to ensure that the request is correctly completed, the sample is taken from the correct patient and that the correct label is attached.

### Routine Requests

For routine examination of specimens:

- Fill out the required fields on appropriate request form (either paper or electronic).

Note: Anatomic Pathology require the electronic printed requisition form.

- Attach addressograph label to paper request form (if used).

- Take specimen into correct container.

- Label specimen correctly using MN-CMS generated label or manually.

- Transport to laboratory via: Pneumatic chute POD system (except for all Anatomic Pathology specimens, and some specific specimens, see departmental tables in sections 13-19 for exceptions); direct delivery; porter’s collection.

### Urgent Requests during Routine Hours

- Urgent specimens should be clearly marked by writing or selecting ‘Urgent’ on the request form.

- Telephone the appropriate laboratory (for correct extension numbers see section 1.3). Specimens may not be processed as urgent unless laboratory staff have been alerted by telephone.

- When the specimen arrives into the laboratory, it is brought to the attention of the medical scientistand processed in rapid mode according to local policies available in individual departments.

### Pathology On-Call Services

The Out of Hours service is reserved for non-deferrable analysis of specimens. The service should meet the clinical need for safe patient care. The necessity to take a sample prior to instituting treatment does not always imply that the result is required urgently. Before requesting a test to be analysed ‘Out of Hours’, a clinician should consider:

- Will the result, whether high, low or normal affect my diagnosis?

- Will the result, if available early, affect treatment?

For more information on the services provided Out of Hours, please see PP-CS-LM-24, the procedure for Laboratory Out of Hours Service and WI-CS-LM-28 Laboratory Contact Out of Hours

#### Scientist On-Call

The emergency ‘Out of Hours’ service is multidisciplinary covering the Biochemistry, Haematology, Blood Transfusion and Microbiology departments. The medical scientists providing the ‘Out of Hours’ service are ‘On Call’ and have already completed a full day’s work prior to starting On Call.  There are two medical scientists covering the ‘Out of Hours’ service at all times. The medical scientists ‘On Call’ cover all laboratories rather than the department in which they are based during the day.  While extensive training and competency assurance is in place, scientists cannot be expected to know the answers to all questions clinicians may have. Clinical advice is available 24/7 through telephone contact with Consultants. It is essential that requests are restricted to emergency samples only. Where demand is high, processing of samples will be prioritised and/or processed in batches. Scientist must be contacted out of hours to alert them to urgent samples. Specimens may not be processed as urgent unless laboratory staff have been alerted by telephone.

#### Accessing the Service

The On-Call medical scientist requires notification of emergencies via on-call mobile. Please note that the mobile is the current primary contact point. Send samples to Pod Station 12 (some specific specimens cannot be sent through the POD, see departmental tables in sections 13-19 for exceptions).

- Mobile	086 3853277

#### Tests Available ‘On-Call’

The tests outlined below are available ‘Out of Hours’. Please note the contents of the comment section for specific requirements.

Figure 9: Tests 'On-Call'

| Department / Test ‘On Call’ | Comments |
| --- | --- |
| Blood Transfusion |  |
| Group and Coombs Paediatric | Available when bilirubin is raised or result is required for blood or product issue. When cord bloods were not received and the mother is RhD Neg and may require Anti-D urgently. When a maternal antibody is present and cord bloods are not available for testing i.e. Maternal antibody first identified postnatal/transfer baby |
| Blood Group and Antibody screen | Request must be on the crossmatch request form. LF-BTR-XREQ Rev 3 or request form printed from MN-CMS. Out of hours Type and Screen samples will only be processed for patients with the following clinical details: 1. Crossmatch request or request for the provision of Blood Products. 2. Unbooked or 1st time presentation. 3. Ectopic. 4. Placenta Previa. 5. Placenta Accreta. 6. Known immune antibody. 7. Transfusion reaction investigation. 8. For patients where blood products may be required e.g. PPH/Emergency LSCS and there is not a valid sample available. |
| Provision of Blood Products | In accordance with MBOS and Major Haemorrhage pathway or by specific request. Please note that the Blood Bank must be informed when patients with known immune antibodies are admitted to allow adequate time to source suitable blood products. |
| Please note on Sundays and Bank Holidays one batch of cord blood samples and Anti-D requests will be processed each morning for all samples received in the laboratory before 09.30 AM. |  |
| Cord Blood | Not available except for the presence of maternal antibodies, where DCT is then urgent, or when approaching 72hrs postnatal. |
| Prophylactic Anti-D Ig Issue | Issued up to 10pm if patient is not being admitted. Issued in response to suspected sensitizing event if approaching 72 hours or if there is an uncertainty about the patient’s commitment to return, IUD. Sample for group and screen must be drawn prior to request. |
| Transfusion Reaction Investigation | Limited testing can be made available based on the transfusion reaction type and the intention to continue to transfuse. |
| Biochemistry |  |
| Note: PN bloods must be in the laboratory by 08:00 AM, results will be available by 09:30 AM. They should not be drawn before 07:00 AM. |  |
| Albumin |  |
| Alkaline Phosphatase (ALP) |  |
| Amylase |  |
| Aspartate Transaminase (AST) |  |
| Alanine Transaminase (ALT) |  |
| Bilirubin-Direct |  |
| Bilirubin-Total |  |
| Calcium |  |
| Chloride |  |
| Creatine Kinase (CK) |  |
| Creatinine |  |
| C Reactive Protein (CRP) |  |
| CSF : Glucose + Protein |  |
| Glucose |  |
| Gentamicin | Sunday and Bank Holiday Monday mornings |
| Lactate Dehydrogenase (LDH) |  |
| Magnesium |  |
| Osmolality (plasma + urine) |  |
| Phosphate - inorganic |  |
| Potassium |  |
| Sodium |  |
| Total Bile Acids |  |
| Total Protein |  |
| Triglycerides |  |
| Urate |  |
| Urea |  |
| Urinary Protein: Creatinine ratio |  |
| Hypoglycaemic Screen | Call the laboratory. See Hypoglycaemic Workup request form RF-CS-BIO-41, available on Q-Pulse for details of all samples required. |
| Haematology |  |
| Coagulation Screen | Specific factor assays available by Consultant request |
| FBC | Low platelet counts reviewed for clumping in accordance with protocol. Urgent film review available in accordance with protocol. |
| Blood Film | Available by Consultant request if urgent |
| Microbiology |  |
| NMH and RVEEH |  |
| Blood Culture | Incubating bottles and processing of positive bottles; culture, Film Array and Gram stain |
| MSU | Microscopy and culture upon request. |
| Sars-CoV-2 / Flu A/B / RSV (GeneXpert) | On-call testing for symptomatic patients only (NMH and RVEEH). |
| NMH Only |  |
| CSF | Cell count, Gram stain and culture |
| Paediatric urines | Microscopy and Culture |
| Pregnancy Test | POCT available in Casualty, OPD and Unit 4; manual hCG available as per policy |
| Rapid GBS (GeneXpert) | Monday – Friday: 1 run at 22.00 Saturday: 1 run at 22.00 Sunday/Bank Holiday: 2 runs per day at 12:30, 22.00 |
| RVEEH Only |  |
| Vitreous/Aqueous Tap in Paed Blood Culture | Incubating bottles and processing of positive bottles for culture, Film Array and Gram stain |
| Corneal Scrapings | Incubation of inoculated plates for bacterial and fungal culture |
| Neisseria gonorrhoeae culture | Incubation of inoculated plates |
| Virology |  |
| Varicella | Samples will be sent out @ 09:30 AM the following morning with the courier. Please phone the laboratory to inform them of the urgent sample. On occasion, if approaching 10 days’ post exposure event, the sample may be sent out before the next day. |
| Urgent Booking Bloods (HIV, HEP B, HEP C) | For patients in labour only |
| Occupational Blood Exposure | Please phone the laboratory to inform them of urgent sample. Samples will only be processed up to 22.00 by the NVRL out of hours with approval by the NVRL medical team. Samples will not be analysed if status of source is known. |

### Verbal Request Policy by Department

Figure 10: Telephone Request Policy

| - Department | - Policy |
| --- | --- |
| Anatomic Pathology (Histology) | Anatomic Pathology will not accept telephoned requests as all requests must be accompanied by the appropriate request form. |
| Biochemistry | Routine specimens are retained in the Biochemistry laboratory for up to 5 days, refrigerated at 2-6˚C. Analyses of additional tests are subject to specimen integrity and analyte stability. Add on facility only available for routine Biochemistry samples up to 24 hours from sample draw. Telephone requests for additional analyses are accepted from clinicians but must be followed up with the appropriate add on request form. |
| Blood Transfusion | Urgent requests can be made by phone but should be followed up with the appropriate request. Request for crossmatch can only be accepted if the inpatient Type & Screen sample is <72 hrs old and initialled as drawn and checked against armband. |
| Haematology | Haematology and coagulation specimens are usually kept for one week at 2-6˚C after processing. Blood films are usually kept for 1 month after review or held at the request of the Chief/Consultant Haematologist. Analyses of additional tests are subject to stability of analyte. Refer to Section 7.3 regarding time restraints from time of sampling to time of testing. If a further test is required on a specimen that is already in the laboratory which falls within the necessary time limit for retrospective testing, requests for additional analyses are accepted from clinicians but should be followed up with the appropriate add on request form. |
| Microbiology | Additional tests can be requested by telephone provided specimen and request have already been received by the laboratory. Telephone requests are accepted from clinicians, but should be followed up with the appropriate request form or as add on test through MN-CMS. |

### Routine Cut Off Times for Specimen Acceptance/Processing

Figure 11: Specimen 'Cut off Times'

| Laboratory Discipline/Location | Receipt of Specimen | Routine ‘Cut Off’ Time for Same Day Processing |
| --- | --- | --- |
| Anatomic Pathology |  | See Specimen Requirements in Figure 16 |
| Biochemistry | For same day processing | Mon – Fri:16:30hrs Sat: 12:00hrs |
| Blood Transfusion | For same day processing | Mon – Fri: 15:00hrs Sat: 12:00hrs |
|  | Specimens from patients for elective surgery | Mon – Fri: 16:00hrs on the last normal working day prior to the scheduled surgery |
|  | Specimens from patients with PSE Anti-D Ig requests | Mon – Fri: 16:00hrs Sat: 12:00hrs Anti-D Ig requests outside these cut off times will be available at 11:00 AM Mon-Fri and 14:00 Sat and Sun the following day providing the patient does not have immune antibodies. |
| Haematology | For same day processing | Mon – Fri: 16:30 hrs Sat: 12:00hrs Routine specimens arriving after the cut off times may not be analysed until the next routine working day. |
|  | Specimens for: Malaria, IM, sickle cell, Kleihauer and blood films for same day service. | Mon – Fri: 13:00hrs Sat: 12:00hrs Routine specimens arriving after the cut off times may not be analysed until the next routine working day. |
| Specimens for Haematology Referral |  | Specimens which reach the lab by 12:00hrs Mon – Fri will be referred on the same day. Routine referrals for St Vincent’s: before 15:00hrs. Coagulation referrals that arrive after 15:00hrs are not guaranteed processing unless by prior arrangement. |
| Microbiology | For routine processing | Mon – Fri: 17:45hrs Sat: 12:00hrs |
|  | C.S.F. specimens | Mon – Fri:16:30hrs, for full processing by Microbiology scientific staff. |
| Specimen Reception | Receipt of Specimens | Mon – Fri only:17.00hrs |
|  | Specimen Dispatch | Mon – Fri only:12:00hrs |

### Critical results phoning policy

Critical results are phoned as per LP-GEN-TELREP.

See departmental data for information on what results are phoned.

Results are phoned to the clinical area and given to a member of the clinical area / team.

Where the result is critically abnormal and contact cannot be made with the clinical area a member of the clinical team is contacted.

The 1st and 2nd ‘On Call’ for the relevant area are bleeped.

If there is no response, the ADOM is contacted and the result relayed.

If there is no response from the Clinicians, the clinical area is contacted again, the result is relayed with a request that it is given to the clinical team.

### Special considerations for results

For the test results which may have serious implications for the patient, consent to report the result(s) to the requesting clinician(s) is implied within the agreement to take the sample and order the test. This includes an expectation that the requesting clinician/team will provide adequate counselling when conveying the result to the patient.

### Availability of information

The laboratory will make relevant information available to any other health service provider at the request of the patient or the request of a healthcare provider acting on their behalf

### Release of information

It is not routine for the laboratory to release confidential information on patients.  There are occasions when the release of patient information into the public domain is required by law or authorized by contractual arrangements.  Examples of this would be the National Cancer Control programme, the national Cancer Registry Ireland or surveillance information on infectious diseases.

Consent to release this information is achieved when the patient signs a GDPR form.  If information outside these scenarios is required to be released, the disclosure to patient’s policy (PP-OG-GEN-17) will be followed.

Notifiable Diseases:

List of Notifiable Diseases - Health Protection Surveillance Centre

NCRI

National Cancer Registry Ireland | Essential information on cancer in Ireland

NCC

National Cancer Control Programme - HSE.ie

### Open Disclosure

Where appropriate, patients, service users, and any other relevant individuals are informed of incidents that have resulted, or could have resulted, in patient harm. Records are maintained of the actions taken to mitigate such harm. The hospital open disclosure policy PP-OG-CRG-1 is followed. Open disclosure is incorporated into the hospital’s Feedback Management Policy (PP-CS-QTY-6).

# Patient Identification and Consent

## Patient dignity and Respect

The laboratory is committed to ensuring that all patients, specimens, and human remains are treated with due care, dignity, and respect throughout the specimen collection and handling process.

## Patient Consent

Please refer to the hospital guidelines for obtaining patient consent before taking primary specimens.

PP-CS-GEN-3 (Guidelines for obtaining patient consent)

CG-MO-13 (Refusal of Blood/Blood products guideline)

### Anatomical Pathology Patient Information and Consent

Patient information leaflets are given to the patients before consent is sought for post mortem.  Post mortem consent forms may only be signed by medical staff who have attended the laboratory induction programme. Consent for post mortems is only required for in house cases not coroner’s cases. All other patient information supplied by appropriate hospital department.

## Clinical Procedure for Patient Identification

Positively identify the patient by requesting verbal confirmation of surname, forename and date of birth. Verify that the details provided match those indicated on the hospital ID band for in-patients. Check this name and date of birth matches the details on the laboratory request in the Electronic Health Record (EHR) request or request form. When the phlebotomist/clinician is satisfied that the patient has been fully and correctly identified, they can proceed to take the blood sample. Special vigilance is required for neonatal patients; as verbal confirmation of identity is not possible.

Details for labelling should be taken from the patient’s wristband if worn. This applies for all inpatients and for all specimens taken for Blood Transfusion. Confirm demographic details verbally with adult patients. High risk patients must be marked with a red sticker.

Verify that the patient meets pre-examination requirements e.g. fasting status, medication status (time of last dose, cessation), sample collection at predetermined time etc. Note: please refer to the hospital guideline for positively identifying patients before taking primary specimens, PP-OG-CRR-2.

### Neonates, Unconscious Patients and Patients Unable to Identify Themselves

This includes adult patients who are undergoing general anaesthesia, unconscious, confused patients or patients whose first language is not English and neonates.

- Verify that the details provided match that indicated on the hospital ID band, forename, surname, unique hospital number, date of birth and gender in the case of an infant.

- Baby is sufficient as a forename for infant patients i.e. Baby Murphy.

- For twins or triplets, the forename may be Twin 1, Triplet 2 etc.

- This information must be identical with the information on the request and specimen tube sent to laboratory.

### Identification of Foetus

In order to uniquely identify a foetus, and link it to the mother the following is laboratory policy:

- Use the mother’s demographics for surname and address.

- Record the forename as “Foetus of” in front of the mother’s forename.

- Where more than one pregnancy is recorded in a given year add the suffix B. e.g. Foetus 2009 B etc.

- Where more than one foetus is present in a pregnancy the forename should be Foetus Twin 1, Twin 2 etc. e.g. Foetus Twin 1 2009, Foetus Triplet 2 2009.

- The hospital number must be left blank for completion when the baby is born. As for patients without a hospital number the 1st line of the mother’s address acts as a mandatory identifier.

- For intra-uterine transfusions (IUT), the date of birth is changed to the date of the IUT, and the sex is changed from F to Unknown.

- Reports should be filed in the mother’s chart.

- When the foetus is delivered, the baby is registered on the PAS system and assigned a hospital number, and the previous IUT Winpath record is updated.

### Urgent Specimen from a “Moribund” (Unidentified) Patient

In the occasional event of an urgent specimen from a “moribund” patient, where identity cannot be confirmed, the following essential information must be provided on both request form and specimen:

- Allocated identifier e.g. “Jane Doe”

- Gender (Sex)

- Date of specimen

- Unique hospital number obtained from PAS system is essential on their identification arm band for positive patient identification.

# Safety

The hospital safety statement, NMH Safety Statement, is available on Q-Pulse as PP-GS-HS-1. The laboratory uses standard precautions when handling all patient specimens.

## General Safety Guidelines

- Always use approved specimen collection containers and ensure lids are securely closed.

- Observe standard precautions when taking patient specimens.

- Always dispose of sharps appropriately and according to the NMH Safety Statement.

- Specimens must be placed in approved biohazard bag with request form placed separately in the sleeve provided as appropriate.

- Do not place specimen and form together in the same pouch of the biohazard bag.

- Always supply clinical information including known infection risk with each request.

Specific instructions on specimen transport are outlined in Section 6 of this document. Model rules to ensure staff safety during specimen transport are outlined in Section 6.2.2. Any spills must be dealt with in accordance with NMH Health and Safety Statement as well as the procedure for dealing with biological spills, LP-GEN-BIOSPILL, located in Q-Pulse.

## Venepuncture Procedure / Collection of Specimens

- Wear appropriate PPE.

- Observe the hospital consent policy.

- Reassure the patient and briefly explain the tests being taken.  Ensure patient is comfortably seated and relaxed.

- Ensure patients identification details are checked and correct, in line with NMH Positive Patient Identification Policy.

- Select the correct specimen tubes. See SI-NOT-GEN1 and SI-NOT-GEN2 for Order of Draw charts on Q-Pulse

- Always use sample collection tubes, swabs etc. that are in date. Specimens taken into expired collection tubes / containers may render the specimen unsuitable. Specimen tubes must NOT be pre-labelled.

- Rest limb on pillow or arm support and identify vein (in ante cubital fossa) for phlebotomy procedure.

- Apply tourniquet and cleanse patient’s skin with a sterile skin wipe.

- Inform the patient when you are about to venepuncture (described as a scratch).

- Anchor vein if necessary and insert needle with bevel facing up.

- Hold the vacutainer needle holder securely to allow change of tubes and collect required specimens. Please note: Samples for Blood Culture investigation must be drawn first to avoid contamination. See SI-NOT-GEN1 and SI-NOT-GEN2 for Order of Draw charts on Q-Pulse.

- When all specimens are collected, release tourniquet and withdraw needle smoothly and carefully.

- Apply cotton wool to puncture site and ask patient to apply pressure for about 2 minutes keeping arm straight.  This helps avoid bruising/haematoma.

- Push safety guard over needle to render safe and dispose of used needle immediately into sharps bin. All waste is disposed of in accordance with PP-GS-HS-1 NMH Safety statement.

- Proceed to label the tube at the patient bedside.

The above procedure is designed for adult patients. For neonatal patients, the same general principles apply. Paediatric blood collection tubes are available.

To summarise, complete the procedure with each patient:

- Check patient identification.

- Complete request.

- Venepuncture – collect specimens.

- Label specimens correctly

- Check specimens post collection to confirm Positive Patient Identification (PPID) and labelling are correct.

- For all Blood Transfusion specimens, ensure that the specimen is initialled to confirm that the above checks have been performed, if the sample is hand labelled.

- Place specimens in designated bag.

- Arrange for transport to laboratory.

Universal precautions should be observed when handling all pathological material. It is the responsibility of the requesting clinician to ensure that specimens which pose an infection risk to staff are clearly identified by a red sticker attached to the request form.

For Microbiology, do not put liquid based specimens in the same specimen bag as dry specimens, e.g. a urine specimen in with a swab.  Liquid specimens can leak, rendering the other specimen in the bag unsuitable for analysis due to contamination.

For patient preparation for samples other than venepuncture, refer to relevant clinical care guidelines and relevant departmental data.

# Requesting Tests on MN-CMS

## Electronic Requests MN-CMS

For obstetric, new born and gynaecological patients, requests are placed via the orders module of the electronic chart MN-CMS.

## How to Order Tests via the PowerChart

- All tests are ordered in the Orders tab on the left hand side.

- You can order a test by clicking on +Add in either of the places below

- Laboratory tests can be ordered using the search function. Type the name of the test required (see below for name of tests in each department) i.e. type FBC or Full Blood Count or using the folders option. Refer to Appendix 3 for the Microbiology orders list.

- You don’t always have to type in the full name as Millennium will filter as you type. Many of the NMH tests will have a suffix ‘N’ - This is to differentiate a test performed in the NMH from a test performed elsewhere if a patient is transferred.

- Special requirements:

  - If a test has any special requirements e.g. an external request form or frozen sample, a pop up alert will alert the user.

  - Click Ok to continue.

  - This can be viewed subsequently by clicking on the document icon in the orders list.

- Click ‘Done’ when all relevant tests have been selected. Failure to do so will mean that the tests were not saved for processing.

- Fill in the relevant clinical details appropriately. The laboratory will have to ring you for further information if not completed properly.

  - For Sars-CoV-2 requests, it is mandatory to supply the patient’s telephone number as per HSE and Public Health requirements.  Please enter the phone number in the clinical details field.

- Please note all yellow fields / fields with * are mandatory.

- Put in your bleep etc. if you wish to be informed of any critical results.

- Collection priority – Routine or Urgent are the most common options for in-patients.

- Specimen type should default unless there are several options i.e. CSF, Blood etc.

- Collection date and time should automatically fill in. Adjust if necessary.

- If you get the pop-up message below, it means that some of the tests require additional details.

- Click on First Detail to bring you to the next mandatory field.

- If a test has already been ordered on the patient, then an alert box will appear (see below). This is telling you that an FBC has already been ordered for this patient within a predefined period dependant on the test in question. For some tests this may be a few hours and for others it could be days or even weeks. This is to reduce the number of inappropriate tests being repeated.

- For some tests you can select ‘order anyway’ if you know this has been ordered already but you want a repeat sample.

- For other tests, such as genetic tests, you will not be allowed to re-order the test as there is no clinical reason to do the test more than once. In this instance you will be asked to remove the request as it is a duplicate order.

- When all the tests have been ordered and all the required clinical details have been filled in, click ‘sign’.  This will pull all tests in together and will only request the amount of tubes necessary to process what has been requested.

### Genetic Requests

Requests for genetic analysis can be placed electronically. The referral laboratory specific request form must be completed in addition to the electronic request. Please ensure correct consent has been obtained.

## Specimen Collection MN-CMS

- Once you have ordered the tests then it is very important to tell the system that you are taking the sample. Select Specimen Collection on the top menu.

- You should then scan the patient ID band. Failure to scan the ID band for an inpatient will result in the test being rejected by the laboratory.

  - For in-patients, the option to override the barcode scan has been removed.

  - For out-patients, if the patient does not have an ID band then you can select Unable to Scan barcode on the bottom left of the screen.

- A list of all tests requested on the patient will appear. Please note that some of these may not be relevant so please take note of the date and time of the samples on the right hand side. Only select the ones you wish to take.

- If you no longer wish to take a sample or are unable to take the sample, you must remove it from this list by clicking on the sample and selecting ‘not collected’ and then stating why it is not being collected.

- The type of sample bottle required is also displayed on the left hand side. The volume is the volume of the sample container and not the volume of sample required. This will also print on the label.

- To collect a sample, you must print the label - Right click on the sample type and select ‘Print Label’.

- Print the labels after you have taken the samples.

- Please label the samples correctly, see Section 4.5.

- Check ALL samples post phlebotomy. Confirm samples have been labelled correctly; all patient demographics are present and confirm PPID between the patient and the labelled specimen.

- Mark the samples as collected.

  - Failure to mark samples collected prevents the request being sent to the laboratory.

- Any duplicate MN-CMS requests printed in error must be discarded.

## Requests with No Specimen Collection

- Some requests do not require specimen collection. These tests require the printing of an A4 paper requisition, and include:

  - Blood Products

  - Blood Collection

  - Add On tests

Unless a printed requisition is sent to the laboratory, no request has been received.

- Complete the order as in Sections 4.2 and 4.3 above.

- The order is marked collected when signed.

- Right click on the order.

- Print the A4 requisition and send to the laboratory.

## Specimen Labelling MN-CMS

- MN-CMS labels must be printed on-demand/directly before sample phlebotomy and labelling. This must take place with the patient in-situ.

- A general rule of thumb is to cover the paper label already on the sample tube/swab etc. Do not cover existing barcodes on Blood Cultures.

- Following application of an MN-CMS label, review the labelled sample to ensure the entire MN-CMS label is legible, the correct MN-CMS request has been placed on the correct sample type (as prompted by MN-CMS), the MN-CMS label orientation is satisfactory (see above), and that the date and time of sample collection are correct.

  - NB: Confirm that the patient demographics on the MN-CMS label applied to the sample match the demographics of the patient on whom the sample has just been collected from. Compare the labelled sample with patient wristband OR verbally confirm PPID if the patient is not an in-patient.

- It is very important that you now change the status of the sample to collected and press sign. It is only after the sample is changed to collected that the request goes across to the laboratory information system. The laboratory cannot process any samples that have not been collected in MN-CMS, as the request will not transmit to the laboratory information system.

- If the status of the sample is ‘Ordered (Awaiting Collection)’ then you have not collected the sample in MN-CMS. The laboratory does not know that this sample has been ordered.

- The status of the sample will now change from ‘Ordered’ to Ordered (Collected). This means that the sample has been taken but the laboratory has not yet formally received the sample. When the laboratory formally receives the sample, the status changes from ‘Ordered (Collected) to In Process (Collected). This means the laboratory has received the sample.

- ‘Discontinued’ means that someone has chosen not to take the sample for the reason that is documented when the sample is cancelled.

- See Section 5.2.2 below for the minimum specimen acceptance criteria for MN-CMS requests.

- As a general rule, samples bearing duplicate printed labels are considered unsuitable and will be rejected.

An exception may apply in specific clinical circumstances (e.g. neonatal cases) where two samples are required. In these cases:

This deviation from standard labelling practice must only occur following prior notification to, and agreement with, the laboratory.

  - Apply the MN-CMS printed label to one sample only.

  - The second sample must be hand-labelled with the patient’s full identifiers.

  - Clearly indicate that two samples have been taken for the same patient.

  - The laboratory will review both samples and process them in accordance with local procedures.

## Specimen Labelling in the Event of MN-CMS Printer Failure

If a MN-CMS printer fails to print successfully the first time from the MN-CMS cart you are using at the patient bedside - STOP. DO NOT send the MN-CMS request to any other label printer. Complete the following steps:

- Perform PPID as per NMH PPID Policy, PP-OG-CRR-2.

- Manually label the specimen at the patient bedside from the patients’ wristband (in- patients)/MN-CMS EHR with the patient name, hospital number, date of birth, date and time of sample phlebotomy and signature of the sample taker.

- NOTE: Samples for Blood Transfusion MUST be handwritten.

- Print the requisition for the sample from MN-CMS to an A4 printer located in your clinical area.

- Check the specimen. Confirm that it is labelled correctly and correct PPID between sample/EHR/patient.

- Confirm sample collection by clicking the Collect Icon on MN-CMS EHR.

- The A4 requisition is then retrieved. You must crosscheck the patient identifiers on printed form against the patient handwritten identifiers on the sample tube.

- Check the date and time of the order on the A4 requisition form to ensure you have printed the correct order.

- Transfer the sample and form to the laboratory together.

If unable to perform the above process successfully, the sample collector must revert to filling in a manual request form (refer to section 5 below).

This protocol applies for all samples where label printing at the patient’s side is not possible. Failure to adhere to this policy will be reported to Clinical Governance.

Follow Up: Unused MN-CMS requests may print when printer failures are resolved. It is essential that these redundant labels are discarded. The fault with the MN-CMS printer must be reported to the ward manager and IT Department at extension 7999.  Clinical areas are advised keep a record all printer failures.

## Processing Samples ‘Not Collected’ on MN-CMS

If a sample is received in the laboratory that has not been collected on MN-CMS (no information comes onto WinPath from MN-CMS), the following process applies:

- The date and time of receipt will be added to the specimen. This is to ensure that the correct date and time of receipt is entered on WinPath when laboratory staff are able to book the specimen in.

- The clinical area will be contacted requesting sample collection. If the area confirms that the sample is collected, the laboratory will contact IT to see if there is a problem with MN-CMS/WinPath.

- If sample collection is not possible, the laboratory will request an A4 MN-CMS requisition for the test, or a written request form from the clinical area. The request form should contain the name and registration number of the requester.

- The sample will be analysed, and then later booked into WinPath when collected on MN-CMS/when a completed request form has been received. The result will be authorised with the addition of the following comment: ‘No valid request received, subsequently collected in MN-CMS following informing the clinical area’.

- With the exception of certain non-repeatable samples, if the sample is not collected within 24 hours, it will be rejected with the addition of the comment ‘No valid request received, please repeat’.

# Requesting Tests: Paper Request

Paper based requests are used for patients in the event of MN-CMS failure, and in external clinics without access to MN-CMS label printers.

## Consultant or Pathology Request Forms

The Pathology Department has a suite of controlled request forms which should be used to request investigations. The forms are department specific and are outlined in figure 10 below.  Departmental forms may be obtained ordering from the staff intranet, in the NMH website, completing the “Pathology Supplies requisition” form and the current version of each departments’ forms are stored on Q-Pulse. Please use the document number from figure 10 below or contact the relevant department for further information. External GPs that require sample bottles or forms can contact the Specimen Reception Department.

Dedicated request forms are available for use in external clinics without access to MN-CMS label printers. These requests must contain the valid registration number (either MCRN or NMBI) of the requesting clinician in order for them to be booked into Winpath.

Figure 10: Pathology Request Forms

| Department | Form | Document |
| --- | --- | --- |
| Anatomical Pathology | Gender determination request form | RF-CS-AP-58 |
|  | Coroner’s Notification Form Organ Disposition Education and Research | RF-CS-AP-46 |
|  | Consent for Post Mortem (in house) | EXT-CS-AP-64 |
|  | Histopathology Request Form | LF-AP-SURGREQ |
|  | Placenta Histopathology Triage Form | LF-AP-PLACREQ |
| Blood Transfusion | Crossmatch Request Form, used for all inpatient requests | LF-BTR-XREQ |
|  | Group and Antibodies/ Group and Coombs Request Form | LF-BTR-GCREQ |
|  | Cord Blood (Group and Coombs) Request Form | LF-BTR-CRREQ |
|  | IBTS Fetal RhD Screen Referral Form | EXT-CS-BT-134 |
| Biochemistry | Biochemistry Request Form | LF-BIO-REQ |
| Haematology | Haematology Request Form | LF-HAE-REQ |
| Microbiology | Microbiology Request Form | LF-MIC-REQ |
|  | Microbiology Request Form from RVEEH | RF-CS-MIC-78 |
|  | Microbiology External Clinics Request Form | RF-CS-LM-148 |
| External Referral | Serology Request Form | RF-CS-SR-2 |
|  | Blood Sciences External Clinics Request Form | RF-CS-LM-147 |
|  | RVEEH Serology Request Form | RF-CS-SR-4 |
|  | TDL Genetics Request Form | EXT-CS-SR-1 |
|  | St. James’s Hospital Consent Form for Diagnostic Genetic Testing | EXT-CS-HAE-262 |
|  | SJH Request Form for Thrombophilia Screens and Lupus Anticoagulant Screen and Consent Form | EXT-CS-HAE-151 |
|  | Synovis G6PD Referral Form | EXT-CS-HAE-188 |
|  | Heparin Induced Thrombocytopenia Request Form | EXT-CS-HAE-152 |
|  | Maternal Serum Screening Test Form, Cambridge IBTS BT345 Request for Red Cell Immunohaematology Investigation NHIRL BT255-6 Request Form for Histocompatibility and Immunogenetics Investigation Request for Foetal Genotyping IBGRL NHSBT Non Invasive Prenatal Screening Request Form | EXT-CS-SR-4 EXT-CS-BT-136 EXT-CS-BT-145 EXT-CS-BT-115 |

## Labelling the Primary Specimen and Filling in the Request Form

### Request Form

Please complete all sections of request forms in a fully legible manner:

- Patients forename and surname

- Hospital number

- Location/contact details of the patient. Date of birth (or gestational age)

- Patient’s sex

- Destination for report

- Clinician

- Specimen type

- Anatomic site of origin

- Examination requested

- Clinical information/history/relevant therapy

- Date and time of specimen collection

- Date and time of sample receipt (laboratory only)

A, B, C and J are essential requirements. In the event that the patient has no NMH hospital number, the date of birth becomes an essential identifier.

Large addressograph labels may be used for patient identification on the request form.

For microbiology, specimen type or site, clinical details, antibiotic therapy details (including allergies) are required on the request form in order to process the specimens correctly. Failure to provide such information can affect testing of sample (resulting in reduced or incorrect testing of sample).

For Blood Transfusion samples, if no hospital number is available, the 1st line of the patient’s address must be present on the specimen, in addition to the patient’s forename, surname and date of birth, for the specimen to be accepted.

### Primary Specimen

#### Labelling of Primary Specimens

It is essential that all specimens are labelled with a minimum of three identifiers for Blood Transfusion, and two identifiers for other departments, in a legible manner on the specimen container. Always use sample collection tubes, swabs etc. that are in date. Blood taken into expired collection tubes may render the specimen unsuitable. Specimen tubes must not be pre-labelled. The following identifiers should be placed on the specimen:

- Patients forename and surname

- Hospital number

- Date of birth (or gestational age for MN-CMS requests)

- Destination for report

- Date and time of specimen collection

- Identity of specimen collector

- Collection time

- Specimen type (for MN-CMS requests)

- Examination requested (for MN-CMS requests)

- Initials of Specimen Collector (for non MN-CMS requests)

A and B are essential requirements for all laboratory departments. A, B, C, F and J are essential requirements for Blood Transfusion. In the event that the patient has no NMH hospital number, the date of birth becomes an essential identifier.

For Blood Transfusion samples, if no hospital number is available, the 1st line of the patient’s address must be present on the specimen, in addition to the patient’s forename, surname and date of birth, for the specimen to be accepted.

All specimens for Blood Transfusion and Kleihauer testing must be hand written unless ordered via MN-CMS.

Specimens for other laboratories should be labelled with small addressograph labels.  Where no addressograph labels are available, clear handwritten labelling is accepted.

Samples with duplicate labels will be rejected unless they meet the criteria described in 4.5 above.

### Labelling Criteria for Community/GP Blood Transfusion Samples

The Blood Transfusion laboratory will accept samples for Blood Group and RhD status from GPs and community based services like the Irish Family Planning Association for women within the NMH catchment area (South Dublin, Wicklow and Kildare) who are seeking termination of pregnancy. The purpose of this blood group is to identify women who are RhD Negative and who will require prophylactic Anti-D as part of her termination of pregnancy treatment.

Samples for blood group will be accepted from GP/community care provided they meet all of the criteria below. Where the samples and request forms do not conform to these requirements testing will not be possible.

| Specimen | Request Form |
| --- | --- |
| EDTA collection tube | Details of the GP, full address and health mail email address |
| Sample label (must be handwritten and signed by the person taking the sample) | Clinical details: Gestation is most important. Please indicate if history of Anti-D administration within last 3 months |
| Patient full name | Patient full name |
| Date of birth | Date of birth |
| 1st line of address | Complete address |
| sample collection date and time | sample collection date and time |

# Storage and Transport of Specimens

## Pre-Analytical Specimen Storage

- Ideally all specimens should be transported to the laboratory in a timely manner.

- Where this is not possible, for example in an out of hours’ situation, samples may be stored in a fridge.  Specimens should be transported to the laboratory at the earliest possible time. See departmental sections for sample stability. Do not store the following sample types in the fridge: PCR, routine biochemistry, coagulation, blood cultures, CSF samples, inoculated plates, surgical and placental specimens, Blood Transfusion samples for the Foetal RHD screen, and specimens in formal saline – Keep all at room temperature.

- Coagulation specimens must be sent to the laboratory ASAP as they are stable for only 4 hours.

- Bacterial culture of Neisseria gonorrhoea - Samples must be brought to the laboratory immediately and staff notified. Processed during routine hours only.

- Urine samples for Chlamydia/Gonorrhoea testing must be delivered to the laboratory within 24 hours.

- Fresh tissue specimens must be refrigerated until they can be delivered to the laboratory.

- Body for post mortem must be refrigerated.

- Blood samples for HIV, Hepatitis B and C for PCR and/or viral load, CMV PCR Parvovirus PCR or Zika virus PCR must be separated and frozen within 24hours of sample collection.

- Any EDTA sample received for NVRL, check with the requesting unit if for PCR (in case EDTA sample taken in error). If so, spin, separate and freeze.  EDTA samples are generally for PCR.

- The majority of specimens for Microbiology are stable for up to 3 days once stored at 4˚C.  Some exceptions apply for particular specimens and/or tests as per Section 17.

## Specimen Transport

During the process of transporting patient specimens to the laboratory it is essential that specimens are transported safely and efficiently in order to:

- Ensure safe custody and integrity of the specimen which must reach the laboratory in proper condition.

- Specimens must be transported within a timeframe appropriate to the nature of the requested examinations and the laboratory discipline concerned.  See individual departments for specific time frames.

- Specimens must be transported within a temperature interval specified for sample collection and handling and with the correct preservatives to ensure the integrity of the samples. Specimens received in the laboratory that do not conform to these criteria will be rejected, see Section 3.

- Ensure the safety of staff transporting specimens.

- Ensure the safety of other staff, patients and members of the public.

- The pneumatic transport system (POD), if appropriate to the specimen type, is the preferred method of delivery of specimens to the laboratory.

- Blood culture bottles are plastic and may be transported via the POD.

- Specimens for Sars-CoV-2 must NOT be transported in the POD, deliver by hand, due to an infection control risk if the specimens should leak in the POD.

- CSF samples must not be sent via the POD system, deliver to the laboratory by hand.

- Histology specimens must not be sent via the POD system, deliver to the laboratory by hand.

- The transporter of the sample should inform the lab immediately of any compromise to the sample so that the lab can raise a non-conformance and perform a risk assessment if required.

- Please follow the following guidelines:

- Use approved specimen bags which must be sealed.

- When a paper request form accompanies the specimen, place this in the separate pouch of the specimen bag, or attach to the bag.  Do not place them in the bag with the specimen.

- Use approved specimen collection containers.

- Use the POD specimen transport system where available and appropriate to specimen type.

- Use the specimen transport boxes (closed) where appropriate.

- Do not try to carry multiple specimens by hand.

- Do not leave specimens in other locations in route to the laboratory.

- If there is a doubt about any aspect of specimen transport, please contact the appropriate department for advice.

- Do not transport broken or leaking specimens.

### Delivery of Biological Specimens from ‘Off Site’ Clinics

Transport of biological specimens by public road must be in compliance with the current ADR transport regulations. It is the responsibility of the consignor to comply with these regulations. This standard is to safeguard the drivers of vehicles carrying diagnostic specimens on the road between sites and provides protection to passengers and / or the emergency services in the event that the vehicle is involved in a road traffic accident.

Samples should be transported within ambient temperature range (2°C – 28°C). Samples should be transported directly to the Laboratory in a timely fashion from the point of collection. Samples should not be stored overnight in the transport vehicle.

Emergency Response in the Case of an accident or leakage from the package

If leakage is observed or a package is damaged as a result of an accident, contact the Laboratory in the National Maternity Hospital for advice via (01 6373178 or 086 3853277 out of hours). Do not touch the package. If emergency responders have arrived on scene, please advise them of the presence of UN3373 materials.

As soon as is practical, clean up as follows:

1. Wear gloves and protective clothing, including face and eye protection if indicated.

2. Cover any visible spillage with a cloth or paper towels to contain it.

3. Pour an appropriate disinfectant over the cloth or paper towels and the immediate surrounding area (5% bleach solutions are generally appropriate, and quaternary ammonium disinfectants may also be used).

4. Apply the disinfectant concentrically beginning at the outer margin of the spill area, working towards the centre.

5. After about 30 min, clear away the materials. Place the damaged package in a leak proof container

e.g. yellow sack and remove to a controlled lab area to see if the samples can be salvaged. If there is broken glass or other sharps are involved, use a dustpan or a piece of stiff cardboard to collect the materials and deposit them into a puncture-resistant container for disposal (sharps bin).

6. Clean and disinfect the area of the spillage (if necessary, repeat steps 2–5).

7. Dispose of contaminated materials into a leak-proof, puncture-resistant waste disposal container.

### Specimen Transport: Anatomic Pathology

#### Surgical Samples

- The laboratory porter collects samples twice daily from the Gynae Clinic.

- The theatre porter delivers samples to the laboratory twice daily, at 10:00 AM and 15:30, and samples are signed for in the theatre day book.

- Samples delivered otherwise must be brought to the department by the requesting department.

- A drop off box for Histology specimens is also available in the main reception area, for use during the routine hours and out of hours.

- Samples must not be sent via the POD.

- When possible place sample in plastic biohazard bag.

- All urgent requests must be clearly marked by ticking the priority box on the request forms and must include the relevant clinical details.

- Frozen sections must be arranged in advance with the Pathologist.

- All samples must be in adequate amounts of formalin. Exceptions to this are, suspected cases of molar pregnancy and POC’s of recurrent (i.e. 3rd or subsequent) miscarriage, which are sent up dry up until 17:00hrs Monday to Friday. All specimens after this time must be placed in fixative.

#### Placental Samples

- An electronic order must be completed and sent to the laboratory with the specimen.

- The laboratory porter collects samples from the delivery ward in the morning.

- The theatre porter delivers the placental samples to the laboratory twice daily, 10:00 AM and 15:30, and these are signed for in the theatre day book.

- All placentas from normal deliveries are examined by a midwife in the delivery ward. If there is no abnormality of pregnancy, labour, the placenta itself, or the immediate post-natal period, the midwife places the labelled full placenta in the placenta storage fridge located in the delivery ward.  These placentas are kept for a period of seven days. Where a clinician is requesting a placenta be processed they must check that there is an electronic order for the placenta in Cerner (this confirms we have the placenta). They may then send a placenta triage form with details of the request to the laboratory.  Where there is no electronic order, one must be created and the placenta sample retrieved from delivery and sent with the order form to the laboratory.  All placenta requests must be made using the mother’s hospital chart.

- The placenta is retrived by the laboratory porter.

- The full placentas of all multiple pregnancies are submitted to the laboratory.

- Placentae for gross examination are placed in black bags, tied, labelled and placed in a biohazard bag. A placental triage form should be completed and sent with the specimen. Microscopic examination is based on findings of gross examination.

- Placentae from all high risk or sero-positive patients are placed in a suitable container filled with formalin and marked with a red hazard sticker. A placental triage form should be completed and sent with the specimen. Microscopic examination is based on findings of gross examination.

### Post Mortem

- Body must be placed in the mortuary fridge.

- Original forms must be sent to the laboratory.

## Transport of Potentially High Infectious Risk Specimens

For patients at risk of haemorrhagic fever: The pneumatic transport system must NOT be used. Please contact the laboratory for specimen containment and transport boxes.

### Model Rules for Laboratory Porters and All Who Deliver Specimens to the Laboratory

Refer to the Hospital Safety Statement. This policy applies to all porters working in the laboratory and to the porters and care assistants who deliver specimens to the laboratory. Some of the work carried out by laboratory/hospital porters and care assistants in the hospital may involve accidental contact with material that could be infectious. However, wherever they might be working they should observe the following guidelines:

- Cover any cuts or grazes on your hands with a waterproof dressing.

- Carry all specimens in the trays and boxes provided, not in your hands or pockets.

- Touch specimen containers as little as possible. If you do touch them, wash your hands as soon as practicable afterwards.

- Always wash your hands before meal breaks and at the end of duty.

- If a specimen leaks into a tray or box, tell the laboratory reception staff and ask them to make it safe.

- If you drop and break a specimen, do not touch it or try to clear up the mess. Stay with the specimen to prevent other people touching it and send someone to the laboratory for help. If you spill the specimen onto your overall, remove it at once and then wash your hands and put on a clean overall. Report the accident to your supervisor as soon as possible.

- Handle specimen containers gently at all times.

- Take care when carrying waste or rubbish from the laboratory as there may be broken glass or needles. If you find these tell your supervisor. Special “sharp” containers are provided for glass, syringes and needles – these must be handled carefully as leakage or penetration by sharp objects can occur.

- All waste must be handled in accordance with all hospital health and safety policies.

## Specimen Location Delivery Instructions

Figure 12: Specimen Location Delivery Instructions

| Location | Instruction |
| --- | --- |
| Blood Sciences Laboratory (Routine) Biochemistry, Blood Transfusion, Haematology and Specimen Reception | *Via pod to Station 12 |
| Blood Sciences Laboratory (Urgent/On Call) Biochemistry, Blood Transfusion and Haematology | *Via pod to Station 12.Phone laboratory for urgent requests |
| Microbiology Routine and Urgent (during routine hours only) (Except for CSF’s, Sars-CoV-2) | *Via pod to Station 13. Telephone 3533 if sending urgent samples |
| Microbiology: Blood Culture | *Via pod to Station 12 |
| Microbiology: CSF’s | Do not use the POD to deliver CSF specimens to laboratory, deliver by hand, see Section 6. Porter delivery (see Section 6.3.1) |
| Microbiology: Sars-CoV-2 | Do not use the POD to deliver Sars-CoV-2 specimens to laboratory, deliver by hand, see Section 6.2. |
| Microbiology On-Call | *Via pod to Station 12 or delivery by hand to the Blood Sciences laboratory |
| Anatomic Pathology(Histology) Frozen sections Placental Specimens: Post Mortem | Do not use the POD to deliver Histology specimens to lab. See Section 6.2.2. Must be arranged in advance with the Pathologist. Porter delivery (see Section 6.3.1) Body must be placed in the mortuary fridge. Forms must be sent to the laboratory. |

*If the pod system is not working deliver specimens directly to the appropriate area. See

Figure 7: Department Location above.

# Specimen Acceptance Requirements

## Laboratory Criteria for Specimen Acceptance

Specimens and request forms must be labelled/filled in as per section 4 and 5 of this document.  See below for the rejection of specimens that do not meet the required criteria.

The laboratory will communicate with clinicians to clarify user request when required.

## Laboratory Criteria for Rejection of Specimens

Specimens that conform to the reasons listed below will be automatically rejected and will not be processed by the laboratory.  A record of the specimen will be made in the Laboratory Information System (LIS) and the reason for its rejection noted. A report will be sent to the clinical area. Where specimens originate from ‘in patients’, the requester if known or the unit may be contacted and a repeat specimen requested.

### Reasons for Rejecting a Specimen

- Specimen received unlabelled.

- Specimen incorrectly labelled.

- Request form unlabelled.

- Electronic request not completed, as per section 4.7.

- Specimen and form do not contain minimum essential identifiers.

- Specimen and form do not contain the same essential identifiers.

- Specimen that has leaked extensively.

- Incorrect type of specimen.

- Incorrect volume of specimen.

- Specimen clotted inappropriately.

- Haemolysed specimens.

- Specimens received too old for analysis.

- Specimens taken into expired collection containers.

- Blood Transfusion specimens will be rejected if there is not an exact match between the essential identifiers on request and specimen.

- Blood Transfusion specimens with addressograph labels on specimens will be rejected.

- All non-MN-CMS specimens for Blood Transfusion and Kleihauer must be hand written.

- Specimens will be rejected if the essential requirements are missing from the primary specimen.

Special Considerations:

- Blood Transfusion specimens require date of birth (or gestational age) in addition to the full name and hospital number. Non MN-CMS Blood Transfusion samples must be signed by the collector.

- For Blood Transfusion samples, if no hospital number is available, the 1st line of the patient’s address must be present on the specimen, in addition to the patient’s forename, surname and date of birth, for the specimen to be accepted.

- Anatomical Pathology and Microbiology specimens must be labelled on the body of the container and not on the lid.

- Consent is mandatory for all paediatric genetic samples referred. The consent form must be completed and signed by one parent or legal guardian and by the consultant responsible for the patient’s care.

- For post mortem examination, the body should be identified by means of wrist or leg band.

### Factors that May Affect the Performance of the Test/Interpretation of Results

- Incorrect volume of specimen.

- Specimen clotted inappropriately.

- Haemolysed/ Lipaemic/ Icteric specimens.

- Specimens received too old for analysis.

### Exceptions to Rejecting a Specimen

In exceptional circumstances, where there are problems with patient/sample identification, sample instability due to delay in transport/inappropriate container/insufficient sample volume, incorrect storage or handling temperature, or where the sample is clinically critical or irreplaceable e.g. in the case of surgical specimens in Anatomical Pathology, CSF’s, amniotic fluid, CVS, pus from an abscess excised in theatre or other specimens (other than blood), the laboratory can choose to process the sample where both clinician and laboratory staff, following discussion, are confident regarding the identity of the specimen. In this case, the final report should indicate the nature of the problem and where applicable that caution is required when interpreting the result.

Corrections to labelling errors must be clear and unambiguous. Incorrect information must be indicated with a clear strikethrough. The correction must indicate the name of the clinical staff member contacted and bear their signature. It must be counter signed and dated by the laboratory staff member. A Pathology Specimen Non-Conformance Form, RF-CS-LM-20, must be completed and a comment entered in the report to alert the clinicians to the error. This comment states:

Specimen non-conformance **enter details**. Exemption form completed, please interpret with caution as there is potential risk and impact to patient outcome by accepting this sample

All samples with corrected labelling errors accepted for analysis are recorded as non-conformities and are subject to specific review.

The paper request forms are stored for three months in the laboratory and are then shredded. An exception to this is for Blood Transfusion and genetic request forms, where the request form is scanned and stored for 30 years. Anatomical Pathology request forms are stored for 30 years.  Electronic requests are stored permanently in the patient chart.

## Sample Receipt

Authorised laboratory personnel will evaluate the specimens to ensure that they meet the relevant acceptance criteria.  This includes considering the stability of the analyte in a primary sample, the time between sample collection and performing the examination. MN-CMS samples are ‘booked in’ to the LIS on receipt into the laboratory using the unique bar coded number on the sample.  The request date field in the LIS is the date and time the sample was received into the laboratory. In the event of MN-CMS printer failure – samples requested using MN-CMS are “booked in” to the LIS on receipt into the laboratory using the unique bar coded accession number on the A4 MN-CMS requisition. This unique accession number is then applied to the manually labelled specimen in the laboratory. Samples with request forms received in the laboratory have the date and time of receipt recorded on the request form. Specimens are then labelled with a unique laboratory accession number; they are then recorded in the LIS linking the unique laboratory accession number to the patient’s details provided on the request form.

## Secondary Sampling of Primary Specimen

If separation of the primary sample into a secondary container is required for any reason all portions of the primary sample must be an unequivocally traceable to the primary sample.  This is achieved by ensuring all sample containers are labelled with the patient’s unique laboratory accession number.

# Reports

## Reporting of Results within the Hospital

Results, once authorised, are available electronically in MN-CMS or Winpath Ward Enquiry (LIS).  Hard copy reports are issued as required on the day of test report release. Laboratory management shares responsibility with the requester for ensuring reports are received by the appropriate individuals within an agreed time interval, depending on the test requested. This is facilitated by the requester providing the necessary details on the request form, including clinical details.  All clinicians have been alerted to this requirement via SI-MEM-LM-146.

### MN-CMS Reports

Reports are filed directly to the patient chart. In addition, a message is received to the ‘Inbox’ of the clinician placing the request and to the location pool message centre of the patient’s current, or last known, location. Review of results is via an endorsement process. Results are reviewed and accepted by the reviewing clinician or are forwarded directly to the ‘Inbox’ of a Consultant or other designated clinician for action.

Reports for external clinics will file directly to the patient’s MN-CMS chart. In order for a message to be sent to the inbox of the clinician requesting the test, the test request form must have been labelled with the valid registration number (wither MCRN or NMBI) of the requesting clinician. In the event the requesting clinician’s registration number has not been provided, it is the responsibility of the requesting clinician to review the report in the patient’s MN-CMS chart directly. Please note hardcopy reports are also issued to external clinics as standard (see section 8.3 below).

## Winpath Ward Enquiry

In general, results once authorised are available electronically on the ward PC’s, within 20 minutes from time authorised. These results are accessed via Winpath Ward Enquiry. The entry of area logon and password provides access.

### Paper Reports

Hardcopy reports are issued as required for requests received on paper request forms. These are delivered to the identified unit, or if none is given, to medical records twice daily (Monday to Friday) by the laboratory porter. Results are reviewed and accepted by the reviewing clinician or are referred to a Consultant or other designated clinician for action. No request should be processed without a named clinician being indicated.

## Reports for External Locations

Hard copy reports are issued as required on the day of test report release. Reports for locations outside the hospital will be posted on the day of reporting if results are available before 15:00hrs Monday to Friday.

## Telephoned Reports

- In general results are telephoned when:

- There is a comment on the request form requesting results to be telephoned.

- The results fall within established alert or critical intervals, as defined by procedure.

- The result deviates significantly from previous results.

- Urgent action by clinical staff is required.

- It is necessary to notify the requester that testing will be delayed, where it may compromise patient care.

- All telephoned results must be recorded in the LIS. Details recorded must include date and time of phoned report, staff member notified, and the results conveyed.  Also any difficulties in notifying staff of results by telephone should be recorded.

- All telephoned reports shall be followed by a final report.

- While departments have internal criteria stipulating which reports should ideally be phoned to clinical staff, it remains the responsibility of the clinician who ordered the test to follow up and act upon its result.

- It is the policy of the Anatomic Pathology department not to give results over the telephone.  A preliminary report may be phoned to a clinician by the department’s medical staff.

- It is the policy of the Blood Transfusion department not to give blood group results over the telephone. Urgent Anti-D quantitation results are phoned to Foetal Assessment when a telephoned result is received from the IBTS. This is recorded in Winpath.

- It is not usually necessary to phone abnormal results when the:

- Result is consistent with previous results on the patient.

- Result is not unexpected.

- Results delivered by telephone should only be delivered to clinicians.  They are not communicated directly to the patient.

- Once the result has been telephoned to the clinician, it is the clinicians responsibility to act upon the result as required.

## Critical results from a referral laboratory

- Critical results are defined as:

  - significantly abnormal results based on your defined phoning criteria

  - significant unexpected results /findings

  - a notification that there will be a significant delay in a turnaround time for a test that could affect patient care

Critical tests are communicated to the referring laboratory by telephone within an appropriate timeframe to manage patient care effectively.

Please see section 1.3 above for contact details for each laboratory

## Faxed Reports

Results should not be faxed from the laboratory.  Faxing of results should be limited, and requests for same should be routed through a Consultant Pathologist or the Chief/Senior Medical Scientist. However, as per hospital policy, outlined in PP-OG-GEN-19, in certain circumstances it may be acceptable to transmit confidential personal data and sensitive personal data by fax as follows:

- Medical Emergency: Where a delay would cause harm to a patient/client or employee or the potential risk to a patient/client or employee is greater harm than the risk of disclosure of their personal information.

- In the case where a referring/transfer hospital needs a result where time would not allow for it to be posted, it is acceptable for it to be faxed. Blood group results would fall under this category.

## Urgent Reports

Requests marked urgent or priority are processed as a priority according to the protocol in each department. The laboratory must be contacted by phone when sending urgent sample.  Where appropriate such results are brought to the immediate attention of the requesting clinician or staff in the clinical area.

## Supplemental Reports

Where additional information regarding a request comes to light which necessitates an additional report, a supplemental report is issued.

## Amended Reports

Where it is discovered that the original report issued is incorrect or contains false information, a revised or amended report is issued. The original report and the correct report are retained on Winpath. The original copy in the patient’s chart is marked as incorrect and the new amended report clearly outlines that it is a deviation from the original. For MN-CMS results, the amended report will have ‘c’ beside any results which have been corrected.  The clinician should be aware when accessing patient results to interpret any corrected results with caution. Where a report has been amended the clinical area will be notified directly.  The revised report shows the time and date of the change and the name of the person responsible for amendment, as per the laboratory procedure for Result Recall or Amendment, MP-GEN-RECALL.

## Corrected report

A corrected report is a report issued to correct a typographical error which does not influence the interpretation of the report. For example: Minor patient demographic update required, typographical error in a laboratory interpretation comment/recommendation. The change in the corrected report should not change the clinical interpretation of the report or have an impact on patient care.

## Copy Reports

There is a facility in every department to print copy reports to additional clinicians/locations as requested. Such request may occur at sample login or additional reports may be requested post authorisation and release of primary report. All additional reports issued after the primary report are marked ‘Copy’. Copy reports are not issued in MN-CMS.

## Delayed Results

In the event where a delay in examination results could compromise patient care each individual department will communicate this to the clinical area.  This should be done by telephoning the clinical area and recording the call in the telephone log of the patient concerned. Where the issue affects a number of clinical areas/patients, a non-conformance should be raised in Q-Pulse.  The call should be recorded as part of the immediate action.

## Uncertainty of Measurement

The measurement uncertainty components are those associated with the actual measurement process, starting with presentation of the sample to the measurement procedure and ending with the output of the measured value or test results. Sources that contribute to uncertainty may include sampling, specimen preparation, portion selection, calibrators, reference materials, input quantities, equipment, environment, specimen condition and operator skill. The laboratory must define the performance requirements for the measurement uncertainty of each measurement procedure.  This is a key step in deciding whether a test is fit for purpose.

All laboratory investigations are subject to uncertainty of measurement.  Please take this into consideration when interpreting results. Each department has a document listing the uncertainties calculated for its tests.  For further information on performance specifications or indicators of uncertainty of measurement for internal tests, please contact the individual laboratory department if required.

## Reference Ranges

Results are compared with the Biological Reference Interval where appropriate. These ranges should be matched for age, sex, ethnicity and pregnancy where appropriate and possible. Reference ranges and alert ranges for investigation may be published for use by laboratory and clinical staff. Where results fall within accepted reference ranges, and such a result is consistent with the clinical details provided, it may be authorised. In any situation where the quoted range may not apply, a comment to this effect is included on the report.

Clinicians should be aware of the potential impact of gender-affirming therapy on laboratory tests and that ‘sex’ is used to assign biological sex reference ranges

(Sex – Sex at birth; Gender – One’s own identification as male, female or other)

Please contact individual department for further information on reference ranges.

## Accredited and Non-Accredited Test Reporting

The NMH is an INAB accredited testing laboratory (Reg. no. 240MT), for accredited tests please see: https://inab.ie/Directory-of-Accredited-Bodies/Laboratory-Accreditation/Medical-Testing/The-National-Maternity-Hospital.html. Tests that are not accredited by INAB are identified on reports.

- The following text will be appended in the footer of all hardcopy printed reports for Haematology, Biochemistry and Microbiology, where accredited activities are being reported: ‘An INAB accredited testing laboratory Reg No 240MT. Excludes tests performed in referral laboratories’.

- The following text will be appended in the footer of all hardcopy printed reports for Blood transfusion, where accredited activities are being reported: ‘An INAB accredited testing laboratory Reg. No 240MT. Excludes tests performed in referral laboratories. ®Denotes tests performed in a non INAB accredited referral laboratory’.

- The following note will be added to the body of each Histology hard copy printed report and electronic report: ‘The NMH is an INAB accredited testing laboratory. Registration number 240MT. This covers testing carried out in this facility. For histology this excludes C9; Adipophilin; GATA 3; Alcian Blue; Grocotts; Alcian Blue/PAS; ZN; Reticulin; Elastin VG; MSB; Van Gieson; PAX8 and SARS CoV-2’.

- The following text will be visible on Blood Transfusion, Haematology, Biochemistry and Microbiology electronic reports for where accredited activities are being reported: ‘The NMH is an INAB accredited testing laboratory (Reg.No. 240MT). Tests performed in referral laboratories are excluded from this scope’.

## Pre-Authorised Results

All results leaving the laboratory have been validated and/or reviewed by a qualified medical scientist or Consultant. Pre-authorised results contain the electronic signature COMP, they are deemed authorised under the authority of the Consultant in charge of the department based on predefined criteria.  Such results do not constitute clinical advice.

## Reports on Results from Referral Laboratories

Results from referral laboratories may be received electronically via MediBridge or by hardcopy.

- MediBridge results are attributed to the referral laboratory and authorised from Winpath. They are available in MN-CMS and on Winpath Ward Enquiry.

- Hardcopy results, where received, from referral laboratories are issued to the requesting clinician.

- Eurofins results are also returned on CDx portal.

- Numeric results may be entered into the LIS for ease of access. Where this occurs they are flagged as originating from a referral laboratory. They are available in MN-CMS and on Winpath Ward Enquiry.

- For text based results in the case of the MN-CMS, the returned report is scanned and attached to the patient’s record. A message is sent to the requesting clinician.

- The results from referral laboratories when(re)printed on NMH paper are authorised by COMP as outlined in Section 8.13 above.

- The name of the referral laboratory is indicated in the body of the report, along with identification of the tests performed by the referral laboratory. The referral/back up laboratory report number is recorded internally on WinPath for reference.

## Incomplete list review

Laboratories review incomplete sample lists periodically to ensure samples are reported within their stability limits and within agreed turnaround times.

# Post Analytical Storage, Retention and Disposal

Please refer to MP-GEN-CLINCON, the laboratory procedure for Control of Clinical Material. All clinical specimens are disposed of according to PP-EF-ENV-17.

## Anatomical Pathology

- Surgical specimens are held for four weeks post reporting.

- Surgical specimens that are all embedded are held for one-week post reporting.

- Blocks and slides are retained for 30 years.

- Placental specimens are held for 12 months.

- Post mortems are held as per consent.

## Blood Sciences

Blood and urine specimens are usually kept for up to one week at 2-6˚C after processing. Haematology and coagulation specimens are kept for one week at room temperature.

## Microbiology

- All CSFs and vitreous/aqueous taps are stored at 4°C for 1 month.

- All positive blood culture bottles are stored at 35°C, aerobically until complete (usually 5 days unless prolonged incubation or terminal sub-culture requested by Consultant Microbiologist).

- Urine samples are stored at 4°C for minimum of 2 days.

- All negative Sars-CoV-2 specimens are stored for 2 days.  All positives/aliquot of are stored at -80˚C for a minimum of 3 months.

- All positive Influenzas are stored at 4°C for up to 1 week.

- All other specimens are stored at room temperature for 1 week.

## Specimen Reception and Dispatch

- Samples sent to the NVRL or other external laboratory and not retained in specimen reception.

- All antenatal booking blood specimens are stored frozen for 2 years in the NVRL in accordance with NVRL policy.

- Primary blood specimens that have been separated and a secondary sample sent for referral are stored at room temperature for seven days.

- Primary urine specimens that have been separated and a secondary sample sent for referral are stored at room temperature for seven days.

# Policy on Protection of Personal Information

The Department of Pathology and Laboratory Medicine follows the hospital policy on data protection. The scope of this policy is to ensure that the obligations in dealing with personal data by the organisation comply with the requirements of the relevant Irish legislation, namely the Irish Data Act 2018, and the General Data Protection Regulation GDPR 2018. The NMH must comply with the data protection principles set out in the relevant legislation. This policy applies to all personal data collected, processed and stored by the NMH in relation to its staff, service users and service providers. The NMH makes no distinction between the rights of data subjects who are employees and patients, all are treated equally under this policy.

# Complaints Procedure

The Department of Pathology and Laboratory Medicine follows the hospital policy on Data Protection, PP-OG-GEN-17 and the Feedback management policy PP-OG-QTY-6.

All complaints written or verbal will be accepted by the Department of Pathology and Laboratory Medicine, and will be handled as outlined below.

Compliments and Complaints can be given through the following form:

NMH_Patient_Feedback_Form

## Monitoring User Complaints

All complaints, verbal or written, are recorded in the CA/PA module of Q-Pulse. This ensures the complaint is received, substantiated, investigated and actions in response to the complaint are decided. Corrective actions or opportunities for improvement are documented within the module.  Complaints are dealt with in the first instance by the Head of Department, or depending on the seriousness of the issue by the QMT.

The laboratory receiving the complaint is responsible for gathering all necessary information to determine if the complaint is substantiated. Clinical Governance is made aware of written complaints to ensure compliance with hospital policy.

﻿

## Feedback and Suggestions in relation to laboratory tests or results

The Department of Pathology And Laboratory Medicine welcomes feedback and suggestions from patients and users of the service. Patients who have queries or feedback in relation to selection of tests or examination methods or interpretation of results should discuss in the first instance with their requesting clinician. The requesting clinician will be able to advise and follow up with the laboratory if required.

# Anatomical Pathology (Histology) Department

## Anatomical Pathology Tests

Please contact the Histology Laboratory if information on specimen stabilities are required.

Figure 13: Anatomical Pathology Tests

| Test/Assay Name | Specimen Type/Requirements | Turnaround Time |
| --- | --- | --- |
| Perinatal Post Mortem Examination | Foetus/Infant body | 8 Weeks |
| Tissue Processing and staining | Fresh and fixed tissue | N/A |
| Frozen Sections | Fresh tissue | N/A |
| Placentae | Fresh tissue for gross examination. Fixed tissue for high risk patients and placentae sampled in the delivery unit | 8 Weeks |
| Non Gynae Cytology | Fixed specimen | 6 Days |

## Anatomical Pathology Specimen Requirements

Figure 14: Anatomical Pathology Specimen Requirements

| Specimen Type and/or Source | Container | Procedure | Accreditation Status | Turnaround Time |
| --- | --- | --- | --- | --- |
| Embryo or Foetus | Container appropriate to size (no fixative) | Transfer to Mortuary Fridge | Not Accredited | N/A |
| Theatre Major Specimens e.g. Uterus, Ovarian cysts, etc. | 1 or 2 litre white | Immerse in Formalin (sufficient to cover specimen) Transfer to Anatomical Pathology. | Accredited | 8 Days |
| Molar Tissue POC’s from cases of recurrent (i.e. 3rd or subsequent miscarriage) | 1litre white | 09.30 AM – 17:00hrsTransfer FRESH to Anatomical Pathology as soon as possible. Other times store in fridge and transfer to Anatomical Pathology as soon as possible. Please note samples stored in Formalin are not suitable for Cytogenetic Testing. | Accredited | 8 Days (Cytogenetic Testing 4-6 Weeks) |
| Minor Specimens e.g. POC’s, Curetting’s, Fallopian tubes, polyps etc. | 90ml or 1 or 2 litre white | Immerse in formalin and transfer to Histology. | Accredited | 5 Days |
| Placentae (For examination in laboratory) | Black plastic bag inside large Biohazard bag | Transfer FRESH to Histology. If delayed store @ 2-40 C. (For the purposes of labelling the black plastic bag is the container) | Accredited | 8 Weeks |
| Placentae (High risk) | 2 litre white | Immerse in Formalin and attach red sticker to both form and container before transfer to Histology. | Accredited | 8 Weeks |
| Placentae (Delivery Ward) | Black plastic bag inside large Biohazard bag | Store @ 2-40C. and transfer to pathology if required otherwise dispose after 7 days. | Accredited | 8 Weeks |
| Foetal Assessment Products of Conception | 90-500ml container | Immerse in Formalin and transfer to Anatomical Pathology (not generally referred for cytogenetics testing). | Accredited | 5 Days |
| Gynae Clinic/ Rooms Lletz, Cervical and other Biopsies Pipelle | 40 ml prefilled Formalin container Place Pipelle in Tissue Tek yellow mesh biopsy cassette | Transfer to Anatomical Pathology Immerse in Formalin in a 40ml prefilled container and transfer to Histology | Accredited | Cervical Biopsies: 80% reported within 4 weeks Other Biopsies: 5 Days Lletz: 5-7 Days |
| If the specimen is not listed here please contact anatomical pathology on Ext: 3180 for information. |  |  |  |  |  |
| - N.B.: PLEASE DO NOT USE THE POD TO DELIVER SPECIMENS TO ANATOMICAL PATHOLOGY. - All samples must be in adequate amounts of Formalin. Exceptions to this are, suspected cases of molar pregnancy and POC’s of recurrent (i.e. 3rd or subsequent) miscarriage which are sent up dry up until 17:00hrs Monday to Friday. All specimens after this time must be placed in fixative. |  |  |  |  |  |
| Turnaround time is calculated on the basis of NMH data for 2012-2013 where applicable, and is the number of working days by which 90% of specimens are reported. |  |  |  |  |  |

# Biochemistry Department

## Tests and Specimen Requirements

See Figure 11 for routine cut off times. Urgent specimens are accepted at any time. Specimens from adults are drawn into specific Greiner Vacutainers with appropriate additives as outlined below. Specimens from neonates are drawn into specific Sarstedt micro tubes with appropriate additives as outlined below.

See SI-NOT-GEN1 and SI-NOT-GEN2 for Order of Draw charts on Q-Pulse

## Stability of Routine Biochemistry Tests

Routine biochemistry samples may be analysed up to 12 hours.

Please contact the Biochemistry Laboratory if information on sample stabilities are required.

Figure 15: Routine Biochemistry Tests

| Test/Profile | Adult: Cap Additive (Vol) | Paediatric: Cap Additive (Vol) | Turnaround Times | Special Requirements | Accreditation Status |
| --- | --- | --- | --- | --- | --- |
| Albumin | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Alkaline phosphatase | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| ALT | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Amylase | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| AST | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Bilirubin- Direct | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Bilirubin-Total | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Calcium | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Chloride | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| CK | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Creatinine (Enzymatic) | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| CRP | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Total Bile Acids | Heparin 4ml |  | Same Day Urgent 4 hours |  | Accredited |
| Gentamicin-Trough | Heparin 4ml | Heparin 0.6ml | 24 Hrs |  | Accredited |
| Gentamicin-Peak | Heparin 4ml | Heparin 0.6ml | 24 Hrs |  | Accredited |
| Glucose | Fluoride 2ml | Fluoride 0.6ml | Same Day Urgent 4 hours | See Figure 18 for information | Accredited |
| LDH | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Magnesium | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Osmolality (Plasma) | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Phosphate | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Potassium | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Sodium | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Total Protein | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Triglyceride | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours | Fasting | Accredited |
| Urea | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Uric Acid | Heparin 4ml | Heparin 0.6ml | Same Day Urgent 4 hours |  | Accredited |
| Anti Mullerian Hormone | Plain 7ml |  | 3 Days | Mon – Fri Biotin may cause some concentration dependent negative interference in this assay if high dose supplements are taken. If this is suspected, a repeat request 8 plus hours off Biotin is recommended in the first instance. | Accredited |
| CA 125 | Plain 7ml |  | 3 Days | Mon – Fri Biotin may cause some concentration dependent negative interference in this assay if high dose supplements are taken. If this is suspected, a repeat request 8 plus hours off Biotin is recommended in the first instance. | Accredited |
| Free bHCG and PAPP-A | Plain 7ml |  | 3 Days | Clinical details must include gestation. Samples are only suitable for analysis between 10 weeks 0 days and 13 weeks 6 days. | Accredited |
| sFlt-1/PlGF ratio | Plain 7ml |  | 3 Days | Sample to be taken > 20 weeks. Note: The current NICE Guideline (DG23) only recommends the use of the ratio as a rule out (short term) for PE. | Accredited |
| HCG | Heparin 4ml |  | 48Hrs | Mon – Fri except by special request. Sat a.m. only if sample received in lab before 11.30a.m. Biotin may cause some concentration dependent negative interference in this assay if high dose supplements are taken. If this is suspected, a repeat request 8 plus hours off Biotin is recommended in the first instance. | Accredited |
| Oestradiol | Plain 7ml |  | 48Hrs | Mon – Fri except by special request. The Oestradiol assay used in the NMH should NOT be used when monitoring Oestradiol levels in patients being treated with fulvestrant. Biotin may cause some concentration dependent positive interference in this assay if high dose supplements are taken. If this is suspected, a repeat request 8 plus hours off Biotin is recommended in the first instance. | Accredited |
| Progesterone | Heparin 4ml |  | 3 Days | Mon – Fri Biotin may cause some concentration dependent positive interference in this assay if high dose supplements are taken. If this is suspected, a repeat request 8 plus hours off Biotin is recommended in the first instance. | Accredited |
| Free T4 (FT4) | Plain 7 ml | Heparin 0.6ml | 3 Days | Mon – Fri Biotin may cause some concentration dependent positive interference in this assay if high dose supplements are taken. If this is suspected, a repeat request 8 plus hours off Biotin is recommended in the first instance. | Accredited |
| TSH | Plain 7 ml | Heparin 0.6ml | 3 Days | Mon – Fri Biotin may cause some concentration dependent negative interference in this assay if high dose supplements are taken. If this is suspected, a repeat request 8 plus hours off Biotin is recommended in the first instance. | Accredited |
| Ferritin | Plain 7 ml |  | 3 Days | Mon – Fri Biotin may cause some concentration dependent negative interference in this assay if high dose supplements are taken. If this is suspected, a repeat request 8 plus hours off Biotin is recommended in the first instance. | Accredited |

Figure 16 : Routine Biochemistry Profiles

| Profile | Adult: Cap Additive (Vol) | Paediatric: Cap Additive (Vol) | Tests Included |
| --- | --- | --- | --- |
| UE | Heparin 4ml | Heparin 0.6ml | Sodium, Potassium, Chloride, Urea, Creatinine |
| PN | Heparin 4ml | Heparin 0.6ml | UE, Calcium, Magnesium, Phosphate, Triglyceride, Albumin, Corrected Calcium |
| SBR | Heparin 4ml | Heparin 0.6ml | Bilirubin Direct, Bilirubin Total |
| LFT | Heparin 4ml | Heparin 0.6ml | Total Protein, Albumin, AST, ALT, ALP, SBR |
| PET | Heparin 4ml | Heparin 0.6ml | UE, LFT, Urate |
| REC | Heparin 4ml | Heparin 0.6ml | UE, Calcium, Magnesium, Phosphate, Urate, Total Protein, Albumin, AST, ALT, ALP, SBR, Corrected Calcium |
| GBL | Heparin 4ml | Heparin 0.6ml | Calcium, Magnesium, Phosphate, Albumin, ALP, Corrected Calcium, Sodium, Potassium, Chloride, Urea, Creatinine |
| CAL | Heparin 4ml | Heparin 0.6ml | Calcium, Albumin, Corrected Calcium |
| U8 | Heparin 4ml | Heparin 0.6ml | UE, Calcium, Magnesium, Phosphate, Albumin, Corrected Calcium |
| U81 | Heparin 4ml | Heparin 0.6ml | UE, Calcium, Magnesium, Phosphate, Albumin, Corrected Calcium, SBR |
| CSFB | Plain 2ml | Plain 2ml Note: Where only a fluoride specimen is received this can be analysed for CSF Glucose only. | CSF Glucose |
|  | Plain 2ml | Plain 2ml | CSF Protein |

Figure 17: Glucose Testing

All adult samples should be drawn into grey topped fluoride oxalate tubes

| Glucose Test/Profile | Special Requirements | Accreditation Status |
| --- | --- | --- |
| Fasting | Fasting 12 hours. | Accredited |
| Random | No dietary restriction. | Accredited |
| Post Prandial | 2 hours following a meal. | Accredited |
| Antenatal Oral Glucose Tolerance Test (4 Specimens) | Duration: 3 hours. - Fasting glucose (Fasting 12 hours) Then glucose administration, - Specimen taken 1-hour post glucose administration - Specimen taken 2 hours post glucose administration. - Specimen taken 3 hours post glucose administration. | Accredited |
| Postnatal Oral Glucose Tolerance Test (2 Specimens) | - Fasting glucose (Fasting 12 hours) Then glucose administration, - Specimen taken 2 hours post glucose administration. | Accredited |
| Gestational Diabetes Screen (2 specimens) | - Fasting glucose (Fasting 12 hours) - Specimen taken 1 hour post glucose administration. | Accredited |
| Blood glucose series (5 specimens) | Times entered as per specimen/request form. | Accredited |
| Glucose Challenge Test (1 specimen) | 1-hour post glucose administration. | Accredited |

Figure 18: Urine Biochemistry Tests

| Urine Test/ Profile | Container | Additive | Turnaround Times | Special Requirements | Accreditation Status |
| --- | --- | --- | --- | --- | --- |
| Creatinine | Spot Universal or 24 hr Urine | None | Same Day | *If for Creatinine Clearance, the Plasma for Creatinine determination must be taken during the 24hr period of urine collection | Accredited |
| Protein | Spot Universal or 24 hr Urine | None | Same Day |  | Accredited |
| Protein: Creatinine Ratio | Spot Universal | None | Same Day |  | Accredited |
| Osmolality (Urine) | Spot Universal | None | Same Day |  | Accredited |
| Potassium | Spot Universal or 24 hr Urine | None | Same Day |  | Accredited |
| Sodium | Spot Universal or 24 hr Urine | None | Same Day |  | Accredited |
| Chloride | Spot Universal or 24 hr Urine | None | Same Day |  | Accredited |

Figure 19: CSF Biochemistry Tests

| CSF Test/Profile | Container | Turnaround Times | Special Requirements | Accreditation Status |
| --- | --- | --- | --- | --- |
| CSF Glucose | Plain Note: When only a fluoride specimen is received this can be analysed for CSF Glucose only. | Same Day |  | Accredited |
| CSF Protein | Plain | Same Day |  | Accredited |

## Specialised Biochemical Investigations

These investigations are referred to external centres. Turnaround times, where quoted, reflect specialist nature and referral laboratory response time. For further information, contact specimen reception at Ext: 3178 for sample requirements and Biochemistry at Ext:3546 for result enquires

Figure 20: Specialised Biochemical Investigations

Biotin may cause interference in some of our referral tests. If such interference is suspected, please contact the Biochemistry laboratory for a list of susceptible tests.

*Test codes marked with an asterisk are orderable through the patients’ EHR - Cerner Powerchart.

| Test | Code | Adult | Paed | TAT | Special Requirements | Referral Centre |
| --- | --- | --- | --- | --- | --- | --- |
| 7-Dehydrocholesterol | 7DEH | Heparin 4ml | Heparin 1.3ml | 3 weeks | Protect from light at all times. Separate into 2° tube. And freeze at -20 Diagnosis of Smith-Lemli-Opitz syndrome | Camilla Scott , Chemical Pathology, Sheffield Children's Hospital (7), Western Bank, Sheffield S10 2TH, UK Tel: 00441142717305 (or 7306) |
| 11- Deoxycortisol | 11DE | Plain 7ml |  |  | Store at 2-8°C. In neonates the sample should be taken at least 48 hours post birth. | Steroid Laboratory, Kings College Hospital, Denmark Hill, London. SE5 9RS. Telephone: 00442077374000 or 0044207346445 |
| 17 OH Progesterone (Paed) | OHPP* |  | Serum or Heparin accepted | 14 days | Ensure neonates are at least 48hrs old as baby will have mothers OHPP present and a false result will be obtained. Assay is run every 2nd Wednesday at 10.30am. Early morning specimens. Separate sample and store in fridge. If sample received over weekend separate and freeze. | Biochemistry Dept, OLCH Crumlin (1) Tel : 01 4096427 |
| 17 OH Progesterone (Adult) | OHP* | Plain 7ml |  | 5 days | Spin to separate from cells. Stable on gel. Separate sample and store in fridge if not sent on the same day. If sample received over weekend separate and freeze. | Biochemistry Dept, St James Hospital (3) Tel: 01 4162918 |
| Angiotensin Converting Enzyme (ACE) | ACE* | Plain 7ml |  |  | Spin to separate from cells. Stable on gel. | Biochemistry Dept, St James Hospital (3) Tel: 01 4162918 |
| Acetylcholine Receptor Antibodies / MuSK antibodies | ACRA | Plain 7ml | Plain 2ml | 3 days | Spin and separate sample and fridge within4 – 8hrs of blood draw. | Protein Reference Unit (5) Sheffield Northern General Hospital +44 114 2715552 |
| ACTH | ACTH* | EDTA 3ml | EDTA 1.3ml |  | Separate immediately and freeze. | Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 |
| AcylCarnitine (Total, Free + Acyl) | CARN* |  | Heparin 1.3ml | 3 weeks | Separate sample and fridge. Stable in the fridge over the weekend. | Camilla Scott, Chemical Pathology, Sheffield Children's Hospital (7), Western Bank, Sheffield S10 2TH, England Tel; 00441142717305 (or 7306) |
| AcylCarnitine (Free + Interpretive comment) | ACAT* |  | Guthrie Card |  | Air dry for 2 hrs, avoid heat and humidity. Acylcarnitines profiling is always accompanied by urine for organic acids. | Metabolic Department Temple Street Tel: 01 8784724 |
| Alcohol | ALC | Fluoride Oxalate |  | 5 days | Preferably Fluoride oxalate sample but serum acceptable. Send primary specimen. No need to separate adult samples. | Biochemistry Dept, Beaumont Hospital (9) Tel: 01 8092668 |
| Aldolase | ALDO | Plain 7ml | Plain 2ml |  | Spin to separate from cells. Stable on gel. | Eurofins Biomnis (11) Tel: 01 2958545 |
| Aldosterone | ALD* | EDTA 3ml | Plain 2m | 1 week | Spin to separate from cells. Separate and freeze within 4 hours. Indicate patient’s posture *If renin is also requested please separate into two aliquots for freezing. | Eurofins Biomnis (11) Tel: 01 2958545 |
| Alkaline Phosphatase Isoenzymes | ALPI | Plain 7ml | Plain 2ml |  | Spin to separate from cells. Stable on gel. | Imperial College Healthcare NHS Trust 8th Floor Medical Oncology, Laboratory Block, Charing Cross Hospital, Fulham Palace Road London W6 8RF |
| Alpha 1 Anti-Trypsin | AATV* | Plain 7ml | Plain 2ml |  | Separate sample and fridge. | Biochemistry Dept, Beaumont Hospital (9) Tel: 01 8092668 |
| Alpha-fetoprotein (as tumour marker) | AFP* | Plain 7ml |  | 2 weeks | Adult: Stable on gel after spinning. | Biochemistry St. Vincent's. (6) Tel: 01 2214550 |
| Alpha-fetoprotein (for neural tube defect) | AFPP* |  | Plain 2ml or Heparin 1.3ml | 2 weeks | Paed: Separate + fridge | Biochemistry Dept, OLCH Crumlin (1) Tel : 01 4096427 |
| AMH (Paed) | AMHP | In house | EDTA/ Plasma or Serum |  | Separate and Freeze. Send frozen | Department of Chemical Pathology Great Ormond Street Hospital for Children. Contin.. RESULTS ENQUIRIES/GENERAL ENQUIRIES Email: gos-tr.chemicalpathology@nhs.net Departmental Office  020 7829 8662 (note: email preferred) CLINICAL ADVICE  020 7405 9200 bleep 0589 Email: duty.biochemists.distribution@gosh.nhs.uk |
| Amikacin | AMKI | Plain 7ml |  |  | Samples must be analysed within 24 hours of collection. Patients on once-daily regimens should have specimens taken 12-24 after the dose is given. Single Daily Dose Regimen: Pre-Dose Level: <5.0 mgs/L. Separate sample and fridge. | Biochemistry St. Vincent's. (6) Tel: 01 2214550 |
| Amino Acids - Urine | AMAU* | Urine | Urine | 10 days | 5 ml random urine required transfer urine from MSU to 10 ml tube and freeze ASAP | Metabolic Department Temple Street Tel: 01 8784724 |
| Amino Acids- Blood | AMA* |  | Heparin 1.3ml | 5 days | Separate immediately blood/CSF and store in fridge. Please note if CSF sample is haemolysed. Sample can be frozen and sent to TSH with Ammonia if there is only one sample. | Metabolic Department Temple Street Tel: 01 8784724 |
| Amino Acids- CSF | ACF* |  | Plain tube | 5 days | CSF should be paired with plasma to calculate ratios. | Metabolic Department Temple Street Tel: 01 8784724 |
| Amiodarone (Cordarone) | AMIO | Plain 7ml Or EDTA |  |  | Separate and freeze within 4 hours. | Eurofins Biomnis (11) Tel: 01 2958545 |
| Ammonia (Paed) | AMM* |  | Heparin 1.3ml | 2 days | -Separate and freeze immediately. Avoid haemolysis -Routine and OOH – Send as urgent once frozen. -Contact referral lab | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Ammonia (Adults) | AMMT | EDTA 3ml |  |  | Separate and freeze immediately- Send as urgent once frozen. | Biochemistry St. Vincent's. (6) Tel: 01 2214550 |
| Androstenedione (Paed) | ANDP* |  | Plain 2ml |  | Spin to separate from cells. Stable on gel. Separate + fridge if not sent on the same day. | Endocrinology Dept. St James Hospital (3) Tel : 01 416 2991 |
| Androstenedione (Adult) | AND* | Red No Gel 9ml |  | 5 days | Separate + fridge if not sent on the same day. | Endocrinology Dept, St. Vincent's. (6) Tel : 01 2213107 |
| Anti-Adrenal Antibodies (21- Hydroxylase) | ADGA | Plain 7ml |  | 5 days | Spin to separate from cells. Stable on gel. Separate + fridge if not sent on the same day. | Protein Reference Unit (5) Sheffield Northern General Hospital +44 114 2715552 |
| Anti-Ovarian Antibodies (Endocrine Auto-antibodies) | AOA | Plain 7ml |  | 5 days | Spin to separate from cells. Stable on gel. Separate + fridge if not sent on the same day. | Protein Reference Unit (5) Sheffield Northern General Hospital +44 114 2715552 |
| Anti-parietal cells antibody | PCA | Plain 7ml |  | 10 days | Spin to separate from cells. | Immunology Lab, St. Vincent's. (6) Tel: 01 2214550 |
| Apolipoprotein B |  | Heparin 4ml |  | 7 days |  | Biochemistry Tallaght University Hospital |
| β-Hydroxybutyrate | BHBY* |  | Fluoride 1.2ml |  | See RF-CS-BIO-41 Hypoglycaemia Workup Request Form - Separate and freeze | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Bile Acids (Paed) | BILP | N/A | Heparin 1.3ml |  | Spin to separate from cells and store in fridge. For the diagnosis of bile acid synthesis disorders. | Camilla Scott, Metabolic Section, Clinical Chemistry, Sheffield Children's Hospital (7), Western Bank, Sheffield S10 2 TH, England Tel: +441142717305 |
| Biotinidase Activity | BIOT* |  | Heparin 1.3ml | 4 weeks | Separate and freeze | Chemical Pathology, Sheffield Children's Hospital (7), Western Bank, Sheffield S10 2 TH, England Tel: +441142717305 (or 7306) |
| Brivaracetam | BRIV* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Brain natriuretic peptide (BNP) |  |  |  |  | See NT-BNP |  |
| C1 Esterase (Function & Total) | C1E | 2 Sodium Citrate samples |  |  | Separate and freeze sample within 4 – 6 hours | Eurofins Biomnis (11) Tel: 01 2958545 |
| C1 Esterase Inhibitor | C1ES | Plain 7ml | Plain 2ml | 6 days | Spin to separate from cells. Stable on gel. Separate + fridge if not sent on the same day. | Eurofins Biomnis (11) Tel: 01 2958545 |
| CA 15.3 | C153* | Plain 7ml | Plain 2ml |  | Spin to separate from cells. Stable on gel. | Biochemistry St Vincent’s Hospital (6) Tel : 01 2214550 |
| CA 19.9 | C199* | Plain 7ml | Plain 2ml |  | Spin to separate from cells. Stable on gel | Biochemistry St Vincent’s Hospital (6) Tel : 01 2214550 |
| Caeruloplasmin | CER* | Plain 7ml |  | 5 days | Spin to separate from cells. Stable on gel. Separate + fridge if not sent on the same day. | Biochemistry Dept, St James Hospital (3) Tel : 01 4162918 |
| Caeruloplasmin (Paed) | CERP |  | Plain 2ml |  | Transport at ambient temperature via courier | Protein Reference Unit (5) Sheffield Northern General Hospital +44 114 2715552 |
| Calcitonin | CALN* | Plain 7ml | Plain 2ml |  | Separate and freeze within 10 mins | Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 |
| Calcium Creatinine Ratio | CCR |  | Spot Urine |  |  | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Carbamazepine (Tegretol) | CARB* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Carcinoembryonic antigen (CEA) | CEA* | Plain 7ml |  | 7 days | Spin to separate from cells. Stable on gel. Most useful in colorectal cancer | Biochemistry St. Vincent's Hospital (6) Tel: 01 2214550 |
| Carnitine (Total, Free & Acyl) | CARN* |  | Heparin 1.3ml | 3 weeks | Separate + fridge. Stable in the fridge over the weekend | Chemical Pathology, Sheffield Children's Hospital (7), Western Bank, Sheffield S102TH, Tel: +44 1142717305 (or 7306) |
| Catecholamines (Adult) | CAT* |  |  |  | Replaced by “plasma metanephrines” | HPLC Dept, Beaumont Hospital (9) Tel : 01 8092351 |
| Catecholamines (Paed) | CATP* |  | 5-10 ml Urine |  | See WI-CS-BIO-17 *Patients <14 years old send to Beaumont (>14 years send to Eurofins Biomnis) | HPLC Dept, Beaumont Hospital. (9) Tel : 01 8092351 |
| Cholesterol | LIP* | Plain 7ml |  | 5 days | Fasting sample is preferable. Serum or heparin accepted. Serum sample stable after spinning on gel. If a Lithium heparin sample is received please separate sample into a 2° tube | Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 |
| Cholinesterase/ Pseudocholinesterase | CHOI* | Plain 7ml | Plain 2ml |  | Separate + fridge if not sent on the same day. (In preoperative screening, cholinesterase is used to detect patients with atypical forms of the enzyme and hence avoid prolonged apne caused by slow elimination of muscle relaxants.) | Biochemistry Dept, St James Hospital (3) Tel : 01 4162918 |
| Clobazam (Frisium) | CLOB | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Clonazepam (Rivotril) | CLON* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Copper | COP* | Serum/ Urine | Serum/ Urine |  | Blood: Trace metal tube required from Tallaght Hospital Urine : 24 hour collection in acid washed containers received from Tallaght Hospital | Biochemistry Dept, AMNCH Tallaght Hospital (8). Tel : 01 4143951 |
| Cortisol (Paed) | CORP* |  | Plain 2ml |  | Separate and freeze ASAP | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Cortisol (Adult) | COR* | Plain 7ml |  | 7 days | Note time of sample. Spin to separate from cells. Stable on gel. | Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 |
| C-Peptide (Paed) | PCP* |  | Plain 2ml |  | Separate and freeze ASAP. | Biochemistry Dept, Temple St. (4) |
| C-Peptide (Adult) | CPEP* | Plain 7ml |  |  | Separate immediately and freeze. | Endocrinology Dept, St James Hospital (3) Tel : 01 416 2991 |
| Cystine | CYS* | Heparin 4ml | Heparin 1.3ml | 8 weeks | Do not separate. Contact Temple St for sample details. | Metabolic Laboratory, Temple St. (4) Tel : 01 8784272 |
| Diazepam (Valium) | DIAZ* | Plain 7ml |  |  | Stable after spinning on gel. | Eurofins Biomnis Tel: 01 2958545 (2) |
| DHEA | DHEA* | Plain 7ml | Plain 2ml |  | Spin to separate from cells. Stable on gel. Separate if not sent within the day. | Endocrinology Dept, St. Vincent's Hospital (6) Tel : 01 2214406 |
| Dihydrotestosterone | DHTE | Plain 7ml | Plain 2ml |  | In pre-pubertal patients values should be assessed before and after treatment with hCG. | Leeds SAS Steroid Centre (16), St James's University Hospital, Leeds |
| Digoxin | DIG* | Plain 7ml |  | 4 days | Samples must be taken pre-dose or at least 6 hours post-dose. State dose. Spin to separate from cells. Stable on gel. | Biochemistry Dept, Beaumont Hospital (9) Tel: 01 8092668 |
| Electrophoresis | SPE | Plain 7ml |  | 1 week |  | Biochemistry Dept, St. Vincent's Hospital (6) Tel: 01 2214550 |
| Epanutin (Phenytoin) | PHN* | Plain 7ml | Plain 2ml |  | Stable after spinning on gel. | Biochemistry Dept, Beaumont Hospital (9) Tel: 01 8092668 |
| Eslicarbazepine (Zebinex) | ESCL | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Ethosuximide (Zarontin) | EXE | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Felbamate | FELB | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Flecainide | FLE* | Red No Gel 9ml | EDTA 1.3ml |  | Serum: Separate and freeze ASAP | Eurofins Biomnis Tel: 01 2958545 (2) |
| Free fatty acids (non-esterified fatty acids, NEFA) | FA |  | EDTA 1.3ml |  | Separate and freeze ASAP | Level 3, Leazes Wing Royal Victoria Infirmary Queen Victoria Road Newcastle upon Tyne, UK NE1 4LP Tel: 0044191 244 8889 |
| Frisium (Clobazam) | CLOB | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Fructosamine | FRUC | Heparin 4ml |  |  |  | Biochemistry Dept, Rotunda Hospital |
| FSH | FSH* | Heparin 4ml / Plain 7ml | Plain 2ml / Heparin 1.3ml | 7 days | Spin to separate from cells in gel tubes. Remove from gel after 24 hours. Stable in 2° tubes in fridge for 7 days at 2 - 8°C. If paeds, use same test code but send it to Crumlin | Adult : Biochemistry Dept, The Mater Hospital, Paed : Biochemistry Dept, OLCH Crumlin (1) Tel : 01 4096427 |
| Gabapentin | GABP | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Glycosaminoglycans (GAG's) |  | Urine |  |  | See below for Mucopolysaccharides |  |
| Glutamic Acid Decarboxyalse (GAD) Antibodies | GAD | Plain 7ml |  | 1 week | Spin and separate. | Protein Reference Unit (5) Sheffield Northern General Hospital +44 114 2715552 |
| Gamma Gluyamyl Transferase (GGT-Paed) | GGTP* |  | Heparin 1.3ml |  |  | Biochemistry Dept, OLCH Crumlin (1) Tel : 01 4096427 |
| Gamma Gluyamyl Transferase (GGT-Adult) | GGT* | Heparin 4ml / Plain 7ml |  |  | Serum or heparin accepted. Serum sample stable after spinning on gel. If Lithium heparin sample received separate into a 2° tube | Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 |
| Ganciclovir | CBR | Plain 7ml | Plain 2ml |  | Transport time must be less than 7 days | Antimicrobial Reference Laboratory, Severn Pathology, North Bristol NHS Trust, Southmead Hospital, Southmead Road, Westbury-on-Trym, Bristol UK BS10 5NB |
| Growth Hormone (Paed) | GHP* |  | Plain 2ml | 7 days | Separate and fridge. If send as part of Hypoglycaemia work up, send it to Temple St. They will refer the sample if enough sample. | Biochemistry Dept, OLCH Crumlin (4) Tel : 01 4096427 |
| Growth Hormone (Adult) | GH* | Plain 7ml |  | 7 days | Separate and fridge | Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 |
| HbA1c | HA1C* | EDTA 3ml |  | 7 days | Send 1° tube unseparated. Stable over the weekend. | Endocrinology Dept, Vincent's (6) Tel : 01 2213107 |
| Hypoglycaemia Workup |  |  |  |  | Careset orderable in Powerchart also see RF-CS-BIO-41 |  |
| IGE | IGE | Plain 7ml | Plain 2ml |  | Separate sample and fridge. | Immunology St James Hospital (3) Tel : (01) 4162928 |
| Immune Reactive Trypsin | IRT* |  | Guthrie Card |  |  | For referral lab check with Bio team |
| Immunoglobulins (IgG, IgA, IgM, IgE) | IMM* | Plain 7ml | Plain 2ml | 7 days | Separate sample and fridge. | Immunology St James Hospital (3) Tel : (01) 4162928 |
| IgG subclasses | IGGS | Plain 7ml | Plain 2ml |  | Separate sample and fridge. | Protein Reference Unit (5) Sheffield Northern General Hospital +44 114 2715552 |
| Inhibin A | INA | Plain 7ml |  | 1 month | Send to referral lab ASAP. Sample must be separated and frozen if not sent on same day | Eurofins Biomnis (11) Tel: 01 2958545 |
| Inhibin B | INH* | Plain 7ml |  | 4 days | Separate sample and freeze. Sample from Day 3 of cycle required. Send sample Urgently | Eurofins Biomnis (11) Tel: 01 2958545 |
| Insulin (Paed) | INSP* |  | Plain 2ml |  | A paediatric glucose sample should be sent with all Insulin requests Separate and freeze ASAP. | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Insulin (Adult) | INSU* | Plain 7ml |  | 3 weeks | Separate and freeze ASAP. | Endocrinology Dept, St James Hospital (3) Tel: 01 416 2991 |
| Insulin antibodies | IA | Plain 7ml |  | 5 days | Spin to separate from cells. | Protein Reference Unit (5) Sheffield Northern General Hospital +44 114 2715552 |
| Insulin Growth Factor / Somatomedin | IGF* | Plain 7ml | Plain 2ml |  | Separate and freeze ASAP. | Adult: Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 Paed: Biochemistry Dept, OLCH Crumlin (1) Tel : 01 4096427 |
| Islet cell antibodies | ICA | Plain 7ml |  | 1 week | Spin to separate from cells. Stable on gel. | Protein Reference Unit (5) Sheffield Northern General Hospital +44 114 2715552 |
| Isoelectric Focusing of Transferrin | IFTR* | Plain 7ml | Plain 2ml |  | Separate and store in fridge. Do not send on a Friday, leave in fridge to send on Monday. | Dept. of Neuroimmunology, Institute of Neurology, Queen Square House, London WC1N3BG. Tel: 00442034483814 |
| Keppra Levels (Leviteracetam) | KEPP* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Lacosamide | LACS | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Lactate (CSF) | CSFL* |  | CSF |  | Freeze sample before dispatch. | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Lamotrigine (Lamictal) | LAMO* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| LH | LH* | Heparin 4ml / Plain 7ml | Plain 2ml / Heparin 1.3ml | 7 days | Spin to separate from cells in gel tubes. Remove from gel after 24 hours. Stable in 2° tubes in fridge for 7 days at 2 - 8°C. If paeds, use same test code but send it to Crumlin | Adult : Biochemistry Dept, The Mater Hospital, Paed : Biochemistry Dept, OLCH Crumlin (1) Tel : 01 4096427 |
| Lipase | LIPE* | Plain 7ml | Plain 2ml | 1 day |  | Eurofins Biomnis (11) Tel: 01 2958545 |
| Lipids (Adults) | LIP* | Heparin 4ml / Plain 7 ml |  | 5 days | Fasting sample is preferable. Serum or heparin accepted. Serum sample stable after spinning on gel. If a Lithium heparin sample is received please separate sample into a 2° tube | Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 |
| Lipids (Paeds) | LIPP* |  | Heparin 1.3ml |  | Fasting sample preferred. Separate plasma to send. | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Lithium | LI* | Plain 7ml |  | 5 days | Spin to separate from cells. Stable on gel | Biochemistry Dept, Beaumont Hospital (9) Tel: 01 8092668 |
| Lysosomal Enzymes(Lysosomal storage disease/White cell enzymes) | WCE* |  | EDTA 1.3ml x4 |  | Send primary sample unseparated | Heather Church, Willink Unit Genetic Medicine (13), 6th Floor, POD 1, St Mary's Hospital, Oxford Road, Manchester, M13 9WL. Tel: +441617012137 |
| Maple Syrup Urine Disease Screen (MSUD) | AMA* |  | Heparin 0.6ml |  | Separate and fridge. Carried out as part of an amino acid screen to include Branched chain amino acids(Leu, Iso, Val) | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Metabolic Workup |  |  |  |  | Careset orderable in Powerchart also see RF-CS-BIO-36 |  |
| Methionine | METH* |  | Heparin 0.6ml |  | Separate and freeze | Metabolic lab, Temple St. (4) |
| Microalbumin | MALB | Urine |  |  | Early morning urine | Biochemistry St. Vincent’s. (6) Tel: 01 2214550 |
| Mucopolysaccharides (MPS) screen | MUCO | Urine |  | 4 weeks | Random urine frozen. 5 ml required | Heather Church, Willink Unit Genetic Medicine (13), 6th Floor, POD 1, St Mary's Hospital, Oxford Road, Manchester, M13 9WL. Tel: +441617012137 |
| Myelin oligodendrocyte glycoprotein antibodies |  | Plain 7ml or Lithium Heparin |  | 14 days | Spin to separate from cells. Stable on gel. Freezing not required. Ensure delivery Monday to Friday 07:00 - 17:30 | Clinical Laboratory Immunology (18) Churchill Hospital, Churchill Drive, Old Road, Headington, Oxford OX3 7LE UK. Enquiries: 0044 (0) 1865 225995 immunology.office@nhs.net |
| NT- Pro BNP (N-terminal portion of ProBNP) | NTPR* | Plain 7ml |  |  | Done as per part of Suspected Transfusion work up. If not received on same day, the sample needs to be separated. | Biochemistry St. Vincent's. (6) Tel: 01 2214550 |
| Oestradiol (Paed) | OESP* |  | Plain 2ml |  | Separate and fridge if not sent on the same day. | SAS Endocrine Lab, Specialist Lab Medicine, Block 46,Beckett St. Leeds, LS97TF Tel: +44 1132067043 |
| Oligosaccharides | OLIG |  | Urine |  | Stable at 2 - 8ºC or RT | Heather Church, Willink Unit Genetic Medicine (13), 6th Floor, POD 1, St Mary's Hospital, Oxford Road, Manchester, M13 9WL. Tel: +441617012137 |
| Organic Acids | ORG* |  | Urine |  | Dipstick urine samples for organic acids for pH. Record the pH in the clinical details line in WP. If the urine is alkaline (pH≥8.5), microbial contamination is suspected and the analysis of the sample may be compromised. While alkaline urines are not suitable for accurate analysis, a gross abnormality may still be detected. Hence, the laboratory should continue to dispatch the alkaline urine sample to TSCUH AND request a repeat urine sample on the patient and send on to TSCUH as soon as possible. Transfer urine from MSU to 10 ml tube and freeze ASAP. | Metabolic Department Temple Street Tel: 01 8784724 |
| Orotic Acid | ORO |  | Urine |  | Contact Metabolic Lab in Temple St. |  |
| Oxcarbazepine | OXCA | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Parathyroid Hormone (PTH) | PTH* | 2 x EDTA 3ml |  | 7 days | An EDTA whole blood sample is suitable for samples received Monday to Thursday. There is a requirement to separate and & freeze samples on Fridays, as samples are only stable for 48 hours. | Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 |
| Paediatric -Parathyroid Hormone (PTH) | PTHP |  | Plain Serum 1.3ml | 5 days | Separate and freeze immediately (within 20 mins) measure plasma calcium at same time | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Perampanel | PRMP* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Phenobarbitone (Paed) | PHBP* |  | Serum / Heparin 1.3ml |  | Separate and fridge | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Phenobarbitone (Adult) | PHB* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Phenylalanine (PKU) | PHAL* |  | Heparin 1.3ml |  | Spin and separate sample | Metabolic Department Temple Street Tel: 01 8784724 |
| Phenytoin (Paed) | PHNP* |  | Heparin 1.3ml or Serum |  | Separate and fridge | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Phenytoin (Epanutin) | PHN* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Plasma Metanephines |  | EDTA 3 ml |  |  | Separate and freeze immediately. Must be sent to the laboratory on ice. Contact Beaumont Hospital before sending. If not available, send it to Mater. | HPLC Dept, Beaumont Hospital (9) Tel : 01 8092351 |
| Plasmalogens | PLMG |  | 3 x EDTA 1.3ml |  | 3 EDTA samples required. Send unseparated. Samples must be received in the Willink within 48 hours of blood draw. (Can be sent with white cell enzymes). | Heather Church, Willink Unit Genetic Medicine (13), 6th Floor, POD 1, St Mary's Hospital, Oxford Road, Manchester, M13 9WL. Tel: +441617012137 |
| Porphyrins | POR | EDTA 3ml | EDTA 1.3ml |  | Send primary sample urgently during routine hours. If samples can't be sent immediately separate sample and freeze until next routine day. Cover in tinfoil at all times. | Biochemistry Dept, St James Hospital (3) Tel : 01 4162918 |
| Pregabalin | PRGL* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Primidone | PRMD* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Prolactin (Macroprolactin) | PRO* | Plain 7ml / Heparin 4ml |  | 7 days | Spin to separate from cells in gel tubes. (Macroprolactin will be analysed if Prolactin is raised) | Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 |
| Prostate Specific Antigen (PSA) | PSA* | Plain 7ml |  |  | Separate and fridge. | Biochemistry St. Vincent's. (6) Tel: 01 2214550 |
| Pseudocholinesterase | CHOI* | Plain 7ml | Plain 2ml |  | Measured with Cholinesterase | Biochemistry Dept, St James Hospital (3) Tel : 01 4162918 |
| Purine / Pyrimidine | PUPY |  | Urine |  | Transfer urine from MSU to 10 ml tubes. Freeze immediately | Purine Research Lab, Biochemical Sciences, 4th Floor, North Wing St Thomas Hospital (10), London, SE1 7EH Tel: +442071881266 |
| Quadruple Test (Second trimester screen) | TRT* | Plain 7ml |  | 21 days | Serum must be taken at 15 - 20 weeks (usually 16 weeks). Separate and fridge. Requires special form EXT-CS-SR-4. Only send out Mon - Thurs. For interpretation enquires contact Carol Mason at Tel: 0044 1223216447 | Clinical Biochemistry, Level 4, Addenbrookes Hospital, Cambridge CB2 2QQ. Tel 00441223217157 |
| RAST for Latex | RAS* | Plain 7ml | Plain 2ml | 10 days | Separate and fridge. Please write RAST for Latex if written on form to prevent full RAST profile being done. | Immunology Dept, St James Hospital (3) Tel : 01 4162918 |
| Renin | REN* | EDTA 3ml |  |  | Separate and freeze within 40 minutes. *If Aldosterone is also requested please separate into two aliquots for freezing. | Eurofins Biomnis (11) Tel: 01 2958545 |
| Rivotril (Clonazepam) | CLON* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Rufinamide | RFMD* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Salicylate | SALI* | Plain 7ml |  | 5 days | Stable after spinning on gel. | Biochemistry Dept, Beaumont Hospital (9) Tel: 01 8092668 |
| SHBG(Sex hormone binding globulin) | TEST* | Plain 7ml |  | 14 days | Separate if not sent within the day. When SHBG is requested order a TEST profile. | Endocrinology Dept, St. Vincent's. (6) Tel: 01 2213107 |
| Stiripentol | STRL* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Tacrolimus (FK506 / Prograf ) | TACR | EDTA 3ml |  |  | Trough samples required, and to be sent to SVUH before 10:30am. Place in Fridge overnight if not sending until next day. | Immunology Lab, St. Vincent's. (6) Tel: 01 2214550 |
| Tegretol (Carbamazepine) | CARB* | Plain 7ml | Heparin 1.3ml | 5 days | Spin to separate from cells. Stable on gel. | Biochemistry Dept, Beaumont Hospital (9) Tel: 01 8092668 |
| Teicoplanin | TEIC* | Plain 7ml |  |  | Spin to separate from cells. Stable on gel | Eurofins Biomnis Tel: 01 2958545 (2) |
| T3 Free (Tri-Iodothyronine) | T3* | Plain 7ml | Heparin 1.3ml | 7 days | Spin to separate from cells in gel tubes. Remove from gel after 24 hours. Stable in 2° tubes in fridge for 6 days at 2 - 8°C. | Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 |
| Testosterone (Adults) | TEST* | Plain 7ml | Plain 2ml | 14 days | Separate if not sent within the day. | Endocrinology Dept, St. Vincent's. Tel : 01 2213107 (6) |
| Testosterone (Paeds) Testosterone + SHBG | TESP* |  | Serum |  | Spin and separate Phone SJH to notify TESP is on route + indicate that testosterone is priority | Biochemistry Dept, St James Hospital (3) Tel : 01 4162918 |
| Thyroid Antibodies (Anti - TPO) | THYA* | Plain 7ml | Heparin 1.3ml / Serum | 7 days | Adult: Spin to separate from cells in gel tubes. Remove from gel after 8 hours. Stable in 2 ° tubes in fridge for 72 hours at 2 - 8°C. | Biochemistry Dept, The Mater Hospital, Tel: 01 8032383 |
| Thyroid Receptor Antibody (TRAB) | TRAB* | Plain 7ml | Plain 2ml |  | Spin to separate from cells in gel tubes. Stable on gel over the weekend. Paed: Spin and separate to secondary tube. Freeze it if it isn’t sent on the same day | Endocrinology Dept, St James Hospital (3) Tel 01 4162991 |
| Tiagabine | TGBN* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Topiramate (Topamax) | TOPI* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Toxicology Screen | TOX* | Urine | Urine | 5 days | 1 – 2 ml sufficient. Handwrite test on sample container. | Drug Treatment Centre (17), Mc Carthy Centre,30/31 Pearse Street (01) 648 8600 |
| Transferrin Isoforms |  |  |  |  | See Isoelectric Focusing of Transferrin |  |
| Troponin T (Paed) | TROT* |  | Heparin 1.3ml |  | Separate if not sent within the day. Not a useful test until child is > 7 months old | Biochemistry Dept, Tallaght Hospital (8) Tel: 01 4143951 |
| Troponin T (Adult) | TROA* | Plain 7ml |  |  | Spin and separate from cells. Send out urgently. It is recommended that two Troponin specimens are taken for measurement, the first at presentation and the second at a minimum of 6 hours later. | Biochemistry Dept, St. Vincent's. (6) Tel 01 2214550 |
| Tryptase | TRYP* | Plain 7ml or EDTA |  |  | Separate and freeze immediately. Samples should be collected up to 1 hr, 3 hr, 12 hrs and 24hrs post event. Label each sample with time and sample type. Samples should be accompanied with relevant clinical information. Lithium heparin samples are unsuitable. | Immunology Dept, St James Hospital (3) Tel : 01 4162924 |
| Tyrosine | TYR |  | Heparin 1.3ml |  | Spin and separate sample | Metabolic Department Temple Street Tel: 01 8784724 |
| Urine Steroid Profile | UST* |  | Urine |  | If child on steroids, state clearly on request form. | Biochemistry Laboratory, King's College Hospital (14), Denmark Hill, London. SE5 9RS Tel : 004420 3299 4131 |
| Urine Sulphite Oxidase | USO |  | Urine |  | Transfer urine from MSU to 10 ml tube and freeze 1ml of Urine frozen required. | IMD Section, Clinical Chemistry, Laboratory Medicine Block, Children’s Hospital , Whittall Street, Birmingham B46NL, Tel : 00441213339942 |
| Unsuitable sample (Referral) | UXCR |  |  |  | Test code to be used in the event of an unsuitable sample being received. Put in reason for sample unsuitability also. Phone clinical area and record in phone record of Winpath. | Not Sent |
| Ustekinumab | USTE | Plain 7ml | Plain 2m | 4 weeks | Trough (pre dose) specimen required | Area A2 Royal Devon & Exeter NHS Foundation Trust, Barrack Road Exeter, EX2 5DW (20) |
| Valproate | VALP* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Vancomycin (Trough, Peak or Random) | VAN 1* (Trough) VAN2* (Peak) VANR* (Random) | Plain 7ml | Plain 2ml | 24 hours | State if Trough, Peak or Random. Separate and freeze if not sent within 24 hours. (Trough = Pre, Peak = Post ) OOH: Send first thing in the next morning. Routine hours: Send with next courier. | Biochemistry Dept, St. Vincent's. (6) Tel: 01 2214550 |
| Venlafaxine (Effexor) | EFF | Plain 7ml |  |  | Spin to separate from cells. Stable on gel | Eurofins Biomnis Tel: 01 2958545 (2) |
| Vigabatrin | VGBT* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |
| Vitamin A (Retinol) | VITA* | Plain 7ml | Plain 2ml |  | Light sensitive, ensure sample is covered in foil when taking the sample, spinning and separating. If received uncovered, cover immediately, spin, separate, and freeze. Record the time uncovered in WP. Separate and freeze covered in foil. Freeze within an hour. | Biochemistry Dept, St James Hospital (3) Tel : 01 4162918 |
| Very Long Chain Fatty Acid | LCFA* |  | EDTA |  | See Peroxisomal Disorders section below. |  |
| Vitamin B6 (Pyridoxine) | VB6 | EDTA 3ml |  |  | Light sensitive, ensure sample is covered in foil when taking the sample, spinning and separating. Separate and freeze covered in foil. | Eurofins Biomnis (11) Tel: 01 2958545 |
| Vitamin D (Vitamin D3) | VITD* | Plain 7ml | Plain 2ml |  | Sample stability for Vitamin D is 4 days at 2-8 degrees C. Samples to be spun and stored in fridge if received out of hours. Samples only need to be frozen if not received in SVUH within 4 days. | Metabolic Unit, Biochemistry, St. Vincent’s. Tel: 01 2214672 (6) |
| Vitamin E | VITE* | Plain 7ml | Plain 2ml |  | Light sensitive, ensure sample is covered in foil when taking the sample, spinning and separating. If received uncovered, cover immediately, spin, separate, and freeze. Record the time uncovered in WP. Separate and freeze covered in foil. Freeze within an hour | Dept, St James Hospital (3) Tel : 01 4162918 |
| Vitamin K | VITK | Plain 7ml |  |  | Sample must be kept protected from light at all times by tin foil. Spin and separate sample and it is stable in the fridge over the weekend. | St Thomas' Hospital Westminster Bridge Road [19] London SE1 7EH Telephone: 020 7188 7188 https://www.viapath.co.uk/nutristasis-direct |
| Zinc | ZINC* | Serum/ Urine | Serum/ Urine |  | Blood: Trace metal tube required from Tallaght Hospital Urine : 24 hour collection in acid washed containers received from Tallaght Hospital | Biochemistry Dept, AMNCH Tallaght Hospital (8). Tel : 01 4143951 |
| Zonegram (Zonisamide) | ZONE* | Red No Gel 9ml |  |  | Routine: Spin and separate to secondary tube. Out of hours: refrigerate | National Society for Epilepsy, Chalfont, St Peter, Bucks, UK, SL9 0RJ Tel: 0044 1494 601300 |

*Test codes marked with an asterisk are orderable through the patients’ electronic chart - Cerner Powerchart.

NB. All serum samples for referral that are not sent out within 48 hours must be centrifuged & separated into secondary tubes for referral on the next working day.

| Hypoglycaemia workup: Please use the form RF-CS-BIO-41 when labelling samples. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Test | Code |  | Paed: Cap | TAT | Special Requirements | Referral Centre |
| Glucose, β-OH Butyrate, Lactate | HGW |  | Fluoride 1.2ml |  | Separate and freeze immediately (within 20mins) Routine and OOH: To be sent urgently – Contact referral lab | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Insulin, Cortisol & Growth Hormone | INSP, CORP, GHP |  | Plain 2ml |  | Separate and freeze immediately. Ensure a glucose sample (if available) is sent with all Insulin requests'. Routine and OOH: To be sent urgently – Contact referral lab | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| C-Peptide | PCP |  | Plain 2ml |  | Separate and freeze immediately. | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Amino Acids- Blood | AMA* |  | Heparin 1.3ml | 5 days | Separate immediately blood/CSF and store in fridge. Please note if CSF sample is haemolysed. Sample can be frozen and sent to TSH with Ammonia if there is only one sample. | Metabolic Department Temple Street Tel: 01 8784724 |
| Ammonia | AMM* | Heparin 4ml | Heparin 1.3ml | 2 days | -Separate and freeze immediately. Avoid haemolysis -Routine and OOH – Send as urgent once frozen. -Contact referral lab | Biochemistry Dept, Temple St. (4) Tel : 01 8784272 |
| Acylcarnitine | ACAT |  | Guthrie Card |  |  | Metabolic Department Temple Street Tel: 01 8784724 |
| Organic Acids | ORG |  | Urine |  | Transfer urine to 10 ml secondary tube check pH and freeze immediately. Record pH on Winpath and on sample container | Metabolic Department Temple Street Tel: 01 8784724 |
| Note: A second fluoride oxalate (yellow) sample may be taken if Glucose is to be analysed in NMH lab. |  |  |  |  |  |  |

| Peroxisomal Disorders |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Test | Code | Paed sample | TAT | Special Requirements | Referral Centre |
| Very Long chain fatty acids | LCFA | EDTA 1.3ml X3 | 4 working weeks | Separate and freeze ASAP General peroxisomal disorders, VLCFA oxidation defects and X-Linked ALD. To reach the laboratory within 72 hrs | Heather Church, Willink Unit Genetic Medicine (13), 6th Floor, POD 1, St Mary's Hospital, Oxford Road, Manchester, M13 9WL. Tel: +441617012137 Fax: 0161-70-12303 |
| Phytanic and Pristinic Acid | PHY |  |  | Send primary sample. Do not separate. |  |
| Plasmalogens | PLMG |  |  | Send primary sample. Do not separate. Protect sample from light. Cover in tinfoil at all times. |  |
| Lysosomal Enzymes (Lysosomal storage disease/White cell enzymes) | WCE | EDTA 1.3ml X3 |  | Send primary sample. Do not separate. To reach the laboratory within 72 hrs |  |

##### References:

- OLCH Crumlin online Lab manual: http://olchlab.return2sender.ie/Default.aspx

- Medlab Pathology online Lab manual: http://www.sonichealthcare.ie/test-information/tests-a-z/tests-a.aspx

- St James Hospital online Lab manual: http://search.stjames.ie/Labmed/

- TSCUH DPLM Test requirements manual: EXT-CS-LM-42

- Protein Reference Unit, Sheffield Northern General Hospital online Lab manual: https://www.immqas.org.uk/pru.asp?ID=316

- St Vincent’s Hospital Pathology User Handbook: EXT-CS-LM-43

- Sheffield Children's NHS Foundation Trust User's Handbook: EXT-CS-BIO-98

- AMNCH Tallaght Lab user manual: EXT-CS-LM-53

- Beaumont Hospital Lab user manual: EXT-CS-LM-52

- Thomas’ Hospital online user manual: http://www.viapath.co.uk/test-alphabetical?location=113&department=130&laboratory=146&letter=

- Eurofins Biomnis online user manual: https://www.eurofins-biomnis.com/en/services/test-guide/

- TDL online user manual: https://tdlpathology.com/test-information/a-z-test-list/a/

- Willink lab manual: EXT-CS-SR-8

- Steroid laboratory at King's College Hospital: http://www.viapath.co.uk/our-tests/urine-steroid-profile

- Dept. of Neuroimmunology, Institute of Neurology, UCL: https://www.uclh.nhs.uk/OurServices/ServiceA-Z/Neuro/NEURI/Pages/Testdirectory.aspx

- St James's University Hospital, Leeds:  http://www.sas-centre.org/assays/hormones/5a-dihydrotestosterone

- HSE National Drug Treatment Centre Lab manual: EXT-CS-BIO-173

- Oxford Immunology lab: https://www.ouh.nhs.uk/immunology/diagnostic-tests/default.aspx

- Viapath https://www.viapath.co.uk/nutristasis-direct

- Royal Devon & Exeter NHS https://www.exeterlaboratory.com/contact/

If the Biochemical investigation required is not listed in

Figure 20 above, please contact the Biochemistry laboratory directly at Ext: 3546.

## Retrospective Requesting/Additional Requests

Routine specimens are retained in the Biochemistry laboratory for up to one week, refrigerated at 2-6˚C.Analyses of additional tests are subject to specimen integrity and analyte stability. Add on facility only available for routine Biochemistry samples up to 24 hours from sample draw. Telephone requests for additional analyses are accepted from clinicians, but must be followed up with the appropriate add-on request form.

## Reference Ranges and Critical Alert Ranges

The reference ranges quoted for women on Biochemistry reports refer to the pregnant state, apart from AMH, Oestradiol and hCG. In general, levels of plasma analytes tend to be lower in pregnant women mainly due to haemodilution as a result of plasma volume expansion. However, there are some analytes that increase during pregnancy (e.g. plasma Alkaline Phosphatase and Urinary Protein). The minor plasma concentration changes that occur during pregnancy of Potassium, Chloride, Total Calcium, Corrected Calcium, Inorganic Phosphate, Total and Direct Bilirubin, Magnesium, Triglycerides, CRP, Total Bile Acids, ALT, AST, LDH, CK, and Amylase are considered not clinically significant and non-pregnant reference ranges can be used to interpret the results of these analytes. The table below is intended to act as a guide to the changes that occur to Biochemistry references ranges during pregnancy. However, care must be taken in the interpretation of results as there can be variation among pregnancies and also within trimester specific ranges particularly for analytes where there are changes in concentrations as pregnancy progresses e.g. ALP.

Pregnancy related reference ranges are quoted on NMH Biochemistry reports and in Cerner (MN-CMS). Please note: Due to lack of IT flexibility, pregnancy related ranges are also quoted on reports of non-pregnant women; where ranges differ between pregnant and non-pregnant women, the non-pregnant ranges will be available as an added comment.

Due to the complexity of Biochemistry reference ranges throughout pregnancy, the provision of pregnancy reference ranges falls into three categories (refer to Figure 21 below for further details):

- Quoted reference ranges will apply to both pregnant and non-pregnant women for the following tests: Plasma Potassium, Chloride, Total Calcium, Corrected Calcium, Inorganic Phosphate, Total and Direct Bilirubin, Magnesium, Triglycerides, CRP, Total Bile Acids, and Enzymes ALT, AST, LDH, CK, and Amylase.

- Pregnancy specific reference ranges that span the entire pregnancy. This will apply to the following tests: Plasma Sodium, Urea, Creatinine (Enzymatic), Urate, Total Protein, Albumin, Osmolality and Urinary PCR and 24hr urinary protein excretion.

- Trimester specific pregnancy reference ranges. Second trimester ranges will be reported on reports/Cerner with an added comment detailing 1st and 3rd trimester ranges. This will apply to the following tests: Plasma ALP, TSH and Free T4 and urinary Creatinine Clearance.

In MN-CMS, for categories B and C tests, a comment will be attached to test results detailing applicable supplementary reference ranges. For category B tests, the attached comment will detail the corresponding non –pregnant reference range. For category C tests, the attached comment will detail the corresponding 1st and 3rd trimester ranges (and non-pregnant ranges).

For the correct interpretation of the results of category C tests (trimester specific ranges) in pregnancy, it is essential to click on the attached comment to access all three trimesters ranges- 2nd Trimester ranges are quoted with result.

Figure 21 below is intended to act as a guide to the changes that occur to Biochemistry references ranges during pregnancy. However, care must be taken in the interpretation of results as there can be variation among pregnancies and also within trimester specific ranges particularly where there are changes in concentrations as pregnancy progresses

Figure 21: Reference Ranges for In House Testing

Values in bold are the default adult ranges quoted on Winpath/MN-CMS.

| Analyte (Plasma) | Method | Reference Range | Units | Reference Source |
| --- | --- | --- | --- | --- |
| Sodium | Ion Selective Electrode | < 28 days: 131-143 28 days - < 1 year: 133-142 1 year - < 16 years: 133-144 Adult: Pregnant: 133-143 Non- Pregnant: 133 - 146 | mmol/L | Sheffield Children’s NHS Foundation Trust Harmonisation with Rotunda Pathology Harmonisation UK |
| Potassium | Ion Selective Electrode | < 28days: 3.5-6.5 28 days - < 1 year: 3.5-5.7 1 year - < 16 years: 3.5-5.4 Adult: 3.5 – 5.3 | mmol/L | Sheffield Children’s NHS Foundation Trust Pathology Harmonisation UK |
| Chloride | Ion Selective Electrode | < 28 days: 97-114 28 days - < 1 year: 98-113 1 year - < 16 years: 98-111 Adult: 95-108 | mmol/L | Sheffield Children’s NHS Foundation Trust Pathology Harmonisation UK |
| Urea | Urease Kinetic | <15 days: 1.1-7.9 15 days - < 1year: 1.3-5.8 1 year - < 10 years: 3.2-7.6 10 years - < 16 years (Female): 2.6-6.5 10 years - < 16 years (Male): 2.6-7.2 Adult: Pregnant: 1.0 - 3.8 Non-Pregnant: 2.5 – 7.8 | mmol/L | Caliper EXT-CS-BIO-319 Pathology Harmonisation UK |
| Creatinine | Enzymatic | < 7 days: 0 – 100 7 days - < 4 weeks: 10-70 4 weeks - < 1 year: 10-70 1 year - < 4 years: 15-40 4 years - < 6 years: 15-60 6 years - < 9 years: 15-60 9 years- < 14 years: 20-80 14 years - < 16 years: 30-90 Adult: Pregnant: 40 - 80 Non-Pregnant: 45-84 (Female) 59-104 (Male) | µmol/L | Harmonisation with Rotunda EXT-CS-BIO-319 Roche Roche |
| Urate | Uricase | < 15 days: 158-748 15 days - < 1 year: 88-370 1 year - < 12 years:100-282 12 years - < 16 years (Female): 147-342 12 years - <16 years (Male): 150-446 Adult: Pregnant: 120 – 375 Non pregnant: 140 – 360 (Female) 200 – 420 (Male) | µmol/L | Caliper EXT-CS-BIO-228 Pathology Harmonisation UK Roche |
| Glucose | Hexokinase | Neonate: Fasting: 3.0 – 5.1 Adult: Fasting: 4.0 – 6.0 | mmol/L | HSE Guidelines 2010 Roche |
| Glucose Challenge Test (GCT) | Hexokinase | Adult: < 7.8 | mmol/L | PP-CS-DB-2 Antenatal Screening for Gestational Diabetes |
| Antenatal Glucose Tolerance Test | Hexokinase | Adult: Fasting: < 5.3 1 Hour: < 10.0 2 Hours: < 8.6 3 Hours: < 7.8 | mmol/L | PP-CS-DB-2 Antenatal Screening for Gestational Diabetes |
| Total Calcium | NM-BAPTA | <1 year: 2.16 - 2.74 1 year - < 16 years: 2.31 - 2.64 Adult: 2.2 – 2.6 | mmol/L | Caliper Pathology Harmonisation UK |
| Corrected Calcium | Calculated | <1 year: 2.16 - 2.74 1 year - < 16 years: 2.31-2.64 Adult: 2.2 – 2.6 | mmol/L | Caliper Pathology Harmonisation UK |
| Phosphate | Phosphomolybdate UV | <15 days: 1.71-3.15 15 days – < 1 year: 1.47-2.54 1 year - < 5 years: 1.33-2.06 5 years - <13 years: 1.28-1.82 13 years - < 16 years (Female): 1-1.7 13 years - <16 years (Male): 1.11-1.88 Adult: 0.80 – 1.50 | mmol/L | Caliper Pathology Harmonisation UK |
| Bilirubin-Direct | Doumas | < 15 days: 3.4 - 7.7 15 days - < 1 year: 1.5 - 3 1 year - < 9 years: 1.5 – 1.8 9 years - < 13 years: 1.5 – 2.9 13 years - < 16 years (Female): 1.5 – 4 13 years - < 16 Years (Male): 1.5 – 4.3 Adult: <5 | µmol/L | Caliper Roche |
| Bilirubin-Total | DPD | < 15 days 0 - 250 15 days - < 1 year: 2.5-10 1 year - < 9 years: 2.5-5 9 years - < 12 years: 2.5-8 12 years - < 15 years: 2.5-10 15 years - < 16 years: 2.5-12 Adult: < 21 | µmol/L | Caliper Pathology Harmonisation UK |
| Total Protein | Biuret | <15 days: 51-80 15 days - < 1 year: 43-69 1 year - < 6 years: 59-73 6 years - < 9 years: 62-75 9 years - < 16 years: 63-78 Adult: Pregnant: 56-76 Non-Pregnant: 60 - 80 | g/L | Caliper EXT-CS-BIO-228 Pathology Harmonisation UK |
| Albumin | BCG | <15 days: 33-45 15 days - < 1 year: 31-50 1 year - < 8 years: 40-49 8 years - <15 years: 42-51 15 years - < 16 years (Female): 40-53 15 years - <16 years (Male): 43-53 Adult: Pregnant: 23 - 42 Non-Pregnant: 35 - 50 | g/L | Caliper EXT-CS-BIO-228 Pathology Harmonisation UK |
| Magnesium | Xylidyl Blue | Neonate: 0.60 – 1.00 Adult: 0.70 – 1.00 | mmol/L | Pathology Harmonisation UK Pathology Harmonisation UK |
| Osmolality | Freezing Point/VP | Neonate: 275 – 295 Adult: Pregnant: 275 – 289 Non-Pregnant: 275 - 295 | mOsm/kg | Anne Green EXT-CS-BIO-228 Pathology Harmonisation UK |
| AST | Tris buffer with P5P | <15days: 40-175 15 days - < 1 year: 28-77 1 year - < 7 years: 29-53 7 years - < 12 years: 26-45 12 years - <16 years (Female): 21-34 12 years - <16 years (Male): 22-44 Adult: 11 - 34 | U/L | Caliper Harmonisation with SVUH (Roche) |
| ALT | Tris buffer with P5P | <1 year: 7-36 1 year - < 13 years: 12-28 13 years - < 16 years (Female): 10-25 13 years - < 16 years (Male): 12-27 Adult: Female: 8 – 41 Male: 9 - 59 | U/L | Caliper Harmonisation with SVUH (Roche) Harmonisation with SVUH (Roche |
| LDH | L to P IFCC | <15days: 10-1128 15 days - < 1 year: 10-424 1 year - < 10 years: 10-305 10 years - < 15years (Female): 10-260 10 years - < 15 years (Male): 10-270 15 years - <16years: 10-240 Adult: 135-250 | U/L | Caliper Roche |
| CK | CK-NAC[IFCC] | < 90 days: 0 – 475 90 days – 1 year: 0 – 250 Adult: Female: 25-200 Male: 40-320 | U/L | Harmonisation with Rotunda/ Sheffield Roche Roche |
| ALP | Roche AMP buffer IFCC | < 14days: 83-248 15days-<1 year: 122-469 1 year - <10years: 142-335 10years-<13years: 129-417 13years-<15years (Male): 116-468 13years-<15years (Female): 57-254 15years-<16years (Male): 82-331 15years-<16years (Female): 50-117 Adult: 1st Trimester: 35 - 105 2nd Trimester: 35 - 105 3rd Trimester: 20 - 230 Non pregnant: 30 – 130 | U/L | Caliper EXT-CS-BIO-228 Pathology Harmonisation UK |
| Amylase | Roche liquid stable pNPG7 | <15days: 3-11 15 days - < 13 weeks: 3-26 13 weeks - < 1 year: 3-58 1 year - <16years: 29-118 Adult: 28-100 | U/L | Caliper Roche |
| Triglycerides | Lipase/GPO-PAP no correction | <15 days: 1.02-3.25 15 days - < 1 year: 0.65-3.24 1 year - <16 years: 0.54-2.47 Adult: 0.0 – 1.70 | mmol/L | Caliper EXT-CS-BIO-320 |
| CRP | Immunoturbidimetric | Neonate: < 5 Adult: < 5 | mg/L | Roche Roche |
| Gentamicin | CEDIA | Neonate: Trough: 0-2 Recommended pre-dose (trough) gentamicin level <1mg/L (or <2 mg/L in neonates if 3 doses or less have been given) Peak: Dependent on dose and time of dose. Discuss reference range with Consultant Microbiologist. Adult: Trough: <1 Peak: Dependent on dose and time of dose. Discuss reference range with Consultant Microbiologist. | mg/L | PP-CS-NEO-224 Neonatal drug administration monographs PP-CS-IC-17 Adult Antimicrobial Guideline |
| Vancomycin | KIMS | Neonate: Trough: 10 - 20 Peak: Dependent on dose and time of dose. Discuss reference range with Consultant Microbiologist. Adult: Trough: 10 - 20 Peak: Dependent on dose and time of dose. Discuss reference range with Consultant Microbiologist. | mg/L | Roche Roche |
| Procalcitonin | Electrochemiluminescence immunoassay | <0.06: No systemic inflammatory reaction. 0.06 - < 0.5: Measureable but low systemic inflammatory reaction. 0.5 - < 2.0: Significant but moderate systemic inflammatory reaction. 2.0 - < 10.0: Systemic infection is likely unless other causes are known. 10 - > 100: Indicates an important systemic inflammatory response. | ng/ml | Roche |
| IL-6 | Electrochemiluminescence immunoassay | 1.5 – 6.9: No systemic inflammatory reaction. | pg/ml | Roche |
| Total Bile Acids | Thio NAD-Thio NADH | < 5 months: 3.9 – 6.3 5 months - < 24 months: 6.6 - 9.4 24 months - < 5 years: 4.3 – 6.4 5 years - < 11 years: 3.6 5.4 11 years - <16 years: 3.1 – 4.1 Adult: 0-18 | µmol/L | EXT-CS-BIO-231 EXT-CS-BIO-205 |
| Oestradiol | Electrochemiluminescence immunoassay | Female: Follicular phase: 114 - 332 Ovulation phase: 222 - 1959 Luteal phase: 222 - 854 Post menopause: < 505 Male: 50 - 159 | pmol/L | Roche |
| CA125 | Electrochemiluminescence immunoassay | 0-35 | kU/L | Roche |
| HCG | Electrochemiluminescence immunoassay | <5.3 | mIU/mL | Roche |
| Anti-Mullerian Hormone | Electrochemiluminescence immunoassay | 20 – 24 years 8.7 – 83.6 25 – 29 years 6.4 – 70.3 30 – 34 years 4.1 – 58.0 35 – 39 years 1.1 – 53.5 40 – 44 years 0.2 – 39.1 45 – 50 years 0.2 – 19.3 | pmol/L | Roche |
| sFlt-1/PlGF ratio | Electrochemiluminescence immunoassay | Ratio <39 (20-40wks gestation): Rule out PE for at least 1 week Ratio 39 - 84 (20-33+6 wks gestation): Moderate/High risk of developing PE Ratio 39 - 109 (≥34 wks gestation): Moderate/High risk of developing PE Ratio >84 (20-33+6 wks gestation): Very high risk of developing PE Ratio >109 (≥34 wks gestation): Very high risk of developing PE | Ratio | Roche |
| Free T4 | Electrochemiluminescence immunoassay | Neonate: 0 – 6 days: 11.0 – 32.0 >6 days–3 mths: 11.5– 28.3 >3 – 12 mths: 11.9 – 25.6 | pmol/L | Roche |
|  |  | Adult: Non-pregnant: 12-22 Trimester specific: - First Trimester: 12.1-19.6 Second Trimester: 9.6-17.0 Third Trimester: 8.4-15.6 |  | Roche |
| TSH | Electrochemiluminescence immunoassay | Neonate: 0 – 2 days 5.0 –40 3 days – 11 years 0.7 – 5.5 | mU/L | Roche/National Newborn Screening Programme |
|  |  | Adult: Non-pregnant: 0.27 - 4.2 Trimester specific: First Trimester: 0.1- 3.1 Second Trimester: 0.2- 3.3 Third Trimester: 0.4-3.6 |  | EXT-CS-BIO-161 |
| Ferritin | Electrochemiluminescence immunoassay | Adult: Female: 13 – 150 Male: 30 – 400 | µg/L | Roche |
| Free ßHCG PAPP-A | Electrochemiluminescence immunoassay. | Reference ranges are not applicable. Results are used in conjunction with ‘Viewpoint’ software for the calculation of risk for foetal aneuploidy. | U/L U/L |  |
| Progesterone | Electrochemiluminescence immunoassay | Adult: Follicular: < 0.64 Ovulation: 0.64 – 13.2 Luteal: 13.1 – 46.3 Post Menopause: < 0.64 | nmol/L | Roche |

| Analyte (CSF) | Method | Reference range | Units | Reference Source |
| --- | --- | --- | --- | --- |
| CSF Protein | Turbidimetric | <28 days: 0.65 - 1.5 28 to 56 days: 0.5 - 0.9 56 days to 18 yrs: 0.05 - 0.35 18 to 60 years: 0.15 - 0.45 Over 60 years: 0.15 - 0.6 | g/L | EXT-CS-BIO-152 UK Standards for Microbiology Investigations Investigation of Cerebrospinal Fluid |
| CSF Glucose | Hexokinase | <28 days 1.9 - 5.6 28 to 58 days 1.6 - 5.6 58 days to 1 year 1.9 - 5.0 1 year + 2.2 - 4.4 | mmol/L |  |

| Analyte (Urine) | Method | Reference Range | Units | Reference Source |
| --- | --- | --- | --- | --- |
| Spot Sodium | Ion Selective Electrode | No Range Quoted. Interpret in conjunction with corresponding plasma result. | mmol/L |  |
| Spot Potassium | Ion Selective Electrode |  | mmol/L |  |
| Spot Chloride | Ion Selective Electrode |  | mmol/L |  |
| Creatinine Clearance | Calculation | 1st Trimester: 69 – 140 2nd Trimester: 55 – 136 3rd Trimester: 50 – 166 Non pregnant: 90-130 | ml/min | EXT-CS-BIO-228 Jacques Wallach |
| 24h Urine Protein | Turbidimetric | Adult: Pregnant: ≤0.30 Non Pregnant: ≤0.15 | g/24h | NICE Guideline (ng 133) Tietz |
| Protein: Creatinine Ratio | Calculation | Adult: Pregnant: ≤ 30 Non Pregnant: ≤ 15 | mg/mmol | NICE Guideline (ng 133) |
| Osmolality | Freezing Point/VP | No Range Quoted. Interpret in conjunction with plasma osmolality. | mOsm/kg |  |

A critically abnormal result may or may not be unexpected. It may be due to a disease process, the effect of treatment or it may be artifactual. A critically abnormal result is reported urgently by telephone to clinical staff, as per PP-CS-BIO-10.  The telephoning of reports is documented in the telephone audit log on WinPath. Refer to Figure 22 below for critical phone limits.

Figure 22: Test Results for Telephoning in Biochemistry

| Analyte | Lower Limit | Upper Limit | Comment/ Ref |
| --- | --- | --- | --- |
| Sodium | ≤125 mmol/L ≤130 mmol/L | ≥150 mmol/L Adult ≥150 mmol/L Neonate | 1 1 |
| Potassium | ≤2.9 mmol/L | ≥6.0 mmol/L | 2 |
| Urea | - | ≥15.0 mmol/L Adult ≥ 10.0 mmol/L Neonate | 1 1 |
| Creatinine | - | ≥354 µmol/L Adult ≥100 µmol/L Neonate | 1 |
| Urate | - | ≥450 µmol/L | 1 & 3 |
| Calcium | ≤1.80 mmol/L | ≥ 2.80 mmol/L | Always check for EDTA contamination (Low calcium level) 1 |
| Magnesium | ≤0.4 mmol/L | ≥1.70 mmol/L | 1 |
| Phosphate | ≤0.45 mmol/L | - | 2 |
| Triglycerides | - | ≥20 mmol/L Adult >3 mmol/L Neonate* | If neonate on PN, quote result comment. 2(Adult), 4(neonate) See * comment below |
| Albumin | ≤16 g/L |  |  |
| Direct Bilirubin | - | ≥ 25 µmol/L (Neonate only) | 1 |
| Total Bilirubin | - | ≥ 100 µmol/L Adult ≥ 240 µmol/L Neonate | 5(Adult), 6(Neonate) |
| AST | - | ≥150 IU/L | 1 |
| ALT | - | ≥150 IU/L | 1 |
| CK | - | ≥500 IU/L | 1 |
| LDH | - | ≥500 IU/L | 1 |
| Total Bile Acids | - | ≥40 µmol/L on first finding | 7/8 |
| Amylase | - | ≥100 IU/L | 3 |
| CRP | - | ≥ 100 mg/L Adult ≥30 mg/L Neonate | 1 3 |
| CSF glucose & protein |  |  | Always phone CSF results |
| Gentamicin (Trough) |  | ≥ 1 mg/L | 8 |
| Gentamicin (Peak) | - | ≥10 mg/L Neonate ≥20 mg/L Adult |  |
| Glucose | See Table below for Glucose Results for Telephoning |  |  |
| Serum Osmolality | ≤ 250 mOsm/kg | ≥320 mOsml/kg | 9 |
| Urinary Protein/ Creatinine Ratio (PCR) | - | > 300 mg/mmol | 8 |
| Adult Free T4 (FT4) | <7 pmol/L | > 29 pmol/L | 8 |
| Paediatric Free (FT4) | Any result outside the reference range | Any result outside the reference range |  |
| Adult TSH | <0.01 mIU/L | > 5.0 mIU/L | 8 |
| Paediatric TSH | < 0.1 mIU/L | > 10 mIU/L | 3 |
| CA125 | - | >100 KU/L | 9 |

Note: Phoning only required on new/first finding within a distinct clinical episode unless stated otherwise.

| Glucose Results for Telephoning |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Lower Limit | Upper Limit | Comment | Ref |
| Glucose | ≤2.5 mmol/L | ≥ 15.0 mmol/L | Phone to appropriate clinical area. | 1 |
| Glucose Challenge Test (GCT) | - | >14.0 mmol/L | -Contact the clinician with critical GCT results. -For private patients the GCT result should be phoned to the private consultant that the patient is attending. If no answer, leave a message. If no follow up by the next routine day contact the Obs Reg on Bleep 045. -For patients attending OPD/SPC the GCT result should be phoned to the appropriate clinical area. | 8 |
| Oral Glucose Tolerance Test (OGTT) | - | Any result > 15.0 mmol/L | Contact the Diabetes Team on Bleep 025 | 8 |
| Gestational Glucose (GEST) | - | Fasting ≥ 7.0 mmol/L and/or 1Hr PP ≥ 11.1 mmol/L | Contact the Diabetes Team on Bleep 025 | 8 |

# Blood Transfusion Department

Blood Transfusion samples may be analysed up to 48 hours after sample draw.

See SI-NOT-GEN1 and SI-NOT-GEN2 for Order of Draw charts on Q-Pulse

Figure 23: Blood Transfusion Tests

| Test/Profile and Request Form (if not using MN-CMS) | MN-CMS Test Profile | Container Type(Vol) | Turnaround Times from time of specimen receipt in laboratory | Special Requirements All handwritten specimens must contain the hospital number, patient name date of birth and signed by the collector | Accreditation Status |
| --- | --- | --- | --- | --- | --- |
| Cord Blood Group and Coombs LF-BTR-CRREQ Rev 2 | Cord Blood Group and DAT, blood NMH | EDTA 6ml | 1-36 hours as per special requirements | Cord specimens. Specimens analysed once daily in the morning. Contact laboratory if urgent due to maternal antibodies. | Accredited |
| Group and Coombs Paediatric LF-BTR-XREQ Rev 3 | Blood Group and DAT, Paed NMH | EDTA 3ml | Same day | PATIENT MUST BE WEARING AN ID ARMBAND. Out of hours: Available when bilirubin is raised and result is required for blood or product issue. When Cord Bloods were not received and the mother is RhD Neg and may require Anti-D urgently. When a maternal antibody is present and Cord bloods are not available for testing i.e. Maternal antibody first identified postnatal/transfer baby | Accredited |
| Group and Antibodies (Type and Screen) LF-BTR-XREQ Rev 3 | Inpatient Group and Antibody Screen NMH | EDTA 9ml | 24 hours Urgent 1 hour* | PATIENT MUST BE WEARING AN ID ARMBAND BT lab / on-call scientist to be phoned if the group and antibodies is deemed urgent. *The presence of a positive antibody screen will increase turnaround times. These samples remain suitable for x-matching blood up to 72 hrs from the time of phlebotomy. | Accredited |
| Outpatient Group and Antibodies LF-BTR-GCREQ Rev 3 | Outpatient group and antibody screen NMH | EDTA 9ml | 1 routine day | These patients do not have to wear an ID armband and therefore the PPID override function can be used in MN-CMS. However, manual PPID procedures should be followed. In the case of community/GP samples please see section 5.2.3 above. These patients EDTA samples can be in 6 / 9ml tubes. THESE SAMPLES ARE NOT SUITABLE FOR BLOOD COMPONENT PROVISION | Accredited |
| Crossmatch LF-BTR-XREQ Rev 3 | Red cells NMH or Crossmatch Red Cells NMH | EDTA 9ml | Electronic crossmatch (if eligible as per lab policy) = 5-10 minutes Serological crossmatch requests = 3 hours. Urgent 1 hour* | BT/on-call scientist to be phoned if the crossmatch is deemed urgent. *The presence of a positive antibody screen will increase turnaround times. A current valid inpatient group and antibodies sample is required prior to crossmatch requests with ID armband in place. Blood Product Requests created in MN-CMS must be printed and sent to the lab. The clinical area must inform the Blood Bank when a patient with known immune antibodies is admitted to allow adequate time to source suitable blood products. | Accredited |
| Uncrossmatched Blood | Uncrossmatched, group specific RCC NMH or Uncrossmatched, O Neg Red Cells NMH | EDTA 9ml | Group specific = approx. 15 minutes O negative = STAT* | The request for uncrossmatched blood must be authorised by a member of the medical staff. | Accredited |
| Neonatal Crossmatch | Paed Pack (1-5 NMH) | EDTA 9ml from mother EDTA 3ml from Neonate | Up to 3 hours (Depending on blood stock arrival from IBTS) | Crossmatched against maternal specimen (correctly labelled with maternal details). Please check if a current valid sample is available on the mother prior to maternal sample collection. The baby must be transfused the first pedi pack split within the first five days of the unit’s shelf life. For this reason, paedi-packs should only be ordered where there is an immediate clinical requirement. Blood Product Requests created in MN-CMS must be printed and sent to the lab. | Accredited |
| Transfusion Reaction Investigation | Transfusion Reaction Investigation Adult/Paed NMH | See section 14.9 below | Preliminary 2 hours Final 7 days | See Section 14.9 below. | Accredited |
| Antenatal Booking | Booking Visit | EDTA 9ml | 1 routine working day | If patient is not wearing an ID armband an Outpatient Group and antibodies must be selected or if handwriting the sample use form LF-BTR-GCREQ Rev 3. | Accredited |
| 28 Week Antibody Check | Outpatient group and antibody screen NMH | EDTA 9ml | 1 routine working day | It is policy for all RhD negative women and women with antibodies to have a 28 week antibody check. | Accredited |
| Antibody Identification | N/A | EDTA 9ml | 0-5 days | Test initiated by the laboratory. Depending on the complexity and the requirement for blood or blood products. | Accredited |
| Antibody Titration | N/A | EDTA 9ml | 0-5 days | Test initiated by the laboratory. Depending on the complexity and the requirement for blood or blood products. | Accredited |
| Antigen Typing | N/A | EDTA 9ml | 0-5 days | Test initiated by the laboratory. Depending on the complexity and the requirement for blood or blood products. | Accredited |

Figure 24: Blood Transfusion Referral Tests

|  | MN-CMS Test Profile | Container Type(Vol) | Turnaround Times from time of specimen receipt in laboratory | Special Requirements All specimens must be handwritten with hospital number, patient name date of birth and signed by the collector | Referral Laboratory | Accreditation Status |
| --- | --- | --- | --- | --- | --- | --- |
| Anti-D/Anti-c Quantitation | Anti-D or Anti-c blood level, NMH | 9ml EDTA x2 | 1 week for verbal report 2 weeks for written report | Please provide EDD when requesting Anti-D/-c quantitation. | IBTS | Reference Laboratory |
| HLA typing | Group and Antibodies Inpatient / Outpatient | 9ml EDTA | 2 weeks | Test request must be accompanied by associated referral form. Contact the Blood Bank to request form | IBTS | Reference Laboratory |
| HLA antibodies | Group and Antibodies Inpatient / Outpatient | 9ml serum sample (clotted) | 2 weeks | Test request must be accompanied by associated referral form. Contact the Blood Bank to request form | IBTS | Reference Laboratory |
| Platelet Alloantibodies | Group and Antibodies Inpatient / Outpatient | 9ml serum sample (clotted) | 2 weeks | Test request must be accompanied by associated referral form. Contact the Blood Bank to request this form | IBTS | Reference Laboratory |
| NAITP | NAITP investigation, Maternal/ Paed/ Paternal blood NMH | Mother:9ml EDTA 2X9ml Serum (clotted) | 2-3 weeks | Request must be authorised by Consultant/Haematologist. Test request must be accompanied by associated referral form. Contact the Blood Bank to request this form. | IBTS | Reference Laboratory |
|  |  | Father: 2 x9ml EDTA |  |  |  |  |
|  |  | Neonate: 1ml Paediatric EDTA |  |  |  |  |
| Foetal Genotyping in maternal blood samples of patients with immune antibodies must be handwritten and only to be collected Mon – Thur before 12:30 PM to accommodate transport requirements | Fetal genotyping, blood NMH | 9mlx2 EDTA | 2-3 weeks | Test request must be accompanied by associated referral form. Contact the Blood Bank to request this form | NHS Blood and Transplant | Reference Laboratory |
| Platelet Crossmatching Samples must be handwritten and only to be collected Mon – Thur before 12:30 PM to accommodate transport requirements | N/A | Mother: 9ml EDTA | 2-3 weeks | Test request must be accompanied by associated referral form. Contact the Blood Bank to request form. | NHS Blood and Transplant | Reference Laboratory |
|  |  | Mother: 2X9ml Serum (clotted) |  |  |  |  |
|  |  | Father: 2 x9ml EDTA |  |  |  |  |
| Fetal RHD screen (cffDNA testing) by the IBTS | Fetal RHD Screen (IBTS), blood NMH | Mother 1 x 9 ml EDTA | 2 weeks | STORE SAMPLE AT ROOM TEMPERATURE. Sample must be accompanied by associated referral form. Contact the Blood Bank to request this form or available on Q-Pulse. MN-CMS printed request forms also appropriate | IBTS | Reference Laboratory |
| Non-invasive HPA-1A foetal genotyping |  | Mother 1 x 9 ml EDTA | 2-3 weeks | STRECK TUBES REQUIRED. Consultant/Consultant Haematologist request | Sanquin Diagnostics, Amsterdam | Reference Laboratory |

Figure 25: Blood Transfusion Blood Product Requests

| Blood Product | Test/Profile and Request Form (if not using MN-CMS) | MN-CMS Test Profile | Container Type(Vol) | Turnaround Times from time of specimen receipt in laboratory | Special Requirements All specimens must be handwritten with hospital number, patient name date of birth and signed by the collector | Accreditation Status |
| --- | --- | --- | --- | --- | --- | --- |
| Anti-D (Potentially Sensitising Event - PSE) | Outpatient Group and Antibodies LF-BTR-GCREQ Rev 3 | Antenatal (PSE) Anti-D Immunoglobulin NMH | 9ml EDTA | 1 routine day | Indicate the EDD and the reason for request e.g. Antenatal Fall. If requesting Anti-D using MN-CMS the Anti-D must be ordered, the requisition printed and sent to the Blood Bank | Accredited |
| Anti-D (RAADP) | Outpatient Group and Antibodies LF-BTR-GCREQ Rev 3 | RAADP Anti-D Immunoglobulin NMH | 9ml EDTA | 1 routine day | Indicate sample is a 28 week / RAADP sample | Accredited |
| Anti-D (Post Natal) | Group and Antibodies (Type and Screen) LF-BTR-XREQ Rev 3 | Post Natal Anti-D Immunoglobulin NMH | 9ml EDTA | 1 routine day | If requesting Anti-D using MN-CMS the Anti-D must be ordered, the requisition printed and sent to the Blood Bank | Accredited |
| Blood Products (non-red cells) Refer to Figure 25 for red cells | Group and Antibodies (Type and Screen) LF-BTR-XREQ Rev 3 Sample may already be available – contact lab | Blood Products Order /Prescribe Adults and Neonates | 9ml EDTA | TAT is dependent on product required and availability – contact lab for approximate estimation | When requesting blood products using MN-CMS the blood product must be ordered, print the requisition and sent to the Blood Bank. | Accredited |

## Storage of Blood Specimens

Blood specimens can be stored for 48 hours at 4˚C if there is a delay in transport to the laboratory. The exception to this is the storage of samples collected for the Fetal RhD screen, which must be stored at room temperature.

## Specimen Request Form

Please refer to Figure 23, Blood Transfusion Tests, for appropriate requests forms if not using MN-CMS. The request form must have the relevant details as outlined below:

- Patient details: Surname, first name, hospital number, date of birth, ward.

- Clinical details: Surgical procedure, transfusion and pregnancy history.

- Signature of person making the request.

- Signature of the person taking the specimen.

- GP bloods must indicate the full address of the patient on both specimen and request form.

### Antenatal Blood Grouping and Antibody Screen

Please refer to PP-CS-AN-24, Antenatal Blood Grouping and Red Cell Antibody Screening Policy, for frequency and details of tests required.

Cord bloods should be sent for Group and DCT on infants of all RhD negative women/blood group unknown to assess requirement for postnatal Anti-D Ig injection. Anti-D Ig will be issued to RhD negative women based on these results. Cord blood must also be sent for Urgent Group and DCT on infants of women with irregular red cell antibodies and suspected Haemolytic Disease of the Fetus/Newborn (HDFN).  Paper request form must supply the demographic details of both the mother and the infant. Please inform the Blood Transfusion laboratory/On Call scientist when sending these sample to the laboratory.

### Crossmatch Request

In addition to the information required under Section 14.2 ‘Specimen Request Form’, please supply the following:

- Relevant clinical information, antenatal history, blood transfusion history, transfusion reaction etc., patient diagnosis (special conditions require special blood - example sickle cell disease requires special antigen negative blood).

- If specific blood components/products are required i.e. CMV negative, irradiated, this should be requested.

- The specific surgery or reason for a transfusion request should be indicated.

- A clear indication as to whether the tests/components/products requested are urgent or routine.  All urgent requests must be made by contacting the Blood Transfusion department during routine hours or the medical scientist On Call at all other times. Where a verbal request is made it must be followed up by a written/printed request form.

- For paediatric/neonatal crossmatch requests, a valid maternal sample taken within 72hours of delivery must be available.

- A current valid inpatient Type & Screen sample is required for adult red cell requests. This is one that is collected within 72 hours of the transfusion event being completed. A formal exception to this rule exists for Placenta Praevia and Accreta patients, providing they do not have any alloantibodies.

- It is recommended that a second sample should be taken for the confirmation of the ABO group of a first time patient prior to transfusion, where this does not impede the delivery of urgent red cells or other components. However, it is important that the two samples are taken independently of one another. This recommendation is an important step in mitigating the risks associated with Wrong Blood in Tube (WBIT).

### Blood Transfusion Laboratory Services at the National Maternity Hospital to Support Termination of Pregnancy Services

The Blood Transfusion laboratory will accept samples for Blood Group and RhD status from GPs and community based services like the Irish Family Planning Association for women within the NMH catchment area (South Dublin, Wicklow and Kildare) who are seeking abortion. The purpose of this blood group is to identify women who are RhD Negative and who will require prophylactic Anti-D Ig as part of her abortion treatment. The Blood Bank returns the results of the blood group via encrypted email. GPs must register with the department and provide their registration number and health mail email account. Details on sample acceptance requirements are issued to each GP along with information on Anti-D Ig for this patient cohort.

If the patient is RhD Negative, Anti-D Ig prophylaxis is recommended following therapeutic termination of pregnancy after 10 weeks’ gestation to prevent sensitisation and to safeguard any further pregnancy. This Anti-D Ig may be given post administration of the first tablet and should be given no later than 72 hours post ingestion of the second tablet. Service users should contact the Annex Clinic at the NMH to arrange for Anti-D Ig administration for their patients.

### Routine Antenatal Anti-D Prophylaxis (RAADP) at the NMH

A RAADP service at approximately 28 weeks’ gestation is offered to all RhD Negative mothers at the NMH in an effort to reduce sensitisation and the production of immune Anti-D. However, approximately 40% of pregnant RhD Negative women will carry a RhD Negative foetus that poses no risk of sensitisation to the mother. This results in these women receiving at least one dose of Anti-D Ig unnecessarily, which has ethical and cost implications. To avoid this, the NMH, via the Irish Blood Transfusion Service (IBTS), offers all known RhD Negative mothers cell free foetal DNA (cffDNA) analysis from their maternal blood sample in order to determine the RhD gene (RHD) status of the foetus. This allows a targeted RAADP and Anti-D Ig prophylaxis approach to the antenatal care of RhD negative women at the NMH.

## Maximum Blood Order Schedule

A maximum blood order schedule is in effect. Please refer to PP-CS-BT-1, Maximum Blood Ordering Schedule, for details. The Blood Bank must be informed when a patient with known immune antibodies is admitted to allow appropriate time to source suitable blood products for the patient.

## Massive Haemorrhage Pathway

Please refer to PP-CS-PN-15, Massive Haemorrhage in Obstetrics, and CG-GYN-INPAT-18, Blood Transfusion Management of Major Haemorrhage in Gynaecology.

## Urgent Blood Product Requests

Urgent blood product requests, e.g. the request for ‘Pack 1’, can be made verbally. All blood product requests can be sent to the laboratory retrospectively either via request forms or MN-CMS printed requisitions.

## Investigation Following Suspected Transfusion Reaction

If a transfusion reaction is suspected, the unit being transfused (with giving set attached) at the time of reaction along with any/all units transfused prior should be returned to the Blood transfusion laboratory (not just the unit being transfused at the time) with the relevant specimens and completed transfusion reaction form. Two copies of the NMH Transfusion Reaction Form should be printed from MN-CMS and sent to the laboratory. In the event MN-CMS is down, a hardcopy is available on Q-Pulse, RF-CS-HV-1, Suspected Transfusion Reaction Form. Blood product packs should be stored at room temperature while awaiting investigation.

| Transfusion Reaction Investigation Test/Profiles | Container (Vol) | Special Requirements Take all samples post suspected Transfusion reaction. | Accreditation Status |
| --- | --- | --- | --- |
| Type/Screen or Inpatient Group and Antibodies | 9ml EDTA | Specimens must be correctly labelled with hospital Number, patient name and date of birth. Include signature of collector if ordered manually | Accredited |
| FBC | EDTA 5ml |  | Accredited |
| COAG | Citrate 3.0ml |  | Accredited |
| UE, LFT’s, LDH | Lithium Heparin4ml |  | Accredited |
| Haptoglobins | Plain 7ml |  | Accredited |
| MSU | MSU Jar | 1st voided urine | Accredited |
| Blood Cultures Adult | BacT Alert aerobic and anaerobic vials |  | Accredited |
| Blood Cultures Baby | BacT Alert Paeds vial |  | Accredited |
| All Blood Packs including giving sets (used and unused) |  | All Blood Packs and Giving Sets are sent to The IBTS for culture | Referred Test |

Figure 26: Suspected Transfusion Reaction Specimen Types

## Reference Ranges and Critical Alert Ranges

- The results are abnormal or unexpected.

- The result deviates significantly from previous results.

- Grouping discordance.

Ref: LP-GEN-TELREP/PP-CS-LM-4

Critical Alerts in Blood Transfusion that require telephoning to the clinical area

Anti-D Quantitation

A woman who has an Anti-D Quantitation > 4 IU/ml or has a rising Anti-D level or has a history of HDFN in a previous pregnancy should be referred to a Fetal Medicine Consultant Obstetrician in the Fetal Assessment Unit of NMH. Phone FAU midwife with the result on 086-0285343 immediately. If contact cannot be made via the mobile leave a message and then attempt to phone 6373217/3218 with the result.

Anti-c Quantitation

A woman who has an Anti-c Quantitation > 7.5 IU/ml or has a rising Anti-c level or has a history of HDFN in a previous pregnancy should be referred to a Fetal Medicine Consultant Obstetrician in the Fetal Assessment Unit of NM. Phone FAU midwife with the result on 086-0285343 immediately. If contact cannot be made via the mobile leave a message and then attempt to phone 6373217/3218 with the result.

All other Clinically Significant Red Cell Antibodies

A woman who has an antibody titre 32 or has a history of HDFN in a previous pregnancy should be referred to a Fetal Medicine Consultant Obstetrician in the Fetal Assessment Unit of NMH. Phone FAU midwife with the result on 086-0285343 immediately. If contact cannot be made via the mobile leave a message and then attempt to phone 6373217/3218 with the result.

Identification of New Antibodies at Delivery or Prior to Surgical Procedure (Gynae)

If a new antibody is discovered at delivery or prior to surgical procedure, the clinical area must be contacted immediately and informed that blood transfusion support has the potential to be compromised due to the presence of an antibody. Cord bloods for Group/DAT/FBC/SBR must also be requested from the clinical area at delivery in this instance as the neonate may be at risk of HDFN.

Weak RhD Blood Group

If a patient’s RhD status is weak and needs to be sent to the IBTS for confirmation, the decision to issue Anti-D immunoglobulin, red cells or platelets needs to be brought to the attention of the requesting clinician immediately.

Direct Coombs Test

The DCT result must be phoned when: - DCT >2+ - The DCT is Positive (any grade) where no history of Anti-D Immunoglobulin was given in this pregnancy - The DCT is Positive (any grade) where ABO incompatibility is a possible cause - The DCT is Positive (any grade) where an immune antibody is the possible cause.

Blood & Blood Products

The availability of Blood or Blood Products is phoned in all urgent situations. These include: - Code Red Activation (Obstetric or Gynaecology) - Availability of Anti-D Ig in the event of a Kleihauer result > 12 mls FMH requiring additional doses of Anti-D. - Availability of Anti-D Ig in the event of a PSE approaching 72hours post event. - Uncollected Anti-D Ig in issue fridge approaching 48 hours post issue.

Note: Where a result is critically abnormal and contact cannot be made with the clinical area it is important that a clinical team be contacted. These results may have implications for the immediate treatment of the patient and/or may indicate a life-threatening situation. Please refer to LP-GENTELREP for the procedure to follow in this instance.

## Collection/Delivery of Blood, Components and Blood Products

All movement of blood and platelets is monitored by Blood Track, please refer to the procedure PP-CS-HV-11 for further details.

Three emergency O RhD Negative units for adult use and one emergency O RhD Negative unit for neonatal use are available from the theatre blood fridge.

Note that the neonatal red cell unit in theatre is <8 days old and not suitable for exchange transfusion.

## Intra Uterine Transfusion

Intrauterine transfusion (IUT) of donor red cells is the primary treatment for significant foetal anaemia in pre-term pregnancies where delivery is not appropriate. The process requires excellent communication between the Blood Bank and the Fetal Assessment Unit (FAU). The foetal anaemia can be the result of maternal red cell alloantibodies causing HDFN or, more rarely, foetal anaemia due to Parvovirus B19 infection. An IUT of platelets is also available when there is foetal alloimmune thrombocytopenia.

Following the request for the first IUT from the FAU, the Irish Blood Transfusion Service (IBTS) will perform an extended phenotype on the most recent sample from the mother to include Fya, Fyb, Jka, S and s types and where time allows source donors to match the patients extended phenotype as far as possible. Once an IUT date has been scheduled, the patient must present to the FAU to have two 9ml EDTA inpatient Group and Antibody (Type and Screen) samples collected. The timing of this sample collection must be discussed between the FAU and the Blood Bank. The samples are required for crossmatching and referral to the IBTS and must be collected no sooner than 72 hours prior to the transfusion event.

At the first IUT it is important to always do a foetal Group and DCT and a foetal FBC using a pre-transfusion sample. Depending on the clinical picture, other pre-transfusion samples may be taken for Cytogenetics, Parvovirus or a TORCH screen. It is the responsibility of the attending clinician to request these. At subsequent IUTs, the only pre-transfusion foetal sample collected is an FBC. The sample requirements for the above tests are as follows:

- Group and SCT – 3ml EDTA

- FBC – 1.3ml EDTA

- Cytogenetics - 1.3 ml Lithium Heparin

- Parvovirus - 1.3 ml Serum

- Torch Screen - 1.3 ml Serum

At all IUTs, the clinician will take numerous foetal 1.3ml EDTA FBC samples for the estimation of foetal haemoglobin using a point of care testing device. The results of this testing will guide the required transfusion volume. A Kleihauer test on the mother may be required on post-transfusion samples after multiple IUT’s. In the case of first time platelet IUTs for foetal alloimmune thrombocytopenia, a sample may also need to be further referred to the IBTS HLA laboratory for platelet genotype as per the Consultant Haematologist.

# Haemovigilance

The definition of Haemovigilance is “A set of organised surveillance procedures relating to serious adverse or unexpected events or reactions in donors or recipients and the epidemiological follow-up of donors (EC Directive 2002/98/EC)”. At hospital level, the main objectives of the Haemovigilance system are:

- To ensure the safety of the transfusion system.

- Educate staff in best transfusion practice.

- Show that problems are recognized and effectively managed.

- Ensure compliance with legal requirements,

- Improve public confidence in the safety of blood and blood components.

Misidentification at blood sampling may lead to fatal ABO-incompatible blood transfusion, especially if the patient has not previously had their blood group documented in the laboratory system. The error will not be picked up.

Great care must be taken to ensure that the patient record open in MN-CMS is that of the patient requiring the sample collection, especially noting that there may be two patients with the same name and date of birth. The unique patient hospital number (MRN) on the patient identification band must be checked against the MRN on the banner bar of the record open for all inpatient sampling.

For outpatient blood sampling clinical staff must ensure that positive identification of the patient has been undertaken prior to sampling. Again ensure that the record open in MN-CMS is that of the out-patient requiring the blood sample collection. Noting that there may be two patients with the same name and date of birth.

Inadequately or mislabelled samples carry a significantly increased risk of containing blood from the wrong patient. Risk of misidentification may be reduced by staff adhering to the following principals below:

- Patients must be positively identified (see Sections 15.1-15.2) and their details must match those on the request form for all sampling (manual or electronic forms).

- All inpatients must wear an identity band.

- In the event of an ID band being removed from a patient, it is the responsibility of the clinician (nurse/midwife/doctor) removing the ID band to replace it.

- Collection of the sample and labelling of the sample tubes must be performed as one uninterrupted process involving one member of staff and one patient at the patient bedside.

- Sample labels must not be printed away from the patient bedside when using the MN-CMS system for sample collection/labelling.

- Sample tubes must never be pre-labelled.

- If MN-CMS is down or not available, the sample tube label must be handwritten with the minimum patient identifiers by the sample collector (identifiers exactly matching those on the identity band worn by the patient) at the patient bedside. The date and time of sampling and the identity of person taking the sample must also be recorded on the sample tube. The request form must have identical identifiers. See Section 4.6 for specimen labelling in the event of MN-CMS printer failure.

- Labels printed away from the patient (e.g. addressograph labels) must not be used on the transfusion sample but printed addressograph labels are acceptable on the manual request form only if available.

- All handwritten details must be legible.

- For samples ordered and collected using the MNCMS, follow procedures outlined in this document, see Section 4.3 Specimen Collection MN-CMS.  Verification of the match between the patient and the computer record and printing of the sample label must be performed at the bedside at the time of phlebotomy. Samples must be labelled at the bedside using the correct printed label after PPID (e.g. FBC label on FBC sample tube).

- Prior to taking a blood specimen from a patient the following actions should be undertaken:

- Inform patient of reason for collection of specimen, and any follow up/results of same.

- Observe hospital policy.

- Observe hospital phlebotomy (preparation of patient), and health and safety guidelines.

- The blood sample should not be obtained from an arm being used for the infusion of intravenous fluids because these may alter the blood specimen and invalidate the crossmatch.

- Observe infection control procedures.

- Give the patient any relevant printed information leaflets and record this in patients’ medical chart (e.g. Rhesus Negative leaflet, Blood Transfusion Information leaflet).

- BSH guidelines recommend that laboratories have a ‘zero tolerance’ policy for rejecting samples that do not meet the above minimum requirements.

## Patient Identification

A patient identification band must be worn by all in patients at time of sampling and receiving a blood transfusion. The patient is instructed not to remove the identification band because it is also required for pre-transfusion bedside checking. To ensure accuracy and legibility, the ID band should be printed, from the hospital’s computerised patient administration system. The minimum identifiers on the identification band are:

- Last name.

- First name or Baby (also if applicable include Twin 1, Twin 2).

- Date of birth.

- Unique patient hospital number.

## Positive Patient Identification Procedure

Wherever possible, patients for blood sampling or transfusion should be asked to:

- State their full name and date of birth and this must exactly match the information on the identification band worn by the patient. Check spellings are correct.

- Patients who cannot confirm their identity are at particular risk.

- Great care must be taken in identifying neonates (twins/triplets) and unconscious or anaesthetized patients who cannot aid in the identification process. Identification discrepancies at any stage of the transfusion process must be investigated and resolved before moving to the next stage.

- If not using MN-CMS, all in-patient samples MUST be hand labelled from patient identification armband after performing PPID at the bedside for Blood Transfusion department (e.g.  crossmatch sample, Group and Antibodies) applicable to obstetric, neonatal and gynaecology patients, or labelled with printed labels from MN-CMS if available after performing PPID and scanning the patient barcoded ID band at the patient bedside.

- Please note in all cases when using printed labels from MN-CMS, verification of the match between the patient and the computer record and printing of the sample label must be performed at the bedside at the time of phlebotomy - Is this the RIGHT PATIENT? This verification is applicable to both inpatient and outpatient settings. EACH label printed using MN-CMS must be checked before applying to the sample tube to avoid wrong blood in tube (WBIT).

- If not using MN-CMS before sending a sample to laboratory, check that the identifiers on patient identification armband, sample tube and manual form or printed order form from MN-CMS are identical. Great care must be taken when recording the date of birth and hospital number to avoid transcription errors which will lead to rejection of sample and a repeat been requested.

- See PP-CS-HV-16 for blood transfusion sample phlebotomy in Covid-19 patient clinical areas.

- Complete all sections of request form - include gestation, reason for request, previous doses of Anti-D Ig, date and time of sensitizing event, surgical procedure, etc.

## General Haemovigilance Issues

### Traceability (Legal Requirement)

A traceability tag is attached to each blood component (red cells, plasma and platelets) issued. The administrator of the product must sign the bottom half of the tag with date and time and return the tag to the Blood Transfusion department. In cases where the emergency group O RhD Negative uncrossmatched blood is used, complete the patient identifiers on the traceability label. Traceability of all blood is a mandatory requirement and failure to comply with the traceability system will result in a non-conformance being generated and investigated to close out. See the Blood Transfusion Administration Guideline, PP-CS-HV-7, for the records required in patient chart.

### Notification of Serious Adverse Events and Reactions (SAR and SAE)

Any serious adverse events (accidents and errors) related to the collection, testing, processing, storage and distribution of blood and blood components which may have an influence on their quality and safety, as well as any serious adverse reactions observed during or after transfusion which may be attributed to the quality and the safety of blood and blood components must be notified to the competent authority. See Mandatory Reporting of SAR/SAE/IBCT/Non Mandatory in PP-CS-HV-5, and the Blood Transfusion Administration Guideline, PP-CS-HV-7, available in Q-Pulse.

### Following Suspected Transfusion Reaction

In cases of suspected transfusion reaction, retain and send all used blood packs (in that transfusion episode) with the administration set attached, sealed with a sterile cap to prevent spillage in a sealed bag to the Blood Transfusion laboratory with the necessary samples and suspected transfusion reaction report form completed by the clinician reviewing the patient at the time of the reaction. A Suspected Transfusion Reaction investigation can be ordered in MN-CMS as an adult or infant care set as applicable. Two copies of the NMH Transfusion Reaction Form should be printed from MN-CMS and sent to the laboratory. In the event MN-CMS is down, a hardcopy is available on Q-Pulse, RF-CS-HV-1 Suspected Transfusion Reaction Form. All adverse reactions must be reported as per pertinent Haemovigilance policy. Refer to the Management and Investigation of Adverse Transfusion Reactions, PP-CS- HV-2, available in Q-Pulse.

# Haematology

## Haematology Tests

Correct filling of Sodium Citrate (Coagulation) tubes is essential. See Figure 11 for routine cut off times. Urgent samples will be processed ASAP as per LP-GEN-SPECREC. All Haematology samples are stored at room temperature.

See SI-NOT-GEN1 and SI-NOT-GEN2 for Order of Draw charts on Q-Pulse

Figure 27: Routine Haematology Tests

| Test/Profile | Adult: Cap Additive (Vol) | Paediatric: Cap Additive (Vol) | Frequency of Testing/ Turnaround Times | Special Requirements | Accreditation Status |
| --- | --- | --- | --- | --- | --- |
| Full Blood Count | EDTA 3.0ml | EDTA 1.3ml | Routine: Same day Urgent (MHP): 15 minutes | Clotted specimens cannot be processed. Send within 24 hours of phlebotomy - No FBC samples are processed after 24 hours of phlebotomy. | Accredited |
| Manual Differential | EDTA 3.0ml | EDTA 1.3ml | Mon – Fri only: Same day if received before 13:00.Saturday before 11:00. | Clotted specimens cannot be processed | Accredited |
| Coagulation | Sodium Citrate 3.0ml | Sodium Citrate 1.3ml | Routine: Same day Urgent (Haemorrhage): 30 minutes | Send within 4hrs. Correct volume essential Relevant clinical details must be provided. Paeds with HCT >0.60 require citrate adjusted specimen tube (contact Haematology lab). | Accredited |
| D-dimer | Sodium Citrate 3.0ml | Sodium Citrate 1.3ml | Same day | Send immediately Correct volume essential. D-dimers on antenatal women available on Consultant request only. | Accredited |
| Antiphospholipid Screen / Lupus Screen | Sodium Citrate 3.0ml | NA | 2 Weeks | Send within 4hrs. Correct volume essential Relevant clinical details must be provided. | Accredited |
| Kleihauer | EDTA 3.0ml |  | Mon – Fri only: Same day if received before 13:00. Kleihauer samples are refrigerated and disposed of after 7 days. | NB: All specimens for Kleihauer testing must be hand written unless ordered via MN-CMS. Only patients >20 weeks’ gestation Relevant clinical details must be provided. Kleihauer samples should be taken > 20 minutes post delivery | Accredited |
| Sickle Screen | EDTA 3.0ml |  | Same day |  | Accredited |
| Infectious Mononucleosis | EDTA 3.0ml |  | Same day | Can be requested by laboratory in response to WBC results | Accredited |
| Malaria | EDTA 3.0ml |  | 2 hrs for RDT Mon – Fri only. 5 hrs for Blood films (referred to SJH or SVUH for review). | Blood films to be made less than 3 hours after the blood was drawn. Blood films are referred to SVUH on the direction of the Consultant Microbiologist | Not Accredited |

Referral Coagulation Samples

All referral coagulation samples out of hours must be ordered on a clinician to clinician basis. When this is confirmed, the medical scientist on call must contact the medical scientist in the referral laboratory to inform them that the samples are on the way.  The samples must reach the destination lab with 4 hours of phlebotomy.

Platelet Counts and Covid Vaccinations

Ref: EXT-CS-HAE-175. Recently there has been specific concern around people post vaccination where they may have a platelet consuming condition which may lead to clots which may be fatal.  Therefore, particular attention needs to be paid to low platelet counts.

Haematology Report Comment for Fibrinogen

Please refer to the current literature for trimester specific ranges. Please note the difference in Fibrinogen levels in pregnant vs. non-pregnant patients:

- 1.5 – 4.0 g/l: Non-Pregnant

- 4.0 – 6.5 g/l: Pregnant

## Stability of Routine Haematology Tests

The following tests need to be processed within the stated timeframes.

Figure 28: Stability of Routine Haematology Samples

| Test/Profile | Sample Stability |
| --- | --- |
| FBC | Within 24 hours of phlebotomy |
| Coagulation/D-dimer Samples | Within 4 hours of phlebotomy |
| Lupus Screen | Within 4 hours of phlebotomy |
| Kleihauer Requests | Within 48 hours of phlebotomy |
| Sickle Screen | Within 48 hours of phlebotomy |
| Infectious Mononucleosis | Within 48 hours of phlebotomy |
| Malaria Screen | Within 3 hours of phlebotomy |

Figure 29: Additional Haematology Investigations

These are referred to external agencies. Turnaround times reflect specialist nature and referral laboratory response time

| Test Investigation | Test Code | Container Type | Turnaround Time | Referral Laboratory | Comment |
| --- | --- | --- | --- | --- | --- |
| Anaemia Screen ADULT\Adolescent Includes: Serum Iron, Serum Transferrin, TIBC (calculated), and % Iron Binding Saturation, B12 and Folate. | ANE | 1 x 4ml Lithium Heparin | 10 days | St. Vincent’s Biochemistry | Send on same day as received. If this is not possible the sample needs to be spun down and plasma removed from the cells. A vial is labelled with the patients’ hospital number, patient’s name, D.O.B., small lab number sticker and today’s date and stored in the fridge until sent. |
| ADAMTS13 | ADAM | Contact Consultant Haematologist for advice on ADAMTS13 Testing | Contact Consultant Haematologist for advice on ADAMTS13 Testing | Contact Consultant Haematologist for advice on ADAMTS13 Testing | Contact Consultant Haematologist for advice on ADAMTS13 Testing |
| Anti Cardiolipin Antibodies | ACAV | 1 x 7ml plain | 10 days | St. Vincent’s Immunology | Assay includes IgG and IgM antibodies. |
| Anti-CCP (Anti-Cyclic Citrullinated Peptides) | CCPV | 1 x 7ml plain | 14 days | St. Vincent’s Immunology | CCP antibody appears to be more specific (approx 90%) for Rheumatoid Arthritis than Rheumatoid factor. |
| Anti-dsDNA | DDNA | 1 x 7ml plain | 10 days | St. Vincent’s Immunology | Performed when ANA is positive with a titre of 1:800 or greater. Strongly positive anti-dsDNA is suggestive of SLE. |
| Anti-Neutrophil Cytoplasmic Antibody | ANCV | 1 x 7ml plain | 14 days | St. Vincent’s Immunology | This test is available on an urgent basis by arrangement with the laboratory. |
| Anti-Nuclear Antibodies | ANA | 1 x 7ml plain | 7 days | St. Vincent’s Immunology | Samples are screened at 1/80 dilution. Staining pattern and titre are reported on positive samples. |
| Antiphospholipid Screen/ Lupus Screen Includes: Lupus Anticoagulant (To be referred only in the event of an analyser failure/confirmation required) Anti Cardiolipin Antibodies Beta-2-Glycoprotein | LASV | 2 x 3ml Sodium Citrate | 15 days 7 days 7 days | St. Vincent’s Coagulation Laboratory St. Vincent’s Immunology St. James’s immunology | SEND STRAIGHT AWAY Ensure coagulation samples are sufficiently filled. The screen must arrive into the lab before 3pm as it will not be processed in St Vincent’s if it arrives in the Coagulation lab after 4pm. Sodium Citrate samples must be processed within 4 hours of collection. It may be required to phone for an urgent courier to collect sample in order for them to be processed in time. |
|  | ACAV | 1 x 7ml plain |  |  |  |
|  | B2GP | 1 x 7ml plain |  |  |  |
| Auto Antibody Screen Includes: Smooth Muscle Antibody (SMA)/ Parietal Cell Antibody/ Mitochondrial Antibody/ Liver Kidney Microsomal Antibody (Anti-LKM) | AAS | 1 x 7ml plain | 30 Days | St. Vincent’s Immunology | Order AAS for any one antibody requested. When ANA is positive 1:800 or greater, an anti-ENA screen is performed. When positive, sample is further tested for antibodies to the individual antigens. |
| Anti Thrombin | ATSV | 1 x 3ml Sodium Citrate | 4-6 weeks | St. Vincent’s Coagulation Laboratory | SEND STRAIGHT AWAY Tests done in batches unless requested urgently. |
| ##### Anti Thrombin URGENT | ATJ | 1 x 3ml Sodium Citrate |  | NCHCD St. James’s Hospital | SEND STRAIGHT AWAY The Coagulation Lab NCHCD James’s Hospital must receive the samples by 4pm Mon-Fri. |
| ##### Anti-Xa ##### (Heparin Assay, Anti Factor Xa Assay) | XAJ | 2 x 3ml Sodium Citrate | 7 days | NCHCD St James’s Hosptial | SEND STRAIGHT AWAY The Coagulation Lab NCHCD James’s Hospital must receive the samples by 4pm Mon-Fri. The type of heparin treatment must be specified in the clinical details. |
| APCR + FV Def. Plasma (Activated Protein C Resistance + Factor V Leiden) | APCJ | 2 x 3ml Sodium Citrate | 8 weeks | NCHCD St James’s Hospital | SEND STRAIGHT AWAY The Coagulation Lab NCHCD James’s Hospital must receive the samples by 4pm Mon-Fri. |
| BCR-ABL Mutation (p190/p210) | BCR | 1 x 9ml EDTA | 10-15 days | St. James’s Cancer Molecular Diagnostics | Consultant Haematologist approval required. Samples should arrive in St. James’s Cancer Molecular Diagnostics laboratory as soon as possible post collection and within 24 hours of sampling. Available Mon - Fri 9.30am – 5pm. Samples should be refrigerated until dispatched. St. James’s Cancer Molecular Diagnostics Request form must be received with samples. Available on Q-Pulse as EXT-CS-HAE-190. |
| Beta 2 Glycoprotein 1 Antibodies (IgG) | B2GP | 1 x 7ml plain | 7 days | St. James’s Immunology | Tests done in batches unless required urgently. This test is always performed in conjunction Anti-Cardiolipin IgG antibody. Anti-β2-Glycoprotein-1 antibodies are more specific for anti-phospholipid syndrome than Anti-Cardiolipin antibodies. |
| Blood Film Review ADULT | MDH | Film is made using a glass slide and EDTA sample received. A second film is made from the EDTA sample to retain in NMH | Available in 2 hours if Urgent or 4 hours if Routine. Hard Copy Report 10 Days | St. Vincent’s Haematology | During the routine day or out of hours: Adult films are referred to St. Vincent’s Hospital at the request of a clinician/consultant or by a medical scientist for review and/or confirmation of blood film morphology. Slides are stained as per PP-CS-HAE-17. They are packed into a slide holder to be sent. |
| Blood Film Review (PAED) | MDC | Glass slide - as above. A second film is made from the EDTA sample to retain in NMH | Available in 2 hours if Urgent or 4 hours if Routine. Hard Copy Report 10 Days | Children’s Health Ireland at Crumlin Haematology | As above. |
| Coeliac Screen OR Tissue Transglutaminase Antibody (Anti-tTG) (included in a Coeliac Screen) | COES | 1 x 7 ml plain | 14 days | St. Vincent’s Microbiology | Referred to Immunology Dept, St. James's Hospital. Anti-tTG antibodies are strongly associated with Coeliac disease. An anti-EMA test will follow all positive tests. |
| Complement (Total C3 + Total C4) | COMP | 1 x 3 ml EDTA OR | 10 days | St. Vincent’s Biochemistry |  |
|  |  | 1 x 7 ml plain |  |  |  |
| D-Dimers ADULT (In event of analyser failure) | DDIV | 1 x 3ml Sodium Citrate ADULT | Available in 2 hours if Urgent or 4 hours if Routine. Hard Copy Report 10 Days | St. Vincent’s Coagulation Laboratory | D-Dimers are processed in Haematology NMH but in the case that the samples must be referred out i.e Failure – Send straight away. D-Dimers must be processed within 4 hours of collection. Contact St. Vincent’s Coagulation laboratory before sending. D-Dimer requests on antenatal women available on consultant request only. Can send Paediatric samples to SVUH if required. |
|  |  | 2 x 1.3ml Sodium Citrate PAED |  |  |  |
| D-Dimers (PAED) (In event of analyser failure) | DDIC | 1 x 1.3ml Sodium Citrate | Performed Urgently | Children’s Health Ireland at Crumlin Haematology | SEND STRAIGHT AWAY Phone before sending. |
| ENA Screen (Rheumatoid Investigation) Includes: Anti La/ Anti Ro/ Anti RNP/ Anti SM/ Anti Scl-70/ Anti JO Antibodies | ENAS | 1 x 7ml plain | 30 days | St. Vincent’s Immunology | When ANA is positive 1:800 or greater, an anti-ENA screen is performed. When anti-ENA screen is positive, further tests for antibodies to individual antigens are performed. |
| Endomysial Antibodies (IgA) (Part of Coeliac Screen) | EMA | 1 x 7ml plain | 14 days | St. Vincent’s Immunology | Assay only performed if anti-tTG is positive. Anti-EMA antibodies are highly specific for Coeliac disease. |
| EMA Screen (Membrane Screen, Osmotic Fragility, Spherocytosis) | EHS | 1 x 3ml EDTA | Available in 2-4 Hours if Urgent Hard copy report 10 days | St. James’s Haematology | Fresh EDTA anti-coagulated blood required (analysis must be within 24hours of collection). FBC and blood film required. Phone ahead when sending test. |
| Erythropoietin (EpO) | EPOJ | 1 x 7ml plain | 7 days | St. James’s Haematology | Fresh sample required. Available during routine hours (Mon-Fri). Urgent Analysis on Request. |
| Erythrocyte sedimentation rate ADULT | ESRV | 1 x 3ml EDTA | Available in 4 hours Hard Copy Report 10 Days | St Vincent’s Hospital | Please refer to Measuring Erythrocyte Sedimentation Rate Guidance advice note from the Laboratory Reform Programme for guidance on ESR testing - document number EXT-CS-HAE-146 |
| Erythrocyte sedimentation rate PAED | ESRT | 1 x 3ml EDTA | 3 hrs for samples received within routine hours. 24 hrs for samples outside of routine hours Hard Copy Report 10 Days | Children’s Health Ireland at Temple St. |  |
| Factor Assays ADULT Includes: Factor V Factor VII Factor VIII (Chromogenic Assay) Factor IX Factor XI Factor XII | FVJ F7J F8J F9J F11J F12J | All adult factor assays require 2 x 3ml Sodium Citrate | 10 days | NCHCD St. James’s Hospital | SEND STRAIGHT AWAY Samples must be received in NCHCD by 4pm Monday – Friday. If factor assays are received OOH – refer to RF-CS-HAE-81 for instructions. If patients with a history of coagulation defects are awaiting delivery, clear instructions will be available on RF-CS-HAE-81 which will be on the table in the Haematology laboratory. Under the instruction of the Consultant Haematologist some factor assays may be sent to SVUH instead – Use test code F8V/F9V if so. |
| Factor Assays PAED Includes: Factor VIII Factor IX | F8C F9C | All paediatric factor assays require 1 x 1.3ml Sodium Citrate | 14 days | Children’s Health Ireland at Crumlin Haematology | SEND STRAIGHT AWAY If factor assays are received OOH – refer to RF-CS-HAE-81 for instructions. If patients with a history of coagulation defects are awaiting delivery, clear instructions will be available on RF-CS-HAE-81 which will be on the table in the Haematology laboratory. |
| Factor Five Leiden (Factor V Leiden mutation/ Genetic tests for Thrombophilia) | FVLJ | 2 x 3ml Sodium Citrate (for FVL) | 8 weeks | NCHCD St. James’s Hospital | SEND STRAIGHT AWAY Samples must be received by Coag Lab, NCHCD by 4pm Mon-Fri. Requests for Factor V Leiden must be accompanied by either samples for APCR analysis or an APCR result from an external source. FV Leiden requests must be accompanied by request form EXT-CS-HAE-151 with box ticked to indicate patient consent received. |
|  |  | 1 x 3ml EDTA (for APCR) |  |  |  |
| Factor Five Leiden (Factor V Leiden mutation, Genetic tests for Thrombophilia) | FVLC | 1 x 1.3ml Sodium Citrate | 14 days | Children’s Health Ireland at Crumlin Haematology | Factor V Leiden is not indicated at birth; consult Consultant Haematologist if requested. SEND STRAIGHT AWAY IF REQUIRED |
| FBC ADULT (In event of analyser failure) | Contact Haematology lab | 1 x 3ml EDTA | Available in 4 hours if Urgent or 24 hours if Routine. Hard Copy Report 10 Days | St. Vincent’s Haematology |  |
| FBC PAED (In event of analyser failure) | Contact Haematology lab | 1 x 1.3ml EDTA | Available in 4 hours if Urgent or 24 hours if Routine. Hard Copy Report 10 Days | Children’s Health Ireland at Crumlin Haematology |  |
| Ferritin (PAED) | FERC | 1 x 1.3ml plain | 7 days | Children’s Health Ireland at Crumlin Haematology | Send on same day as received if possible. If not possible: Monday to Thursday - Store in fridge (2 - 8oc) overnight. Friday to Sunday- The sample needs to be spun down and plasma removed from the cells. A vial is labelled with the patients’ hospital number, patient’s name, D.O.B., small lab number sticker and today’s date. Sample to be stored at -20oc. |
| Flow (for Leukaemia) (Immunophenotyping) | FLOV | 1 x 3ml EDTA | 48 hours (Provisional results) Hard Copy Report 10 Days | St. Vincent’s Haematology | Consult Haematology Medical Team for immunophenotyping requests. Prior arrangement with Haematology lab at St. Vincent’s is essential. |
| Folate | FOLV | 1 x 4ml Lithium Heparin | 10 days | St. Vincent’s Biochemistry | Send on same day as received. If sample is being sent within 24 hours of collection, sample can be sent as whole blood. If this is not possible, the sample needs to be spun down and plasma removed from the cells. A vial is labelled with the patients’ hospital number, patient’s name, D.O.B., small lab number sticker and today’s date and stored in the fridge until sent. |
| Glucose-6-phosphate dehydrogenase deficiency ADULT | G6PD | 2 x 3ml EDTA | 7 days. Urgent: service available (48 hours) by arrangement | St. James’s Haemolytic Laboratory | Available during routine hours (Mon- Fri). |
| Glucose-6-phosphate dehydrogenase deficiency (PAED MALE) | G6PC | 1 x 1.3ml EDTA | 2 – 3 weeks | Children’s Health Ireland at Crumlin Haematology |  |
| Glucose-6-phosphate dehydrogenase deficiency (PAED FEMALE) | Consult Haematology Lab | 1 x 1.3ml EDTA |  | Red Cell Centre Protein Laboratory, Synnovis, King’s College Hospital, London | Sample must be received with the appropriate King’s College Hospital referral form, available in Q-Pulse EXT-CS-HAE-188. |
| Haptoglobin (Serum Hp) | HAPT | 1 x 7ml plain | 10 days | Ferritin | Consult with a Haematologist before taking the sample for Haptoglobin. Available during routine hours (Mon-Fri). Do not measure levels in children < 1 yr old. |
| Haemoglobin S Levels | HBSL | 1 x 3ml EDTA | 14 days | St. James’s Haemolytic Laboratory | Sample must be received before 12:00 with FBC result and 2 unstained slides. |
| Haemoglobinopathy Screen ADULT | HBE | 1 x 7ml plain | 14 days | St. James’s Haemolytic Laboratory | Available during routine hours Mon – Fri. Urgent analysis available on request. Send a copy of the most recent FBC and Ferritin result if available. |
|  |  | 1 x 3ml EDTA (for FBC – not essential) |  |  |  |
| Haemoglobinopathy Screen (PAED) | PHBE | 1 x 1.3ml EDTA | 14 days | Children’s Health Ireland at Crumlin Haematology | Send most recent FBC report (if available) with request. |
| Heparin Induced Thrombocytopenia Screen (HIT Screen) | HIT | 2 x 7ml plain | PF4 Anti IgG Elisa – 3 days Heparin Induced Platelet Aggregation (HIPA) test – 2 days post receipt in referral laboratory Hard copy report 14 days. | NCHCD St. James’s Hospital | 1 Vial of patients Heparin to be included with samples. The Coagulation Lab NCHCD James’s Hospital must receive the samples by 4pm Mon-Fri. Routine hours Mon-Fri or out of hours only by authorisation by Coagulation Consultant. Request form EXT-CS-HAE-152 must accompany all requests. |
| Hereditary Spherocytosis (PAED) | HSSC | 1 x 3ml EDTA | Available in 2-4 Hours Hard copy report 10 days | Children’s Health Ireland at Crumlin Haematology |  |
| HHT Genetic Testing (Hereditary Hemorrhagic Telangiectasia) | HHT | 2x 9ml EDTA or 4 x 3ml EDTA (>10mls EDTA samples required) | 8 weeks | Molecular Genetic Service David Brock Building Western General Hospital Crewe Road South Edinburgh EH42XU Scotland Tel: 0044 1315 371116 | Consultant Haematologist approval required. |
| Homocysteine (Adult) | HCYS | 1 x 3ml EDTA | 10 days | St. Vincent’s Biochemistry | Please send full clinical details. The Homocysteine sample must be centrifuged and plasma removed from the cells. The plasma must be frozen in a 1.8ml appropriately labelled vial. A vial is labelled with the patients’ hospital number, patient’s name, D.O.B., small lab number sticker and today’s date. This sample is sent frozen to the Biochemistry Lab in St Vincent’s once a week. |
| Homocysteine (Paediatric) | HOM* | 1 x 4ml Lithium Heparin | 14 days | Metabolic Department Temple Street Tel: 01 8784724 | Separate and freeze within 15 minutes |
| Intrinsic Factor Screen ADULT (Factor VIII, Factor IX, Factor XI, Factor XII, Factor 8, Factor 9, Factor 11, Factor 12) | IFS | 6 x 3ml Sodium Citrate | 10 days | NCHCD St. James’s Hospital | SEND STRAIGHT AWAY The Coagulation Lab NCHCD James’s Hospital must receive the samples by 4pm Mon-Fri. Routine hours Mon-Fri or out of hours only by authorisation by Coagulation Consultant. |
| Intrinsic Factor Screen (PAED) (Factor VIII, Factor IX, Factor XI, Factor XII, Factor 8, Factor 9, Factor 11, Factor 12) | IFSC | Minimum 7mls required in 1.3ml Sodium Citrate Containers | 14 days | Children’s Health Ireland at Crumlin Haematology | SEND STRAIGHT AWAY Clinical details required. Samples are run in batches. Urgent analysis available on request by Consultant. |
| Intrinsic Factor Antibody | IFAJ | 1 x 7ml plain (Serum sample to be taken >14 days post B12 injection) | 7 days | St. James’s Haematology | Available during routine hours (Mon-Fri). Urgent analysis available on request. IFA testing should be avoided within two weeks of parenteral vitamin B12 or high-dose oral supplementation. |
| Iron Studies ADULT/Adolescent Includes : Serum Iron, Serum Transferrin, TIBC (calculated), % Iron Binding Saturation | FES | 1 x 4ml Lithium Heparin | 10 Days | St. Vincent’s Biochemistry | Send on same day as received. If this is not possible centrifuge and remove serum from red cells. A vial is labelled with the patients’ hospital number, patient’s name, D.O.B., small lab number sticker and today’s date. |
| Iron Studies (PAED) (Neonate) | FESP | 1 x 7ml plain | 7 days | Children’s Health Ireland at Crumlin Haematology | Send on same day as received. If this is not possible centrifuge and remove serum from red cells. A vial is labelled with the patients’ hospital number, patient’s name, D.O.B., small lab number sticker and today’s date. |
| Lymphocyte Subsets ADULT and PAED If associated with immunodeficiency Lymphocyte Subsets Paed | LS LSP | 1 x 3ml EDTA | 10 days | St. James’s Immunology Children’s Health Ireland at Crumlin Haematology | Fresh sample required (<24hrs). Samples must be kept at room temperature until analysis. Cut-off time for receipt of samples in 3pm. The request ‘Lymphocyte Subsets’ only provides T-Cell quantitation. If B-cell and Natural Killer (NK) cell quantitation is required this must be specified on request form. |
|  |  | 1 x 1.3ml EDTA |  |  |  |
| Myeloproliferative Neoplasms Panel Includes: JAK2-V617F, JAK2 exon 12, CALR and MPL mutation analysis. | MPNP CALR JAK2 | 1 x 9ml EDTA | 20 days | St. James’s Cancer Molecular Diagnostics | Consultant Haematologist approval required. Available Mon - Fri 9.30am – 5pm. Samples must be received before 3pm on Fridays. Samples should be sent as soon as possible post collection or if appropriate, refrigerated until dispatch. St. James’s Cancer Molecular Diagnostics Request form must be received with samples. Available in Q-Pulse as EXT-CS-HAE-190. If either Jak2/CALR are requested, a full MPN panel will be processed. |
| Platelet Function Assay (PFA-100 Test) | Contact Haematology Lab | 2 x 3ml Sodium Citrate | 10 days | St Vincent’s Haematology | SEND STRAIGHT AWAY Samples must arrive in Coagulation Laboratory SVUH before 2pm Mon - Fri. Screening test only. |
|  |  | 1 x 3ml EDTA |  |  |  |
| Protein C | PTC | 1 x 3ml Sodium Citrate | 4-6 weeks 6 hours (URGENT) | St. Vincent’s Coagulation Laboratory | SEND STRAIGHT AWAY Tests done in batches as part of the Thrombophilia screen every 4 - 6 weeks, unless requested urgently. |
| Protein S | PS | 1 x 3ml Sodium Citrate | 4-6 weeks | St. Vincent’s Coagulation Laboratory | SEND STRAIGHT AWAY Test done in batches as part of the Thrombophilia screen every 4-6 weeks. |
| Prothrombin Mutation (PTGA, G20210A, Genetic testing for Thrombophilia) | PMUT | 1 x 3ml EDTA | 8 weeks | NCHCD St. James’s Hospital | Samples can be refrigerated and sent with routine couriers within 5 days of phlebotomy. Available during routine hours (Mon-Fri). PMUT requests must be accompanied by request form EXT-CS-HAE-151 with box ticked to indicate patient consent received. |
| Pyruvate Kinase (PK Screen) | PKA | 2 x 3ml EDTA | 7 days | KCH | Chris Lambert Red Cell Centre , Dept. Haematology King’s College Hospital 00442032993576 Sent from Specimen reception Include a copy of FBC and Reticulocyte count and blood film interpretation (if applicable). |
| Red Cell Folate | RCFJ | 1 x 3ml EDTA | Available in 48 hours Hard copy report 10 days | St. James’s Nutrition Laboratory | Fresh sample required. Available during routine hours (Mon-Fri). |
|  |  | 1 x 7ml plain |  |  |  |
| Rheumatoid Factor | RFSV | 1 x 7ml plain | 10 days | St. Vincent’s Immunology |  |
| Thrombophilia Screen ADULT TPSL Includes: Protein C, Protein S, Anti-Thrombin, Activated Protein C Resistance, Fibrinogen, Lupus Screen, Factor VIII | TPSL ACAV B2GP HCYS PMUT | 5 x 3ml Sodium Citrate | 4-6 weeks | St. Vincent’s Coagulation Laboratory St. Vincent’s Immunology St. James’s Immunology St. Vincent’s Biochemistry NCHCD St. James’s Hospital | SEND STRAIGHT AWAY 5 Sodium Citrate Samples are sufficient for the TPSL. The Thrombophilia screen must be sent straight away. The screen must arrive into the lab before 3pm as it will not be processed in St. Vincent’s if it arrives in the Coagulation lab after 4pm. The Homocysteine (HCYS) sample must be centrifuged and plasma removed from the cells. The plasma must be frozen in a 1.8ml appropriately labelled vial. A vial is labelled with the patient’s hospital number, patient’s name, D.O.B., small lab number sticker and today’s date. This sample is sent frozen to the Biochemistry Lab in St. Vincent’s once a week. The sample is placed into a frozen container provided by Biomnis. The relevant printed referral form and frozen container are then placed into a Styrofoam container and then into a card board box containing the UN3373 label. The boxes are located in Specimen Reception. The labels are stored in the referral folder in the Haematology Dept. The Prothrombin mutation (PMUT) sample is sent to the NCHCD in St. James’s Hospital. This may be the next routine day. Sample can be refrigerated until sent. PMUT requests must be accompanied by request form EXT-CS-HAE-151 with box ticked at the bottom of the form to indicate patient consent received. |
|  |  | 1 x 7ml plain |  |  |  |
|  |  | 1 x 7ml plain |  |  |  |
|  |  | 1 x 3ml EDTA |  |  |  |
|  |  | 1 x 3ml EDTA |  |  |  |
| Thrombophilia Screen (PAED) | TPSC | 6 x 1.3ml Sodium Citrate | 4 Weeks | Children’s Health Ireland at Crumlin Haematology | SEND STRAIGHT AWAY Clinical details required. |
|  |  | 1 x 1.3ml EDTA (can be booked in for PFBC if received) |  |  |  |
| Thrombin Time | TT | 1 x 3ml Sodium Citrate | Available within 4 hours Hard copy 10 Days | St James’s Haematology Laboratory | Can be performed on same sample as coagulation screen. This test is requested only through the coagulation team. |
| Vitamin B12 | B12V | 1 x 4ml Lithium Heparin | 10 days | St. Vincent’s Biochemistry | Please state if patient is receiving exogenous Vitamin B12. Send on same day as received. If sample is being sent within 24 hours of collection, sample can be sent as whole blood. If this is not possible, the sample needs to be spun down and plasma removed from the cells. A vial is labelled with the patients’ hospital number, patient’s name, D.O.B., small lab number sticker and today’s date and stored in the fridge until sent. |
| Von Willebrand Factor ADULT (Von Willebrand Ristocetin Co-Factor) | VWF | 4 x 3ml Sodium Citrate | 14 days | NCHCD St. James’s Hospital | SEND STRAIGHT AWAY The screen must arrive into the lab before 3pm as it will not be processed in St James if it arrives in the lab after 4pm. Available during routine hours (Mon-Fri). |
| Von Willebrand Screen ADULT (>16 years) Includes: Factor VIII:C, VWF Antigen, VWF Ristocetin Co-factor, VWF Collagen Binding. (VWF Multimers and VWF:VIIIB assays available also only in specific circumstances or on request by Coagulation Consultant) | VWS | 4 x 3ml Sodium Citrate | See individual tests for Von Willebrand disease for test specific turn around times 3 weeks (Including Multimers 6 weeks) | NCHCD St. James’s Hospital | SEND STRAIGHT AWAY The screen must arrive into the lab before 3pm as it will not be processed in St James if it arrives in the lab after 4pm. Routine hours Mon-Fri or out of hours only by authorisation by Coagulation Consultant. |
| Von Willebrand Screen (PAED) (<16 years) | VWSC | 3 x 1.3ml Sodium Citrate | 3 – 4 Weeks | Children’s Health Ireland at Crumlin Haematology | SEND STRAIGHT AWAY |

## Blood Films Outside of Routine Hours

- Scientists ‘On Call’ prepare films for review.  They are trained to recognise platelet clumping.  All other urgent film review ‘Out of Hours’ is referred to Consultant Haematologist.

- Paediatric blood films are referred to the Haematology service at Children’s Health Ireland at Crumlin on a Consultant to Consultant request.

- Adult blood films are referred to the Haematology service at St. Vincent's University Hospital on Consultant to Consultant Request.

- In both cases the requesting Consultant discusses the case with the Consultant Haematologist On Call, and the blood films are referred on request to the named Consultant.

## Haematology Reference Ranges

|  | Full Blood Count Reference Ranges (WinPath) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Parameter | Units | M/F | Age | Range | Reference |
| Haemoglobin | g/dl | F/M | D0 - D2 | 13.5 – 19.5 | GOSCH |
|  |  | F/M | D3 - D4 | 14.5 – 22.5 | GOSCH |
|  |  | F/M | D5 - D8 | 13.5 – 21.5 | GOSCH |
|  |  | F/M | D9 - D21 | 12.5 – 20.5 | GOSCH |
|  |  | F/M | D22 - D35 | 10.0 – 18.0 | GOSCH |
|  |  | F/M | D36 - D63 | 9.0 – 14.0 | GOSCH |
|  |  | F/M | D64 - 18M | 10.0 – 13.5 | GOSCH |
|  |  | F/M | 18M - 3Y | 10.5 – 13.5 | GOSCH |
|  |  | F/M | 3Y - 7Y | 11.5 – 14.5 | GOSCH |
|  |  | F/M | 7Y - 13Y | 11.5 – 15.5 | GOSCH |
|  |  | M | 14Y - 19Y | 13.0 – 16.0 | GOSCH |
|  |  | F | Adult | 11.0 – 15.0 | BSH^ |
|  |  | M | Adult | 13.0– 17.0 | SVUH |
| RBC | x10^12/l | F/M | D0 - D2 | 3.9 - 5.3 | GOSCH |
|  |  | F/M | D3 - D4 | 4.0 - 6.6 | GOSCH |
|  |  | F/M | D5 - D8 | 3.9 - 6.3 | GOSCH |
|  |  | F/M | D9 - D21 | 3.6 - 6.2 | GOSCH |
|  |  | F/M | D22 - D35 | 3.0 - 5.4 | GOSCH |
|  |  | F/M | D36 - D63 | 2.7 - 4.9 | GOSCH |
|  |  | F/M | D64 - D98 | 3.1 - 4.5 | GOSCH |
|  |  | F/M | D99 - 3Y | 3.7 - 5.3 | GOSCH |
|  |  | F/M | 3Y - 7Y | 3.9 - 5.3 | GOSCH |
|  |  | F/M | 7Y- 13Y | 4.0 - 5.2 | GOSCH |
|  |  | F/M | 13Y - 19Y | 4.1 - 5.1 | GOSCH |
|  |  | F | Adult | 3.8 - 4.8 | SVUH |
|  |  | M | Adult | 4.5 - 5.3 | SVUH |
| Haematocrit | L/L | F/M | D0 - D1 | 0.42 - 0.6 | GOSCH |
|  |  | F/M | D2 - D4 | 0.45 - 0.67 | GOSCH |
|  |  | F/M | D5 - D8 | 0.42 - 0.66 | GOSCH |
|  |  | F/M | D9 - D21 | 0.39 - 0.63 | GOSCH |
|  |  | F/M | D22 - D35 | 0.31 - 0.55 | GOSCH |
|  |  | F/M | D36 - D49 | 0.34 - 0.4 | GOSCH |
|  |  | F/M | D50 - D63 | 0.28 - 0.42 | GOSCH |
|  |  | F/M | D64 - D98 | 0.29 - 0.41 | GOSCH |
|  |  | F/M | D99 - 3Y | 0.33 - 0.39 | GOSCH |
|  |  | F/M | 3Y - 13Y | 0.35 - 0.45 | GOSCH |
|  |  | F | Adult | 0.33 - 0.47 | BSH^ |
|  |  | M | Adult | 0.4 - 0.5 | SVUH |
| MCV | fl | F/M | D0 - D2 | 98 - 118 | GOSCH |
|  |  | F/M | D3 - D4 | 95 - 121 | GOSCH |
|  |  | F/M | D5 - D8 | 88 - 126 | GOSCH |
|  |  | F/M | D9 - D21 | 86 - 124 | GOSCH |
|  |  | F/M | D22 - D35 | 85 - 123 | GOSCH |
|  |  | F/M | D36 - D63 | 77 - 115 | GOSCH |
|  |  | F/M | D64 - D98 | 74 - 118 | GOSCH |
|  |  | F/M | D99 - 3Y | 70 - 86 | GOSCH |
|  |  | F/M | 3Y - 7Y | 75 - 87 | GOSCH |
|  |  | F/M | 7Y - 13Y | 77 - 94 | GOSCH |
|  |  | F/M | 13Y - 19Y | 78 - 102 | GOSCH |
|  |  | F/M | Adult | 80 - 100 | SVUH |
| MCH | pg | F/M | D0 - D4 | 31 - 37 | GOSCH |
|  |  | F/M | D5 - D35 | 28 - 40 | GOSCH |
|  |  | F/M | D36 - D63 | 26 - 34 | GOSCH |
|  |  | F/M | D64 - D98 | 25 - 35 | GOSCH |
|  |  | F/M | D99 - 3Y | 23 - 31 | GOSCH |
|  |  | F/M | 3Y - 7Y | 24 - 30 | GOSCH |
|  |  | F/M | 7Y - 13Y | 25 - 33 | GOSCH |
|  |  | F/M | 13Y - 19Y | 25 - 35 | GOSCH |
|  |  | F/M | 19Y - Adult | 26 - 34 | GOSCH |
|  |  | F/M | Y7 – Y12 | 25 - 33 | GOSCH |
|  |  | F/M | Y13 – Y18 | 25 - 35 | GOSCH |
|  |  | F/M | Adult | 27 - 32 | SVUH |
| MCHC | g/dl | F/M | D0 – D1 | 30.0 – 33.0 | CHI@Crumlin |
|  |  | F/M | D2 – D13 | 29.0 – 34.0 | CHI@Crumlin |
|  |  | F/M | D14 – D56 | 28.0 – 35.0 | CHI@Crumlin |
|  |  | F/M | D56 – 2Y | 29.0 – 34.0 | CHI@Crumlin |
|  |  | F/M | 2Y – Adult | 30.0 – 33.0 | CHI@Crumlin |
|  |  | F/M | Adult | 30 – 35.5 | CHI@Crumlin |
| RDW | % | F/M | 0Y - Adult | 11.0 - 16.0 | GOSCH |
| White Cells | x10^9/l | F/M | D0 - D7 | 10 - 26 | GOSCH |
|  |  | F/M | D7 - 1Y | 6 - 18 | GOSCH |
|  |  | F/M | 1Y - 8Y | 5 - 15 | GOSCH |
|  |  | F/M | 8Y - 13Y | 4.5 - 13.5 | GOSCH |
|  |  | F | Adult | 3.5 - 14.6 | Lower SVUH Upper-Paper* |
|  |  | M | Adult | 3.5 - 11.0 | SVUH |
| Neutrophils | x10^9/L | F/M | 0Y - 2Y | 1.0 - 8.5 | GOSCH |
|  |  | F/M | 2Y - 6Y | 1.5 - 8.5 | GOSCH |
|  |  | F/M | 6Y - 12Y | 1.5 - 8.0 | GOSCH |
|  |  | F/M | 12Y - 16Y | 1.8 - 8.0 | GOSCH |
|  |  | F | Adult | 2.0 - 11 | Lower SVUH Upper-Paper* |
|  |  | M | Adult | 2.0 - 8.0 | SVUH |
| Lymphocytes | x10^9/L | F/M | Y0 - Y2 | 3.0 - 13.5 | GOSCH |
|  |  | F/M | Y2 - Y6 | 2.0 - 9.5 | GOSCH |
|  |  | F/M | Y6 - Y12 | 1.5 - 7.0 | GOSCH |
|  |  | F/M | Y12 - Y16 | 1.2 - 5.2 | GOSCH |
|  |  | F/M | Adult | 1.0 - 4.0 | SVUH |
| Monocytes | x10^9/l | F/M | 0Y - 6Y | 0.3 - 1.5 | GOSCH |
|  |  | F/M | 6Y - 16Y | 0.1 - 0.8 | GOSCH |
|  |  | F/M | Adult | 0.2 - 1.0 | SVUH |
| Eosinophils | x10^9/l | F/M | 0Y - 2Y | 0.1 - 0.3 | GOSCH |
|  |  | F/M | 2Y - 6Y | 0.3 - 0.8 | GOSCH |
|  |  | F/M | 6Y - 16Y | 0.1 - 0.8 | GOSCH |
|  |  | F/M | Adult | 0 - 0.5 | SVUH |
| Basophils | x10^9/l | F/M | 0Y - 16Y | 0 - 0.2 | GOSCH |
|  |  | F/M | Adult | 0 - 0.2 | SVUH |
| Platelet Count | x10^9/l | F/M | 0Y - Adult | 150 - 450 | GOSCH |
|  |  | F/M | Adult | 150 - 400 | SVUH |
| Reticulocyte Count | x10^9/l | F/M | OD – 1 D | 110 - 450 | CHI@Crumlin |
|  |  | F/M | 2D – 7D | 18 - 80 | CHI@Crumlin |
|  |  | F/M | 8D – 30D | 10 - 65 | CHI@Crumlin |
|  |  | F/M | 31D – 60D | 35 – 200 | CHI@Crumlin |
|  |  | F/M | 61D – 5M | 15 – 110 | CHI@Crumlin |
|  |  | F/M | 5M – 1Y | 30 – 130 | CHI@Crumlin |
|  |  | F/M | 1Y - Adult | 20 - 100 | CHI@Crumlin |
|  |  | F/M | Adult | 16 - 80 | SVUH |

^The default displayed reference range for Hb and HCT is for pregnant patients and is taken from BSH Guidelines on the Management of Iron Deficiency in Pregnancy.

*The default displayed reference ranges for the upper limit for total and differential leucocyte counts percentiles are those for normal pregnancy as per paper by Samuel Lurie 2006 in the European Journal of Obstetrics and Gynaecology.

The non-pregnant upper range is provided in the tables below.

SVUH: St Vincent’s University Hospital

CHI@Crumlin: Children’s Health Ireland at Crumlin

GOSCH: Great Ormond Street Children’s Hospital

The following comments are reported with these tests:

| Test | Comment |
| --- | --- |
| Haemoglobin | Pregnant ref. range is quoted and applies to later gestations (>24 weeks). Anaemia Diagnosis for Haemoglobin: 1st Trimester: <11.0 g/dL, After 12 wks: <10.5g/dL Immediately postpartum: <10.0 g/dL HB Non-pregnant range: 11.5 - 15 g/dl |
| White Cell Count | Pregnant ref. range is quoted and applies to later gestations (>24 weeks). Trimester specific ranges: 1st Trimester: 5.7-13.6, 2nd Trimester: 6.2-14.8 3rd Trimester 5.9-16.9 Non-pregnant range: 4 - 10 |
| Neutrophil Count | Pregnant ref. range is quoted and applies to later gestations (>24 weeks). Trimester specific ranges: 1st Trimester: 3.6-10.1, 2nd Trimester: 3.8-12.3 3rd Trimester 3.9-13.1 Non-pregnant range: 2 - 7 |

| Coagulation Reference Ranges (WinPath) |  |  |  |
| --- | --- | --- | --- |
| Age | APTT (seconds) | Prothrombin Time (seconds) | Fibrinogen (g/L) |
| D1 – D5 | 31.3 – 53.6 | 10.14 – 15.86 | 1.67 – 3.99 |
| D5 – D30 | 25.36 – 59.84 | 9.48 – 15.32 | 1.62 – 4.62 |
| D30 – D90 | 25.56 – 55.24 | 9.3 – 14.3 | 1.62 – 3.78 |
| D90 – D180 | 24.06 – 50.14 | 9.6 – 14.2 | 1.07 – 3.79 |
| D180 – 1Y | 28.08 – 42.92 | 10.72 – 13.86 | 1.15 – 3.87 |
| 1Y – 5Y | 24 - 36 | 10.6 – 11.4 | 1.70 – 4.05 |
| 6Y – 10Y | 26 - 36 | 10.1 – 12.1 | 1.57 – 4.0 |
| 11Y – 16Y | 26 – 37 | 10.2 – 12.0 | 1.54 – 4.48 |
| Adult | 25.1- 36.5 | 9.6 - 12 | 4.0 – 6.5 |
| Adult Non-pregnant |  |  | 1.5 – 4.0 |

References

Paediatric: Paed ranges Day 1-Day180 (Andrew et al, Blood, Vol 70, No. 1 (July), 1987:pp 165-172. Paed ranges Year 1-16 (Andrew et al, Blood, Vol 80, No. 8 (Oct), 1992:pp 1998-2005)

Adult pregnant and non-pregnant Fibrinogen: Abbassi-Ghanavati M, Greer LG, Cunningham FG. Pregnancy and laboratory studies: a reference table for clinicians. Obstet Gynecol. 2009 Dec;114(6):1326-31. PMID:19935037

Adult APTT range: ACL-TOP-550 APTT Reagent Product insert

Published Ranges for Infants, Adults and Pregnant Females (Trimester Specific)

Haematological values for normal infants from birth - 6 months (Practical Haematology, Dacie and Lewis; 10th Edition).

| Parameter | Birth | Day 3 | Day 7 | Day 14 | 1 Month | 2 Months | 3-6 Months |
| --- | --- | --- | --- | --- | --- | --- | --- |
| RBC (x1012/l) | 5 - 7 | 4 - 6.6 | 3.9 - 6.3 | 3.6 - 6.2 | 3.0 - 5.4 | 3.1 - 4.3 | 4.1 - 5.3 |
| Hb (g/dl) | 14 - 22 | 15 - 21 | 13.5 - 21.5 | 12.5 - 20.5 | 11.5 - 16.5 | 9.4 - 13 | 11.1 - 14.1 |
| HCT (l/l) | 0.45 - 0.75 | 0.45 - 0.67 | 0.42 - 0.66 | 0.31 - 0.71 | 0.33 - 0.53 | 0.28 - 0.42 | 0.30 - 0.40 |
| MCV (fl) | 100 - 120 | 92 - 118 | 88 - 126 | 86 - 124 | 92 - 116 | 87 - 103 | 68 - 84 |
| MCH (pg) | 31 - 37 | 31 - 37 | 31 - 37 | 31 - 37 | 30 - 36 | 30 - 36 | 24 - 30 |
| MCHC (g/dl) | 30 - 36 | 30 - 37 | 28 - 38 | 28 - 38 | 29 - 37 | 28.5 - 35.5 | 30 - 36 |
| WBC (x109/l) | 10 - 26 | 7 - 23 | 6 - 22 | 6 - 22 | 5 - 19 | 5 - 15 | 6 - 18 |
| Neutrophils (x109/l) | 4 - 14 | 3 - 5 | 3 - 6 | 3 - 7 | 3 - 9 | 1 - 5 | 1 - 6 |
| Lymphocytes (x109/l) | 3 - 8 | 2 - 8 | 3 - 9 | 3 - 9 | 3 - 16 | 4 - 10 | 4 - 12 |
| Monocytes(x109/l) | 0.5 - 2.0 | 0.5 - 1.0 | 0.1 - 1.7 | 0.1 - 1.7 | 0.3 - 1.0 | 0.4 - 1.2 | 0.2 - 1.2 |
| Eosinophils(x109/l) | 0.1 - 1.0 | 0.1 - 2.0 | 0.1 - 0.8 | 0.1 - 0.9 | 0.2 - 1.0 | 0.1 - 1.0 | 0.1 - 1.0 |
| Basophils*(x109/l) | 0.02 - 0.12 |  |  |  |  |  |  |
| Platelets(x109/l) | 100 - 450 | 210 - 500 | 160 - 500 | 170 - 500 | 200 - 500 | 210 - 650 | 200 - 550 |
| Reticulocytes(x109/l) | 120 - 400 | 50 - 350 | 50 - 100 | 50 - 100 | 20 - 60 | 30 - 50 | 40 - 100 |
| NRBCs*(x109/l) | 0 - 5.4 | 0 - 5.4 | 0 - 5.4 | 0 – 0.1 | 0 - 0.1 | 0.0 | 0.0 |

*Basophil count reference range taken from Blood Cells, A Practical Guide, Barbara J. Bain, 3rd Edition. Range is from 9 days - 1 year

*NRBC count reference range taken from GOSH, London

Haematological Values for Normal Adults (Practical Haematology 10th Edition)

| Parameter | Female | Male |
| --- | --- | --- |
| - RBC (x1012/l) | 3.8-4.8 | 4.5-5.5 |
| Hb (g/dl) | 12-15 | 13-17 |
| HCT (l/l) | 0.36-0.46 | 0.4-0.5 |
| MCV (fl) | 83-101 | 83-101 |
| MCH (pg) | 27-32 | 27-32 |
| MCHC* (g/dl) | 31-37 | 31-37 |
| RDW (CV %) | 11.6-14 | 11.6-14 |
| WBC (x109/l) | 4-10 | 4-10 |
| Neutrophils (x109/l) | 2-7 | 2-7 |
| Lymphocytes (x109/l) | 1-3 | 1-3 |
| Monocytes(x109/l) | 0.2-1.0 | 0.2-1.0 |
| Eosinophils(x109/l) | 0.02-0.5 | 0.02-0.5 |
| Basophils(x109/l) | 0.02-0.1 | 0.02-0.1 |
| Platelets(x109/l) | 150-410 | 150-410 |
| Reticulocytes(x109/l) | 50-100 | 50-100 |
| Reticulocytes(%) | 0.5-2.5 | 0.5-2.5 |
| NRBCs(x109/l) | 0.0 | 0.0 |

*MCHC reference range taken from Blood Principles and Practice of Haematology; Handin, R.I., Lux, S.E., Stossel T.P. 1995.

Haematological Values during Pregnancy

Blood Cells. A Practical Guide Barbara J. Bain; 3rd Edition

| Parameter | First Trimester | Second Trimester | Third Trimester* |
| --- | --- | --- | --- |
| - RBC (x1012/l) | 3.52-4.52 | 3.20-4.41 | 3.10-4.44 |
| Hb (g/dl) | 11.0-14.3 | 10.0-13.7 | 9.8-13.7 |
| HCT (l/l) | 0.31-0.41 | 0.30-0.38 | 0.28-0.39 |
| MCV (fl) | 81-96 | 82-97 | 91-99 |
| WBC (x109/l) | 5.7-13.6 | 6.2-14.8 | 5.9-16.9 |
| Neutrophils(x109/l) | 3.6-10.1 | 3.8-12.3 | 3.9-13.1 |
| Lymphocytes(x109/l) | 1.1-3.5 | 0.9-3.9 | 1.0-3.6 |
| Monocytes(x109/l) | 0.0-1.0 | 0.1-1.1 | 0.1-1.1 |
| Eosinophils(x109/l) | 0.0-0.6 | 0.0-0.6 | 0.0-0.6 |
| Basophils(x109/l) | 0.0-0.1 | 0.0-0.1 | 0.0-0.1 |
| Platelets(x109/l) | 174-391 | 171-409 | 155-429 |
| NRBCs(x109/l) | 0.0 | 0.0 | 0.0 |

* Third trimester reference range is applicable for 6 weeks post delivery

## Haematology Critical Alert Ranges

Figure 22: Haematology Critical Values Management

The following results are to be phoned to the requesting clinician / teams soon as possible. For notes see next page

|  | Test | Lower Limit | Upper Limit | Phone To | Comments |
| --- | --- | --- | --- | --- | --- |
| Adult Coagulation: Pregnant/Non Pregnant, not on anticoagulant | PT | - | > 20 seconds | Requesting Clinician (& Haematology team for INR>4) | After all investigations carried out as per PP-CS-HAE-29 |
|  | APTT | - | > 40 seconds | Requesting Clinician (& Haematology team for APTT>150sec) | After all investigations carried out as per PP-CS-HAE-29 |
|  | Fibrinogen | Pregnant < 2.0 g/L Non-Pregnant <1.0 g/L | - | Requesting Clinician (& Haematology team if <0.5) | After all investigations carried out as per PP-CS-HAE-29 |
|  | D-Dimer | - | >4 ug/ml FEU | Requesting Clinician |  |
| Adult | Haemoglobin | < 7.0 g/dl | > 17 g/dl | Clinical area |  |
|  | Platelets | < 80 x10^9/l | > 800 x10^9/l | Requesting Clinician | If platelet count suppressed due to platelet clumping ward should be informed of this. |
|  | Neutrophils | < 1 x10^9/l | - | Requesting Clinician & Haematology team (During routine hours) | - New onset. If neutrophil count is < 1 after manual differential report to haematology team |
|  | WCC | < 3 x10^9/l | >/=17 x10^9/l | Clinical area | - New onset. - In the event of a substantial, clinically significant change in WCC of rapid onset -inform clinical team. |
|  | Kleihauer | - | > 4mls FMH | Haematology team and Clinical area |  |
|  | Malaria | - | - | Clinical area and Consultant Microbiologist | All Malaria requests are phoned to the consultant microbiologist |
|  | HBE | - | - | Requesting Clinician & Haematology team | All positive screens for sickle cells disease (HBSS or HB SC) |
| Paediatric | PT | - | > 20 seconds | Requesting Clinician | After all investigations carried out as per PP-CS-HAE-29 |
|  | APTT | - | > 70 seconds | Requesting Clinician | After all investigations carried out as per PP-CS-HAE-29 |
|  | APTT | - | >150seconds | Paediatric registrar & Haematology team | After all investigations carried out as per PP-CS-HAE-29 (confirmed sample not taken from a heparinised line) |
|  | Fibrinogen | < 1 g/L | - | Requesting Clinician & (Haematology team if <0.5) | After all investigations carried out as per PP-CS-HAE-29 |
|  | Haemoglobin | < 9.0 g/dl | > 26 g/dl | Requesting Clinician |  |
|  | Platelets | < 80 x10^9/l | > 800 x10^9/l | Requesting Clinician |  |
|  | Neutrophils | < 1 x10^9/l | - | Paediatric Registrar |  |

- The Haematology team is defined as the Haematology CMS, Haematology registrar (contactable through St Vincent’s University Hospital switch), Dr Joan Fitzgerald (Consultant Haematologist) and the Haematology Medical rota contactable through St Vincent’s University Hospital switch.

- Adult/paediatric unsuitable samples reported as UXCH are phoned to the clinical area if appropriate as per the telephoning of results procedure outlines in LP-GEN-TELREP.

- Adult/paediatric external test results are phoned to the clinical area if abnormal as per LP-GEN-TELREP. This is not necessary for flow cytometry results <4mls FMH.

- All medical scientists working in the Haematology laboratory, including On Call staff, may telephone authorised results.

- Any other phoned results are left up to the discretion of the medical scientist.

## Retrospective/Add-On Requesting

FBC and coagulation specimens are usually kept for one week at room temperature after processing. Kleihauer samples are kept 2 – 6C for 1 week after processing.  Blood films are kept for 1 month after review unless requested to be stored by the Chief/Consultant Haematologist. Analyses of additional tests are subject to stability of analyte. All add-on requests require a requisition form and are entered in the laboratory information system. Analyses of additional tests are subject to stability of analyte. Appropriate additional tests can be added onto an FBC sample depending on sample volume and integrity.

Additional tests:

- Reticulocytes within 24 hours

- Blood film within 24 hours

- Kleihauer within 48 hours

- Flow cytometry (FMH) within 3 days

- D-Dimer within 4 hours

- Extra coagulation studies – Lupus, within 4 hours.

- Haemoglobinopathy samples are stored at 2 - 8C for 1 week - HBE can be added to EDTA sample (FBC) if requested within 3 days of phlebotomy (to allow for confirmation testing is required)

- For advice on any other haematology add-ons, please contact the haematology laboratory on Ext.3548

# Microbiology

## Microbiology Specimens and Tests

Follow the instructions in section 2.2 above for labelling of specimen and form (paper or electronic).

- Please note: Samples for Blood Culture investigation must be drawn first to avoid contamination. See SI-NOT-GEN1and SI-NOT-GEN2 for Order of Draw charts on Q-Pulse.

- Blood cultures, CSF samples and any sample requiring urgent testing whether during routine hours or On-Call (as applicable) must be transported to the laboratory without delay.

- Routine specimens for culture must be stored at 4°C, if there is any delay in transport to the laboratory (excludes blood cultures and CSF, keep at room temperature and transport to laboratory without delay).

- Inoculated agar plates from corneal scrapings, blood cultures, ocular fluid inoculated into paediatric blood culture bottle and inoculated chocolate agar plates for N. gonorrhoeae culture are processed immediately.  Any remaining sample from ocular fluids (vitreous tap, AC tap, aqueous fluid) is then stored at 4°C. Other specimens transferred from RVEEH are stored at 4°C in NMH Microbiology laboratory upon receipt until such time as they are processed.

- See also document	PP-CS-MIC-64, Clinical Indication for Micro Specimens, available in Q-Pulse.

## Microbiology Specimen Stability

The majority of specimens for Microbiology are stable for up to 3 days once stored at 4°C.  Some exceptions apply for particular specimens and/or tests as follows:

Figure 23: Stability of Microbiology Specimens

| Test / Profile | Sample Stability |
| --- | --- |
| Blood Cultures | Send ASAP - Max 4 hours at room temperature |
| CSF | Send ASAP – Store at room temperature |
| Inoculated Plates (Corneal scraping, gonorrhoeae) | Send ASAP - For incubation upon arrival |
| Endocervical swab for gonorrhoeae culture | Send ASAP – Max 30 minutes. During routine hours only |
| Environmental settle plates | Send ASAP – Store at room temperature |
| Urine for Chlamydia / Gonorrhoeae | Maximum of 24 hours – Store at 4˚C |
| Faeces – All tests (excl. ova and parasites) | 4 days, store at 4˚C |
| Faeces - Ova and Parasites | Send ASAP, store at 4˚C |
| All other specimens | 3 days, store at 4˚C |

Figure 24: Blood Cultures

| Blood Culture | Container | Volume | Turnaround Times | Special Requirements | Accreditation Status | Referred Test |
| --- | --- | --- | --- | --- | --- | --- |
| Adult | Aerobic and anaerobic vials | 8-10 mls per bottle | Interim negative to date results at 24 and 48 hours for adults and 36 and 48 hrs for paeds. Full negative results after 5 days. Positive results available 48- 96 hours from time bottle flagged positive. TAT for blood cultures, for reporting of Gram stain from time flagged positive in BacT Alert is <=4 hours | Specimens should be taken before commencement of antimicrobial therapy. Send to laboratory immediately. | Accredited | No |
| Neonate | Paeds vial | ≥ 1 ml |  |  | Accredited | No |

Figure 25: CSF Microbiology Examination

| CSF | Container | Turnaround Times | Special Requirements | Accreditation Status | Referred Test |
| --- | --- | --- | --- | --- | --- |
| Culture | 3 X Sterile CSF tubes | Minimum: ≤48hrs. Maximum: 96 hrs. | Specimens should be taken before commencement of antimicrobial therapy. Send to laboratory immediately. PCR only performed under certain criteria as laid down by IMSRL | Accredited | No |
| Microscopy, Gram |  | Cell count: 2 hrs Gram stain: 4 hrs |  | Accredited |  |
| GBS, E.coli and Listeria sp. PCR (IMSRL) or CSF FilmArray (Temple Street) |  | Verbal: Same day, available if received before 11am Written: 6 Days |  | Accredited | Yes: IMSRL |
| Viral studies |  | ≤1 week |  | Accredited | Yes: NVRL |

Figure 26: Faeces Examination

| Faeces | Container | Specimen Volume | Turnaround Times | Special Requirements | Accreditation Status | Referred Test |
| --- | --- | --- | --- | --- | --- | --- |
| Faeces PCR |  |  | Minimum: 1 days Maximum: 3 days |  | Accredited | No |
| Ova and Parasites |  |  | 1 - 9 days | Test not indicated on neonates. Clinical details essential | Not Accredited | Yes: Microbiology, St. Vincent’s Hospital |
| Bloody Stools |  |  | ≤2 weeks | Clinical details essential. Sent for VTEC isolation | Accredited | Yes:Public Health Lab, Cherry Orchard Hospital |
| Occult Blood |  |  | 10 days |  | Accredited | Yes: Biochemistry, St. James’ Hospital |

*Please note there is no set run time for processing of specimens for C. difficile or Norovirus.  They will be processed as soon as possible, depending on availability of resources for testing.

Figure 27: Fluids for Microbiology Examination

| Fluid from Normally Sterile Sites |  | Container | Specimen Volume | Turnaround Times | Special Requirements | Accreditation Status | Referred Test |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fluid from any site processed in NMH | Culture and Gram stain and / or cell count | Sterile container | >5ml | Minimum: 48hrs Maximum: 96hrs | Please indicate if any specific infection is suspected. Send specimen to laboratory as soon as possible. | Accredited | No |
| T.B. | Culture, AFB stain |  |  | 6 - 8 weeks |  | Accredited | Yes: Microbiology, St Vincent’s Hospital |
| EBM | Culture |  | Min. 1ml | Minimum: 72hrs Maximum: 96hrs |  | Accredited | No |

Figure 28: Sputum Microbiology Examination

| Sputum | Container | Specimen Volume | Turnaround Times | Special Requirements | Accreditation Status | Referred Test |
| --- | --- | --- | --- | --- | --- | --- |
| Culture | Sterile container | Deep cough purulent specimen. 1 ml | Minimum: 48hrs Maximum: 96hrs | Specimens should be taken before antimicrobial therapy started. Salivary and perinasal secretions are unsuitable | Accredited | No |
| Legionella |  | 1 ml | 1 week |  | Accredited | Yes: Microbiology, St Vincent’s Hospital |
| AFB Stain |  | Early morning specimen on 3 consecutive days | 1 week |  | Accredited |  |
| T.B Culture |  |  | 6 - 8 weeks |  | Accredited |  |
| Bloodstained Sputa |  | 1 ml | Routine Culture: 10 days. TB: 6 – 12 weeks | Any bloodstained sputa are referred to SVUH for AFB stain, TB culture and routine culture if required | Accredited |  |

Figure 29: Routine Swabs Microbiology Examination

| Swabs | Container | Turnaround Times | Special Requirements | Accreditation Status | Referred Test |
| --- | --- | --- | --- | --- | --- |
| HVS: Microscopy | Amies transport swab (blue top) | Gram stain: Minimum: 24 hours Maximum: 96 hours |  | Accredited | No |
| All swabs (see RF-CS-MIC-40 for all swabs processed in NMH) |  | Vary depending on swab type, see individual procedures for reporting times |  | Accredited | No |
| GBS Screen (culture): Combined LVS/Rectal | Amies transport swab (blue top) / or GBS broth (Purple top) | Minimum: 48 hrs Maximum: 96 hrs | For GBS screen only from out-patients (OPD, SPC, PP, CM), not for inpatients or for HVS. | Accredited | No |
| GBS Screen Rectal swab only | Amies transport swab (blue top) / or GBS broth (Purple top) | Minimum: 48 hrs Maximum: 96 hrs |  | Accredited | No |
| Neisseria gonorrhoeae Culture | Amies transport swab (blue top) | Minimum: 48 hrs Maximum: 96 hrs | Endocervical swab, send immediately to Microbiology and Contact Micro Laboratory. Available during routine hours only | Accredited | No: Culture Yes: For susceptibility testing when isolated. Referred to Microbiology, SJH |
| Rapid GBS Screen (GeneXpert) – Combined HVS/Rectal | Red Copan collection device (double swab) | Same day | As per guidelines and/or as per Consultant Microbiologist. | Accredited | No |
| PCR test for Chlamydia trachomatis, N. gonorrhoeae, Trichomonas vaginalis, Mycoplasma genitalium | Aptima swab | 7 - 10 Days | Mycoplasma testing is only available for patients attending Preterm Surveillance Clinic | Accredited | Yes: NVRL |

Rapid GBS Screen – Run Times:

- During routine hours:

  - Monday – Friday: 10:00, 16:30

  - Saturday: 11:45

- Out of hours (including Bank Holidays):

  - Monday – Friday: 22.00

  - Saturday: 22.00

  - Sunday and Bank Holidays: 12:30, 22.00

Any samples received after the scheduled run time will not be processed until the next scheduled run. If specimens miss the 22.00 run, they will not be processed until the next scheduled run the next day. We would advise that if a sample is being taken near the last run time (22:00) and is deemed too urgent to wait until the next day, please contact the Microbiology laboratory at Ext. 3533 or on-call mobile to inform them that urgent sample on way and if possible to hold the run for a few minutes.  It is only possible to hold the run for a maximum of 10 minutes, if the sample(s) are not down within the allotted time, they will not be processed until the next scheduled run.

Figure 30: Surveillance Screens

| Screen | Container | Specimen | Turnaround Times | Special Requirements | Accreditation Status | Referred Test |
| --- | --- | --- | --- | --- | --- | --- |
| MRSA: Adults | Amies transport swabs (blue top) | Nasal, throat, perineal / groin, eye, ear | Minimum : 24hrs Maximum: 72hrs |  | Accredited | No |
| MRSA: Neonatal Screen |  | Nasal, Groin and Umbilical |  | All babies in the unit are screened every Tuesday. All new admissions and re-admissions to the unit should be screened on arrival. | Accredited | No |
| MRSA: Occupational Health Screen* |  | Nasal |  |  | Accredited | No |
| Gentamicin Resistant Enterobacterales Neonates | Sterile container OR Amies transport swab (blue top) | Stool or Rectal Swab | Minimum : 24hrs Maximum: 72 hrs | All babies in the unit are screened every Monday. Faecal matter required on swab. All new admissions and re-admissions to the unit should be screened on arrival. | Accredited | No |
| ESBL Screening Neonates |  |  | Minimum: 24hrs Maximum: 96 hrs |  | Accredited |  |
| VRE Neonates |  |  | Minimum : 48hrs Maximum: 96 hrs |  | Accredited | No |
| CPE Neonates |  |  | Minimum : 24hrs Maximum: 72 hrs |  | Accredited | No |
| VRE Adults |  |  | Minimum : 48hrs Maximum: 96 hrs | Pre-op screening not required. Screening done as per guidelines | Accredited | No |
| CPE Adults |  |  | Minimum : 24hrs Maximum: 72 hrs |  | Accredited | No |

*Note: Occupational health screen results are not available to view on Winpath Ward Enquiry.

Figure 31: Urines Microbiology Examination

| Urine | Container | Specimen Volume | Turnaround Times | Special Requirements | Accreditation Status | Referred Test |
| --- | --- | --- | --- | --- | --- | --- |
| Adults: Culture | Sterile MSU Jar | Midstream urine, catheter - 10 ml | Minimum: 24 hrs Maximum: 96 hrs | Specimens should be taken before antimicrobial therapy initiated. Specimens should be ≤ 48 hours old upon receipt in lab. | Accredited | No |
| Paediatric: Culture |  | CCU, bag - 1 ml |  |  | Accredited | No |
| Microscopy |  |  | Minimum: 24 hrs Maximum: 48 hrs, where applicable |  | Accredited | No |
| Pregnancy Test |  | 1 ml early morning specimen | Same day | Early morning specimens preferred | Accredited | No |
| AFB Stain |  | 60 ml | 1 week | Complete early morning specimens from 3 consecutive days | Accredited | Yes: Microbiology, St. Vincent’s Hospital |
| TB Culture |  |  | 6 - 8 weeks |  | Accredited |  |
| Chlamydia trachomatis, N. gonorrhoeae PCR |  | 60 ml | 7 – 10 days | First void specimen, only if CT/NG swab is not available | Accredited | Yes: NVRL |

Figure 32:Other Specimens Microbiology Examination

| Specimen | Container | Specimen Volume | Turnaround Times | Special Requirements | Accreditation Status | Referred Test |
| --- | --- | --- | --- | --- | --- | --- |
| Abscess and Pus | Sterile container | > 1ml | Minimum : 48hrs Maximum: 6 days | Send to lab as soon as possible for anaerobic culture | Accredited | No |
| I.U.C.D. |  | IUCD | Routine C/S: Minimum:48 hrs Maximum: 96 hrs Actinomyces Minimum: 10 days Maximum: 14 days | Leave all material on IUCD | Accredited | No |
| Environmental swabs / water | Amies transport swab (blue top) / sterile container | 1ml | Minimum: 5 days Maximum: 7 days |  | Accredited | No |
| Environmental settle plates | SDA / TSA agar |  | Minimum: 5 days Maximum: 7 days Minimum: 14 days Maximum: 16 days | When extended incubation requested | Accredited | No |
| Bacterial PCR (e.g. GBS, E. coli, Listeria etc.) | EDTA | >0.5ml | Verbal: Same day, available if received before 11am Written: 6 Days | N/A | Accredited | Yes: IMSRL |
| *Sars-CoV-2 / Influenza A/B, RSV PCR | Copan universal transport medium | Ensure swab is present in the container | Urgent: 3 hours Routine: 24 hours | As per clinical guidelines | Accredited | No |

*Please note there is no set run time for processing of specimens for Sars-CoV-2 / Influenza A/B / RSV.

All specimens will be processed as soon as possible, depending on availability of resources for testing.

Sars-CoV-2:

- Only symptomatic patients are processed urgently.

- All other patients and staff are processed within 24 hours of receipt of the sample.

Figure 33: Microbiology Referral Tests

| Test | Code | Container Type/ Sample requirements | Investigation required | TAT | Lab Series | Referral Centre | Specific Form Required and Location |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 16s rRNA Bacterial Gene Detection | 16SR | Fluid from normally sterile site e.g. ocular fluid, CSF | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| 18s rRNA Fungal Gene Detection | 18SR | Fluid from normally sterile site e.g. ocular fluid, CSF | PCR | 10 days | M |  |  |
| 16s Gene Sequencing | REFL | Suitable agar plate / slope (for identification of unknown organisms) | PCR | 10 days | M | Irish Meningococcal and Sepsis Reference Laboratory | Yes www.cuh.ie – Healthcare Professionals – Departments – Laboratory – IMSRL Request Form |
| Acanthamoeba | ACAN | Dry corneal swab | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| - Adenovirus DNA | - ADVD | Ocular fluid | PCR | 10 days | M |  |  |
| - A.S.O. Titre | - ASO | Serum 7 ml Only send after approval by Consultant Microbiologist | Titre |  | M | Microbiology Laboratory, SVUH | No |
| Aspergillus DNA | ASPD | EDTA, BAL, Sputum. Only send after approval by Consultant Microbiologist | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| - Atypical Pneumonia | - TYA | Respiratory type samples in sterile container | PCR | 5 days | D | National Virus Reference Laboratory | No |
| - Bartonella DNA | - BADA | EDTA, tissue | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| - Borrelia DNA | - BORD | EDTA, serum, tissue | PCR | 10 days | M |  |  |
| Bordetella pertussis PCR Screen | BPPC | Perinasal swabs (from Micro Lab) Serum sample for Serology. Also accept NPA, sputum & perinasal swab for PCR | Serology more useful for ongoing symptoms and no vaccinations | 1 week | M | Microbiology Dept, CHI, Crumlin | No |
| Campylobacter typing | TYPE | Stool Sample Campylobacter isolate (send on Amies swab) | Typing | 1 week | M | Public Health Laboratory (Cherry Orchard) | Yes Available through website: www.hse.ie (Services – Public Health – Public Health Lab – Cherry Orchard – Request Forms) |
| Candida species | CANS | Pure subculture on Nutrient agar slope | Susceptibility and M.I.C. tests | 3 days | M | Microbiology Laboratory, SVUH | No |
| Candida DNA | CAND | Ocular fluid, CSF, EDTA Only send after approval by Consultant Microbiologist | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| Carbapenamase Producing Enterobacterales | TYPE | Pure subculture on Nutrient agar slope | Confirmation of CPE results | ≤15 working days | M | Carbapenemase Producing Enterobacterales (CPE) Reference Laboratory | Yes Available through website: www.saolta.ie |
| Chlamydia trachomatis DNA | CHLD | Ocular fluid, dry corneal swab | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| Clostridium difficile Typing | TYPE | Stool Sample | Typing | 1 week | M | Public Health Laboratory (Cherry Orchard) | Yes Available through website: www.hse.ie (Services – Public Health – Public Health Lab – Cherry Orchard – Request Forms) |
| - CMV DNA | CMVD | Ocular fluid | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| - COVID 19 | NCOV | Red respiratory viral transport media | PCR | 48-72 hours | M | National Virus Reference Laboratory | No |
| Cryptococcus neoformans DNA | CRYD | CSF, EDTA Only send after approval by Consultant Microbiologist | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| Cryptosporidium | CRYP | Stools | Identification by Staining methods | 3 days | M | Public Health Laboratory (Cherry Orchard) | No |
| EB Virus (EBV) DNA | EBVD | Ocular fluid | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| E. coli 0157 (Bloody stools or clinical H.U.S) | E157 | Stools | Culture for 0157 | 4 days | M | Public Health Laboratory (Cherry Orchard) | Yes Available through website: www.hse.ie (Services – Public Health – Public Health Lab – Cherry Orchard – Request Forms) |
| E. coli PCR | ECOP | C.S.F .400 µL | P.C.R. Urgent send ASAP within working day or refrigerate immediately if at the weekend | Verbal: Same day, available if received before 11am Written: 6 Days | M | Irish Meningococcal and Sepsis Reference Laboratory | Yes www.cuh.ie – Healthcare Professionals – Departments – Laboratory – IMSRL Request Form |
| Enterovirus DNA | ENVD | Ocular fluid, dry corneal swab | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| Epidemiological testing | TYPE | Pure subcultures on slopes | Isolates for confirmation of outbreak | As per HPA reference laboratory | M | Reference Laboratories with Specialist Expertise in the Diagnoses and Characterisation of Particular Micro organisms. See www.hpa.org.uk for individual laboratory contact details | Yes Through website: www.hpa.org.uk/SRMTests for various request forms |
| Faecal Occult Blood (FOB) | FB | Stool | Test for FOB | 1 week | M | Biochemistry, SJH | No |
| Fungi | FUN | Scrapings, nail, lesions | Isolation and identification of fungi from clinical samples | Microscopy: 10 days. Culture: 5 Weeks | M | Microbiology Laboratory, SVUH | No |
| Fungal isolate | SJHF | Pure subcultures on SDA agar seal with parafilm | Aspergillus identification only. Other fungal isolates and Aspergillus for AST refer to Bristol | ≤2 weeks | M | Microbiology, SJH | No |
| Fungal and non-Candida yeast isolate | BRIF | Pure subcultures on nutrient agar slope | Identification and susceptibility testing (all fungi) | ≤2 weeks | M | PHE Mycology Reference Laboratory (Bristol) | Yes Through website: www.gov.uk/government/publications/mycology-identification-and-susceptibility-testing-request-form |
| G.B.S. PCR | GBSP | C.S.F .400 µL EDTA samples 1 ml | P.C.R. Urgent send ASAP within working day or refrigerate immediately if at the weekend | Verbal: Same day, available if received before 11am Written: 6 Days. | M | Irish Meningococcal and Sepsis Reference Laboratory | Yes www.cuh.ie – Healthcare Professionals – Departments – Laboratory – IMSRL Request Form |
| Group A / B Streptococci DNA | GABS | CSF, EDTA/citrated whole blood, tissue | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| Haemophilus influenzae DNA | HINP | C.S.F .400 µL EDTA samples 1 ml | PCR | Verbal: Same day, available if received before 11am Written: 6 Days | M | Irish Meningococcal and Sepsis Reference Laboratory | Yes www.cuh.ie – Healthcare Professionals – Departments – Laboratory – IMSRL Request Form |
| Hepatitis DNA | HED | Ocular fluid, dry corneal swab | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| HSV DNA | HSVD | Ocular fluid, dry corneal swab | PCR | 10 days | M |  |  |
| Influenzae surveillance and typing | TYPE | Red respiratory viral transport media | PCR | 1 month | M | National Virus Reference Laboratory | No Use surveillance sticker on form |
| Invasive isolates of Anaerobes for AST | ANES | Pure subculture on blood agar plate | Susceptibility testing | 10 working days | M | Microbiology Laboratory, SVUH | No |
| Invasive Isolates Of Haemophilus influenzae | TYPE | Pure subculture onto choc agar slope. | Serotyping | 10 working days | M | Irish Meningococcal and Sepsis Reference Laboratory | Yes www.cuh.ie – Healthcare Professionals – Departments – Laboratory – IMSRL Request Form |
| Invasive isolates of Streptococcus pneumoniae | TYPE | Pure subculture on Chocolate agar slopes | Serotyping | 7 working days | M | Epidemiology and Molecular Biology Unit (CHI, Temple St.) | No |
| Isolate Identification | MAL1, ID 2, 3…7 | Pure subculture on suitable agar plate In event VITEK MS Maldi-TOF out of service, back up provision for organism identification | Organism identification | 2 days | M | Microbiology Laboratory, SVUH | No |
| Legionella Antigen | LEG | Urine | Immunochromatography | 2 working days | M |  |  |
| Listeria species | TYPE | Pure subculture on nutrient agar slope | Typing | 1-2 weeks | M | NSSLRL | Yes Through website: http://www.nuigalway.ie/salmonella_lab |
| Listeria monocytogenes DNA | LIMD | CSF, EDTA | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| Meningitis / Encephalitis FilmArray Panel | FAME | CSF | PCR | 3 days | M | Microbiology Dept, CHI Temple Street | No |
| Meningococcal PCR | MENP | CSF - 400µl EDTA – 1ml | Collect specimen as close to time of onset and prior to antibiotic administration Urgent send ASAP within working day, store at 4˚C if delay in transporting | Verbal: Same day, available if received before 11am Written: 6 Days | M | Irish Meningococcal and Sepsis Reference Laboratory | Yes www.cuh.ie – Healthcare Professionals – Departments – Laboratory – IMSRL Request Form |
| MRSA Isolates | MRST | Pure subculture on nutrient agar slope. | Typing and confirmation of Methicillin resistance | 2 weeks | M | National MRSA Reference Laboratory | Yes Through website: http://www.stjames.ie/nmrsarl/index.html |
| Mycoplasma pneumonia Antibody | MPAB | Serum sample | Serology | 3 working days | D | Eurofins Ireland | No |
| Neisseria gonorrhoeae DNA | NEGD | Ocular fluid, dry corneal swab | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| Neisseria gonorrhoeae | NESS | Pure subculture on chocolate agar. | Susceptibility testing | 1 week | M | Microbiology, SJH | Yes www.stjames.ie Healthcare Professionals – Referral Forms - Laboratory |
| Neisseria meningitidis | NESS | Pure subculture on chocolate agar | Susceptibility testing | 1 week | M | Irish Meningococcal and Sepsis Reference Laboratory | Yes www.cuh.ie – Healthcare Professionals – Departments – Laboratory – IMSRL Request Form |
| Neisseria meningitidis | TYPE | Pure subculture on chocolate agar | P.C.R. | Samples are run each day 11am Mon-Fri. Results in late p.m. | M | Irish Meningococcal and Sepsis Reference Laboratory | Yes www.cuh.ie – Healthcare Professionals – Departments – Laboratory – IMSRL Request Form |
| Ova and parasites | OAP | Stools | Test for ova and parasites | 1 week | M | Microbiology Laboratory, SVUH | No |
| Pneumococcal PCR | PNEP | C.S.F or EDTA | P.C.R. | Verbal: Same day, available if received before 11am Written: 6 Days | M | Irish Meningococcal and Sepsis Reference Laboratory | Yes www.cuh.ie – Healthcare Professionals – Departments – Laboratory – IMSRL Request Form |
| Pneumoncoccal Antigen | PNEU | Urine | Immunochromatography | 2 working days | M | Microbiology Laboratory, SVUH | No |
| PropionibacteriumDNA | PROD | Ocular fluid | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| Pseudomonas DNA | PSAD | Ocular fluid | PCR | 10 days | M |  |  |
| Rubella DNA | RUBD | Ocular fluid | PCR | 10 days | M |  |  |
| Salmonella species | TYPE | Pure subculture on nutrient agar slope | Serotyping and identification | 1 week | M | NSSLRL | Yes Through website: http://www.nuigalway.ie/salmonella_lab |
| Shigella species | TYPE | Pure subculture on nutrient agar slope | Typing | 1-2 weeks | M |  |  |
| Specimen for routine culture and susceptibility | SPRC | Any specimen type not performed in NMH for routine culture and AST e.g. lymph nodes, pleural fluid, sputum when bloodstained / for TB also | Culture and Sensitivity | ≤ 2 weeks | M | Microbiology Laboratory, SVUH | No |
| Specimen for Referral | REFL | For sample types, tests , isolates rarely tested for in most laboratories | Any | Up to 1 month | M | Relevant centre for where tests required are performed. See Q:\2 Microbiology\Referral labs “Referral labs for unusual organisms” for any that have been previously sent/used for details. Add any new cases to this. |  |
| Staphylococcus DNA | STGD | Ocular fluid | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| Streptococcus pneumoniae DNA | SPND | Ocular fluid | PCR | 10 days | M |  |  |
| T.B. | TB | Sputa, tissue samples (all neck nodes) and urine | Z.N. or auromine-phenol stain and culture | Microscopy in 4 days. Culture in 6-8 weeks | M | Microbiology Laboratory, SVUH | No |
| TB DNA | TBD | Ocular fluid | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| Toxocara | TOXC | Ocular fluid | IgG / Western Blot | 1 Week | M | Health Services Laboratory | Yes \\nm100\Qpulse\2 Microbiology\Referral Labs\Health Services Laboratories (Parasitology Request Form) |
| Toxoplasma gondii DNA | TOGD | Ocular fluid | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |
| Treponema pallidum DNA | TREP | Ocular fluid | PCR | 10 days | M |  |  |
| Trichomonas vaginalis | MCGT | Urine Only refer when possible Trichomonas seen in the urine microscopy for confirmation (Set CT/NG to ‘returned’ on LIS prior to sending) | PCR | 1 week | W | National Virus Reference Laboratory | No |
| Varicella zoster DNA | VZVD | Ocular fluid | PCR | 10 days | M | Micropathology Ltd. | Yes www.micropathology.com |

| REFERRAL CENTRE | ADDRESS |  | PHONE NUMBER |  |
| --- | --- | --- | --- | --- |
| Carbapenemase Producing Enterobacterales (CPE) Reference Laboratory | Carbapenemase Producing Enterobacterales (CPE) Reference Laboratory, Department of Medical Microbiology University Hospital Galway, Galway |  | 091 544 - 570/628/429 |  |
| Epidemiology and Molecular Biology Unit (CHI, Temple St.) | Epidemiology and Molecular Biology Unit, The Children’s University Hospital, Temple St. Dublin 1 |  | 01 878 4875 / 01 878 4858 |  |
| Eurofins Biomnis Ireland | Unit 3 Sandyford Business Park, Burton Hall Road, Sandyford Business Park, Dublin 18, D18 E528 | Three Rock Road, Sandyford Industrial Estate, Dublin 18, D18 A4C0 | 1800 303 349 | 01 295 8545 |
| Irish Meningococcal and Sepsis Reference Laboratory | Irish Meningococcal and Sepsis Reference Laboratory The Children’s University Hospital, Temple St. Dublin 1 |  | 01 878 4875 / 878 4858 |  |
| Microbiology Dept, CHI, Crumlin | Microbiology Dept, Children’s Health Ireland (CHI), Crumlin, Dublin 8 |  | 01 409 6424 / 6426 |  |
| Microbiology Dept, CHI, Temple Street | Microbiology Dept, CHI at Temple Street Temple Street Dublin 1 |  | (01) 878 4266 |  |
| Microbiology SJH | Microbiology St. James’s Hospital Dublin 8 |  | 01 416 4209 |  |
| Microbiology Laboratory, SVUH | Microbiology Laboratory, St. Vincent’s University Hospital, Dublin 4 |  | 01 221 4470 |  |
| Micropathology Ltd. | Micropathology Ltd. University of Warwick Science Park, Venture Centre, Sir William Lyons Road, Coventry, CV4 7EZ, United Kingdom |  | 0044 247 632 3222 |  |
| National MRSA Reference Laboratory | National MRSA Reference Laboratory St. James’s Hospital St. James’s Street Dublin 8 |  | 01 410 3662 / 3 /4 |  |
| National Salmonella, Shigella, Listeria Reference Laboratory (NSSLRL) | NSSLRL, Medical Microbiology Dept, U.C.H, Galway |  | 091 221 4470 |  |
| National Virus Reference Laboratory | National Virus Reference Laboratory UCD, Belfield, Dublin 4 |  | 01 716 4401 |  |
| Health Services Laboratory | Department of Clinical Parasitology, Hospital for Tropical Diseases, University College London Hospitals 3rd Floor Mortimer Market Centre, Mortimer Market, London WC1E 6JB, England |  | 0044 (0)20 7307 9400 |  |
| Public Health Laboratory (Cherry Orchard) | Public Health Laboratory, Cherry Orchard Hospital, Ballyfermot, Dublin 10 |  | 076 695 5175 / 076 695 5176 |  |
| PHE Mycology Reference Laboratory National Infection Services (Bristol) | PHE Mycology Reference Laboratory National Infection Services, PHE South West Laboratory, Science Quarter, Southmead Hospital, Bristol, BS10 5NB |  | 0044 0117 414 6222 |  |

## Reference Ranges and Critical Alert Ranges

Generally Biological Reference Intervals do not apply to Microbiology, however, please see below for exceptions. Clinical decision values are listed below for both the NMH and RVEEH.

Figure 34: Normal values for WBC, RBC, Protein and Glucose for Various Age Groups in CSF

Figure 35: Microbiology Critical Alert Ranges

| NMH |  |  |  |
| --- | --- | --- | --- |
| Organism | Notify | When | Notes |
| MRSA | Con Microbiologist / SpR | Inpatient: Notify at presumptive and when confirmed Outpatient: Notify when confirmed | Consultant will decide action of “presumptive MRSA”. Strongly consider infection control precautions if presumptive MRSA case is an in-patient. List of positives pulls daily into Excel sheet for Infection Control |
|  | Infection Control |  |  |
|  | Relevant Unit/ Clinic | Inpatient: NICU: Notify at presumptive and when confirmed All others: Notify when confirmed Outpatients: Notify when confirmed |  |
| VRE CPE ESβL Gentamicin-Resistant Enterobacterales | Con Microbiologist / SpR Infection Control Relevant Unit/ Clinic Surveillance Scientist | Inpatient: Notify at presumptive and when confirmed Outpatient: Notify when confirmed | List of positives pulls daily into Excel sheet for Infection Control |
| Group A Streptococci Listeria monocytogenes Neisseria gonorrhoeae |  | Notify when confirmed | List of positives pulls daily into Excel sheet for Infection Control |
| Group B Streptococci | Relevant Unit/ Clinic | Adult: Isolated for the first time from antenatal/peripartum inpatient Neonates: All patients or isolated from maternal samples that can impact neonate e.g. EBM |  |
|  | Unit 3 | All ‘Detected’ results from Rapid GBS test | By routine and on-call staff |
| Pseudomonas aeruginosa | Consultant Microbiologist / SpR | Any neonate or eye sample |  |
|  | Relevant Unit/ Clinic |  |  |
|  | Surveillance Scientist |  |  |
| Faecal pathogens | Con Microbiologist / SpR Infection Control Relevant Unit/ Clinic Surveillance Scientist | All ‘Detected’ result from FilmArray GI Panel | List of positives pulls daily into Excel sheet for Infection Control |
| Influenza A/B RSV SARS-CoV-2 |  | All ‘Detected’ results | On-call: Phone to relevant unit /clinic only List of positives pulls daily into Excel sheet for Infection Control |
| NMH |  |  |  |
| Sample Type | Notify | When | Notes |
| Blood cultures | Consultant Microbiologist / SpR | Any positives On-Call: Send pseudo-anonymised text message with positive Gram stain and photograph of FilmArray result to Consultant Microbiologist. | By routine and on-call staff If unable to interpret the Gram stain contact the Consultant Microbiologist by phone. If locum is covering - text message not required – clinical staff may phone locum |
|  | Infection Control | Any positive adult blood cultures | List of positives pulls daily into Excel sheet for Infection Control |
|  | Relevant Unit/ Clinic | Adults: Phone relevant unit during routine hours. On-Call bleep Obs/Gyn Reg (1st) or Obs/Gyn SHO (2nd) Neonates: Bleep Paeds reg (1st) or Paeds SHO (2nd) during routine hours and on-call. If no answer Bleep ADOM | By routine and on-call staff Exception: When Gram stain = No Organisms Seen, telephoning result is not required. |
| CSF | Consultant Microbiologist / SpR | Cell Count: WCC ≥ 20 (neonate), WCC ≥5 (adult) Gram stain positive Culture / DNA positive | By routine and on-call staff |
|  | Relevant Unit/ Clinic | Always phone cell count and gram stain regardless of positive/negative Culture positive Bleep relevant Reg (1st) / SHO (2nd) for paeds/Obs If no answer bleep ADOM |  |
| Faecal Occult Blood | Relevant Unit/ Clinic | Any positive result |  |

| RVEEH |  |  |  |
| --- | --- | --- | --- |
| Organism | Notify | When | Notes |
| MRSA | Infection Control | Inpatient: Notify at presumptive and when confirmed Outpatient: Notify when confirmed | Notify Infection Control team by email |
|  | Relevant Unit/ Clinic | Inpatient: Notify at presumptive and when confirmed |  |
| VRE CPE ESβL | Consultant Microbiologist / SpR Infection Control Relevant Unit/ Clinic Surveillance Scientist | Notify when confirmed | Notify Infection Control team by email |
| Group A Streptococci Listeria monocytogenes Neisseria gonorrhoeae |  | Notify when confirmed | Notify Infection Control team by email |
| Pseudomonas aeruginosa | Consultant Microbiologist / SpR | Any eye sample, presumptive ID |  |
|  | Relevant Unit/ Clinic |  |  |
| Acanthamoeba | Consultant Microbiologist / SpR | All ‘Detected’ results |  |
|  | Relevant Unit/ Clinic |  |  |
| Faecal pathogens | Consultant Microbiologist / SpR Infection Control Relevant Unit/ Clinic Surveillance Scientist | All ‘Detected’ result from FilmArray GI Panel | Notify Infection Control team by email |
| Influenza A/B RSV SARS-CoV-2 |  | All ‘Detected’ results | On-call: Phone to relevant unit /clinic only Notify Infection Control team by email |
| Sample Type | Notify | When | Notes |
| Blood cultures (including ocular fluids in blood culture bottles) | Consultant Microbiologist / SpR | Any positives On-Call: Send pseudo-anonymised text message with positive Gram stain and photograph of FilmArray result to Consultant Microbiologist. | By routine and on-call staff If unable to interpret the Gram stain phone the Consultant Microbiologist. If locum is covering, a text message not required – clinical staff may phone locum |
|  | Relevant Unit/ Clinic | Phone in-patient ward (634 3655 / 3657) with any positives and Gram stain. If no reply, contact the Consultant Microbiologist 24/7. | By routine and on-call staff Exception: When Gram stain = No Organisms Seen, telephoning result is not required. |
| Corneal Scrapings Vitreous/Aqueous Fluids | Consultant Microbiologist / SpR | Positive Gram Stain Culture positive, once preliminary ID available |  |
|  | Relevant Unit/ Clinic |  |  |
| Faecal Occult Blood | Relevant Unit/ Clinic | Any positive result |  |
| Environmental Screening | Pharmacy | Clean Room: >20 CFU of any type on settle plate Glove, isolator, finger dab: >5 CFU of any type on settle plate |  |

Unless otherwise indicated, all results are phoned by Microbiology scientific staff.  NMH results are reported to the infection control nurse via a protected shared Excel sheet. RVEEH results are reported to the infection control nurse by e-mail. Any other clinically significant organisms may also be telephoned as required.

Significant isolates in other specimens and from known ill patients are telephoned to the Consultant Microbiologist before susceptibility tests are finalised. In the event of the NMH Consultant Microbiologist being on leave, locum cover is provided as arranged by NMH Consultant Microbiologist. Advise the person taking the result that NMH Consultant Microbiologist is on leave, that cover is in place and that they may be contacted if required.

Out of hours, the scientist On-Call is not required to contact the locum Consultant Microbiologist covering as per protocol above, informed clinical staff that NMH Consultant Microbiologist is on leave, that cover is in place and they may be contacted if required.

Record all evidence of phoning results in the telephone log on the LIS as per LP-GEN-TELREP.

## Mandatory Reporting

The Microbiology laboratory reports all significant isolates and diagnoses from referral laboratories in accordance with the Infectious Diseases (Amendment) Regulations2020 (S.I. No. 53/2020). The surveillance scientist in conjunction with the Consultant Microbiologist keeps a record of all infections reported by the laboratory.

## Requesting Additional Examinations/Tests

- Additional tests may be requested by clinical staff and added onto some samples.  The ability of the Microbiology laboratory to perform these additional tests depends on the test being requested and viability of the sample for that test.

- Additional examinations, if possible, may be requested following consultation with consultant microbiologist or senior scientific staff. All add on requests are entered in the laboratory information system.

- Post processing of samples in Microbiology:

    - CSFs are kept for 1 month refrigerated.

    - All other samples are kept for 1 week at room temperature. Due to the storage conditions of these samples, it is generally NOT possible to perform additional testing when the sample is >24 hours old from time processed.

    - Please check with the Microbiology department prior to ordering additional tests if possible to perform.

- Additional examinations also may be initiated by Consultant Microbiologist or senior scientific staff based on the results of initial examinations.

# Specimen Referral/Dispatch

## Specimen Referral

Where an investigation is not available in the Department of Pathology and Laboratory Medicine at the NMH, it may be referred to a third party laboratory for testing. Where possible, work is referred to INAB or CPA accredited laboratories. Referral occurs in cases where there is a request for:

- The provision of a unique or unusual service.

- Provision of a service not available in the NMH.

- Confirmation of initial findings.

- Backup service in the event of an unplanned interruption of the service.

- Where a Consultants second opinion in Histopathology and Cytology is required.

- It is policy to refer certain investigations to reference laboratories.

## Reports from Referral Laboratories

Reports from referral laboratories are managed in accordance with MP-GEN-RESREL, the procedure for the Review and Release of Results:

- Test results are received in the Pathology Department of the NMH from the referral laboratory.

- Results are logged into the LIS and an added comment identifies the referral laboratory. Tests that have been performed by the referral laboratory are highlighted within the NMH report. The referral/back up laboratory report number is recorded internally on Winpath for reference.

- Where possible results are received electronically via Medibridge.

- Results of external examinations entered into Winpath are authorised by scientific or medical staff. Additional comments may be added by senior or Consultant staff if appropriate. This authorisation process is controlled.

- Where the referral laboratory report is sent by the laboratory to the ward, a copy of the report is kept in the department. This may be in hardcopy, electronic copy or transcribed into Winpath.

- Genetic reports received from a referral laboratory are not entered into Winpath due to the complexity of the report. The following comment is attached to all results in Winpath: ‘The original report has been sent to the requesting doctor or consultant or may be together with the patient's chart. To retrieve a file/report, please contact chart retrieval on extension 3421/3422 or medical records officer on extension 3208. Or alternatively contact the appropriate referral laboratory.

- The original report is sent to the requesting clinician and/or unit and filed in the patient’s chart. A copy is retained in the laboratory.

# Virology Referral

Requests must be from a hospital clinic or Consultant, and must be submitted on the appropriate form with clinical details and signature. Requests should be classified as follows:

- Routine (before 30 weeks’ gestation): 1-2 weeks reporting time.

- Late booking (after 30weeks’ gestation): Within 48 hours reporting time.

- Urgent: Verbal 4 hours reporting time (HIV) or within 24 hours (Hepatitis B, Varicella IgG, source blood from needle stick injury).

- The laboratory should be contacted when urgent specimens are being sent. Note: The urgent category has significant staff and cost implications for the National Virus Reference Laboratory (NVRL) and must only be used where necessary.

- See SI-NOT-GEN1 and SI-NOT-GEN2 for Order of Draw charts on Q-Pulse

Figure 36: Referred Test for Serology/Virology

| Test | Code | Tube type | Special Requirements |  | Referral Centre |
| --- | --- | --- | --- | --- | --- |
| Adenovirus PCR | ADEN | Eye / CSF / Swab / Nasal Aspirate / EDTA / Serum | Change sample type on WinPath to suit specimen type received. For Nasal Aspirates: Part of standard panel in NVRL with Enterovirus, Parechovirus, CMV, respiratory virus. |  | NVRL |
| Anti-Hep B Core Total | HBC | Adult: Serum gel |  |  |  |
| Anti-Pertussis Toxin IgG | COMS | Adult: Serum gel | Clinical details are required (whooping cough). Refer to WI-CS-SR-3 for details for PCR testing. |  | Microbiology, CHI Crumlin |
| Atypical Pneumonia | ATYA | Adult: Serum gel | Mycoplasma IgM |  | NVRL |
|  |  | Paed: Serum |  |  |  |
| Booking: Rubella, Syphilis, HBsAg, HIV, Hep C Abs | BKBB | Adult: Serum gel | When gestation >38 weeks or if requested urgently by phone enter Urgent comment in the clinical details field of LIS and phone NVRL to inform them it’s en route. Send on same day where possible. Otherwise keep in fridge and send the following day first thing. For urgent booking bloods – Refer to WI-CS-SR-4 for criteria |  |  |
| Booking: Rubella, Syphilis, HBsAg, HIV, Hep C Abs, Varicella | BKBA / BKBV |  |  |  |  |
| Brucella ( RVEEH Only) | BRUC | Serum | Spin to separate from cells. Stable on gel. Separate + fridge if storing over the weekend |  | Eurofins Biomnis |
| Cat Scratch Serology (Bartonella) (RVEEH Only) | CATS | Serum |  |  |  |
| Chlamydia and Gonorrhoeae | MCG | Eye Swabs (non-genital sites) | White APTIMA specimen collection kit gen probe for RNA testing Green top viral swabs are not suitable. |  | NVRL |
| +Trichomonas vaginalis (for all genital / urinary specimens only) | MCGT | Urine Genital Swabs | - Urine: - First catch urine required, mid-stream urine unsuitable. - Transfer from urine jar to Chlamydia / Gonorrhoea transport containers within 24 hours. - Use relevant APTIMA Specimen collection kit gen probe for RNA testing - Endocervical / Urethral: White APTIMA swab - HVS: Orange APTIMA swab - In Winpath enter sample type: - Endocervical: ECS - Urethral: US - Urine: U - Vaginal Swab: HVS, LVS or VS (as indicated) |  |  |
| +Trichomonas vaginalis and Mycoplasma genitalium when: - From Preterm Surveillance Clinic - Clinical details are Pelvic Inflammatory Disease (PID), Tubo-Ovarian Abscess (TOA), Epididymorchitis - When M. genitalium specifically requested (for genital specimens only) | MCGP | Genital Swabs |  |  |  |
| CMV IgG and IgM | CMBL | Adult: Serum gel |  |  | NVRL |
| CMV PCR | CMVP | Urine, Saliva, EDTA, CSF, Amniotic Fluid | - For EDTA samples: They stable at room temperature for 24 hours from collection. Samples are sent to the NVRL as soon as possible (reach NVRL with 24 hours of blood draw). - If samples cannot be sent to the NVRL within 24 hours, they must be separated, frozen and transported at -20°C. - All samples can be sent with the next scheduled courier. - Change sample type on WinPath screen to suit specimen type received. |  |  |
| CSF Viral Screen: HSV, Varicella, CMV, Enterovirus, Parechovirus and Human Herpes Virus 6 PCR | MCSF | Paed: CSF / EDTA / viral swab | - When CSF / EDTA received and 24 hours to next routine day, please freeze sample (CSF) or separate and freeze at -20°C (EDTA). - For HHV 6 PCR paediatric plasma and serum can also be accepted. - Viral swabs, enter relevant sample site e.g. rectal swab, nasal swab etc. - If all tests on the panel are not required, *see note at end. |  |  |
| Enterovius PCR (e.g. hand, foot + mouth, also known as Coxsackie, Echo) | ENTV | Faeces / Rectal / Throat Swabs / CSF / Serum | Always order ENTV on Meconium samples. Change sample type on request screen to suit specimen. For PM samples: Part of standard panel in NVRL with Parechovirus and Adenovirus. |  |  |
| Epstein Barr Virus Screen | EBVS | Serum / Plasma |  |  |  |
| Eye and Ear Viral Screen | RVEE | Viral Eye Swab | Green top viral swab - If all tests on the panel are not required, *see note at end. |  |  |
| Helicobacter pylori Abs (IgG) / Ag | REFL | Faeces (Ag only) Serum (IgG only) | - Faeces: Freeze when >72 hours before sending - Record in internal notepad in Results Entry, test(s) sample referred for |  | Eurofins Biomnis |
| Hepatitis A IgG / IgM | HEPA | Adult: Serum Gel |  |  | NVRL |
|  |  | Paed: Serum |  |  |  |
| HBsAg (Hep B screen) | HBSC | Adult: Serum / EDTA plasma | - When gestation >38 weeks or if requested by phone urgently. Enter Urgent in the clinical details of the LIS and phone NVRL to inform them it’s en route. Send on same day where possible. Otherwise keep in fridge and send the following day first thing. - Hepatitis C antigen: Request if clinical details of exposure to bodily fluids (e.g. blood donation, drug user) or if specifically requested. |  | NVRL |
|  |  | Paed: Serum / EDTA plasma |  |  |  |
| Hepatitis C Antigen | HCRT | Serum Gel |  |  |  |
| Hepatitis Screen (Hep B (HBsAg) + Hep C) | HEPN | Adult: Serum gel |  |  |  |
|  |  | Paed: Serum |  |  |  |
| Hepatitis B Antibody Titre | HTIT | Adult: Serum gel |  |  |  |
| Hepatitis B PCR / Viral Load | HBPC | Adult: EDTA | - Samples are stable at room temperature for 24 hours from collection. Samples are sent to the NVRL as soon as possible (reach NVRL with 24 hours of blood draw). - If samples cannot be sent to the NVRL within 24 hours, they must be separated, frozen and transported at -20°C. - EDTA is the preferable sample for both paeds and adults however serum is accepted by NVRL. |  |  |
|  |  | Paed: EDTA |  |  |  |
| Hepatitis C PCR / Viral Load | HCPC | Adult: EDTA |  |  |  |
|  |  | Paed: EDTA |  |  |  |
| Hepatitis B or C Genotying | HBGT HCGT | EDTA Plasma |  |  |  |
| Hepatitis B and C Serology Work-Up (RVEEH Only) | HBC HEPN | Adult: Serum | The following tests should be given; Anti Hep B core Total, Hep B s Surface Antigen and Hep C antibodies. |  |  |
| Hepatitis C Abs | HCSC | Adult: Serum Gel / EDTA Plasma Paeds: Serum / EDTA Plasma / Lit Hep Plasma |  |  |  |
| Hepatitis D (Delta) Screen | HEPD | Adult: Serum Gel | Spin to separate from cells. Stable on gel. Separate + fridge if storing over the weekend |  |  |
| Hepatitis E Screen | HEPE | Adult: Serum Gel | Spin to separate from cells. Stable on gel. Separate + fridge if storing over the weekend |  |  |
| Herpes Simplex Virus 1 + 2 PCR | HERP | CSF / EDTA Paed: Serum sample is acceptable | - Urgent send CSF ASAP within working day or freeze immediately if at the weekend. Change sample type on request to suit specimen. - For EDTA: If samples cannot be sent to the NVRL within 24 hours, they must be separated, frozen and transported at -20°C. |  | NVRL |
|  | SHSV | Viral Swab (genital / eye) / Fluid |  |  |  |
| Herpes Simplex Virus Serology | HSER | Adult: Serum |  |  |  |
|  |  | Paed: Serum |  |  |  |
| HIV Antigen / Antibody | HIV | Adult: Serum Gel |  |  |  |
|  |  | Paed: Serum |  |  |  |
| HIV PCR / Viral Load | HIVP | Adult: EDTA | - Samples are stable at room temperature for 24 hours from collection. Samples are sent to the NVRL as soon as possible (reach NVRL with 24 hours of blood draw). - If samples cannot be sent to the NVRL within 24 hours, they must be separated, frozen and transported at -20°C. - NB: If any EDTA sample received for NVRL, check with requesting unit if for PCR (in case EDTA sample taken in error), if so, spin, separate and freeze. EDTA samples are generally for PCR. |  |  |
|  |  | Paed : EDTA |  |  |  |
| HIV, Hepatitis Screen, Hep B Core | IVF | Adult: Serum Gel |  |  |  |
| HTLV Screen (1 + 2) | HTLV | Adult: Serum Gel / EDTA / Plasma Paed: EDTA / Plasma |  |  |  |
| Immunoblot BORC (Confirmation Test for Lyme Disease) | COMS | Adult: Serum | In the result entry field type the following “ Test being carried out” |  |  |
| Leptospira IgM (Leptospira screen) | LEPS | Adult: Serum |  |  |  |
| Lyme Disease (also known as Borrelia) (RVEEH and NMH Requests) | LYME | Adult: Serum |  |  | NVRL |
| Measles and Mumps | MMSC | Adult: Serum |  |  |  |
| Measles Screen | MEAS | Adult: Serum |  |  |  |
| Measles RNA PCR | MEPH | Oracol Swab |  |  |  |
| Mumps Screen | MUMS | Adult: Serum |  |  |  |
| Mumps RNA PCR | MPCR | Oracol Swab |  |  |  |
| Monkeypos | OPOX | Viral Swab |  |  |  |
| Needle Stick Source | NSS | Adult: Serum | Refer-to WI-CS-SR-4 for criteria, hours testing available. | In LIS, in clinical details field of the source's request entry, enter laboratory accession number of the recipients sample and vice versa. |  |
| Needle Stick Recipient (Hold) | HOLD | Adult: Serum |  |  |  |
| OHD SCREEN (Rubella, Anti-HBs Ab Titres, HBsAg, Anti-HB Core Total, Varicella, Measles + Mumps) | OHDS | Adult: Serum Gel | - If all tests on the panel are not required, *see note at end. |  |  |
| IVS (Sample ID Validated by OHD) | IVS | Adult: Serum Gel | Only order if written on OHD forms. Brings in comment: SAMPLE ID VALIDATED BY OCC HEALTH |  |  |
| Parvovirus B19 Screen | PARV | Adult: Serum Gel Paed: Serum / Plasma | If requested urgently by phone, send ASAP. Otherwise send with next courier. When requested as an add-on test, relevant clinical details must be provided e.g. exposure If specimen received on a foetus, book in as per section 2.2.2 in PP-CS-LM-4. |  |  |
| Parvovirus B19 DNA | MPAR | Adult: Amniotic Fluid / EDTA Paed: EDTA, Serum |  |  |  |
| Parechovirus | PARE | Green Viral Throat or Rectal Swab / Faeces / CSF / Serum | Part of standard panel in NVRL with Adenovirus and Enterovirus. |  | NVRL |
| Quantiferon (TB) | QUTB | Special blood tubes (x4) from Biomnis | - Quantiferon TB Gold kits are stored @RT. - Quantiferon TB Information form stored in Specimen Reception with the kits, where sign for “SWABS AND BOTTLES” is. - Fill out form fully with all patient information (the bottom part will be completed by the referral laboratory), and send with sample with routine courier. - Sample storage: - Routine hours: Keep at RT and send with the next available courier. - OOH: Incubate samples at 37°C for 16 – 24 hours. Centrifuge at 3,000rpm for 15 minutes (centrifugation must be completed within 3 days). |  | Eurofins Biomnis |
| Respiratory Panel (Sars-CoV-2, Influenza, RSV, Parainfluenza, Metapneumovirus, Mycoplasma pneumonia, Chlamydphila pneumonia, Rhinovirus, Enterovirus, Adenovirus, Coronavirus, Bocavirus) | MRSC | Green Viral Swab / E.T. Secretions / UTM swab | Influenza, RSV and SARS CoV2 testing is available in NMH; Refer full respiratory panel to NVRL |  | NVRL |
| RSV Screen | RSVS | UTM or green viral swab |  |  |  |
| Rubella IgG | RUBN | Adult : Serum gel |  |  |  |
| Rubella RNA | MRUB | Oral fluid Oracol swab |  |  |  |
| Rubella IgM Screen | RUB | Adult : Serum gel |  |  |  |
|  |  | Paed : Serum |  |  |  |
| Syphilis (Also Known as RPR, TPPA , VDRL, Treponema pallidum) | WRO | Adult : Serum gel |  |  |  |
|  |  | Paed : Serum |  |  |  |
| Torch + Syphilis (Maternal): Toxoplasma IgM / IgG, Rubella IgG, CMV IgM / IgG, T. pallidum, Parvovirus IgG / IgM | TORM | Adult: Serum gel Plasma (Lit Hep) |  |  |  |
| Torch + Syphilis (Paed): Rubella RNA, CMV, Toxoplasma, T. pallidum | TORP | Paed : Serum |  |  | NVRL |
| Toxocara Abs (RVEEH Only) | TOCA | Serum | Spin to separate from cells. Stable on gel. Separate and fridge if storing over the weekend. |  | Eurofins Biomnis |
| Toxoplasmosis (Swansea) | SWTS | Serum Amniotic Fluid | Consult with the Consultant Microbiologist Complete the Toxoplasma reference form – Available on https://phw.nhs.wales/services-and-teams/reference-laboratories-and-specialist-services/toxoplasma-reference-unit/ |  | Toxoplasma Reference Unit, Public Health Wales |
| Toxoplasmosis Screen | TOX. | Adult : Serum gel | Most requests are sent to NVRL. If mother and baby paired samples – send to Toxoplasma Reference Laboratory, Swansea, UK. |  | NVRL |
| Varicella Screen (Also Known as Chickenpox or Shingles or Varicella Zoster Virus) | VARS | Adult: Serum Gel Paed: Serum | For urgent varicella – Refer to WI-CS-SR-4 for criteria When requested as an add-on test, relevant clinical details must be provided e.g. exposure |  |  |
| Varicella PCR | SVZV | Viral swab |  |  |  |
| Viral Culture | VCUL | Viral swab (Green Lid) |  |  |  |
| Viral PCR / PM Culture | VCUL | Tissue in viral transport medium | Green top swab required for NMH (Viral swab). |  |  |
| RVEEH Viral Screen (swab): HSV, Varicella, Adenovirus | RVEE | Viral Swab (Green Lid) | - Eye swabs or skin - If all tests on the panel are not required, *see note at end. |  |  |
| Viral Panel (RVEEH Only) | TOX HSER VARS WRO CMBL EBVS | Adult: Serum |  |  |  |
| Zika Virus RNA | ZIKA | Serum EDTA Urine | - Change sample type on request entry. - NB: Relevant travel and clinical details are mandatory prior to referring of sample. Location and dates of travel MUST be included. Contact Consultant Microbiologist if no relevant information. - Serum is the preferred specimen of choice. - Separate and freezer serum / plasma within 24 hours (or aliquot of) |  | NVRL |

Note:  All request forms received out of hours must be date and time stamped.

When a number of tests are requested that form part of a profile, and is easier to request the profile test code than the tests individually, any parameter of the profile that is not required can be set ‘returned’ (ctrl + R) in Results Entry prior to sending requests to the referral laboratory and ‘Not Tested’ for the parameter(s) in question.

MOLECULAR TESTING

| Test | Code | Tube Type | Special Requirements | Referral Centre |
| --- | --- | --- | --- | --- |
| Cystic Fibrosis | TDL | EDTA | Enter sample type on WinPath to suit specimen type received. Retain a scan of the request form. If sent outside of routine hours, date and time stamp form and store at room temperature. | TDL Genetics |
| Cytogenetics (e.g. PCR, Karyotype) | TDL | CVS | To be accompanied with a Maternal EDTA sample for maternal cell contamination (MCC) Enter sample type on WinPath to suit specimen type received. Retain a scan of the request form. If sent outside of routine hours, date and time stamp form and store at room temperature. |  |
|  |  | Amniotic Fluid |  |  |
| Cytogenetics (e.g. Karyotype) | TDL | Heparin 4ml | Enter sample type on WinPath to suit specimen type received. Retain a scan of the request form. If sent outside of routine hours, date and time stamp form and store at room temperature. |  |
| Cytogenetics (e.g. Karyotype) | TDL | Products of Conception (POC) | Enter sample type on WinPath to suit specimen type received. Retain a scan of the request form. If sent outside of routine hours, date and time stamp form and store at room temperature. |  |
|  |  | Buccal swab |  |  |
| DNA Storage | TDL | EDTA or Heparin 4ml | Enter sample type on WinPath to suit specimen type received. Retain a scan of the request form. If sent outside of routine hours, date and time stamp form and store at room temperature. |  |
| Molecular Genetics (e.g. Microarray) | TDL | EDTA | Enter sample type on WinPath to suit specimen type received. Retain a scan of the request form. If sent outside of routine hours, date and time stamp form and store at room temperature |  |
| Other genetic testing | COMS |  | Samples may be referred to other laboratories on the request of a medical Consultant. |  |

Molecular Genetics:

- Specimens for cytogenetics are handled by Specimen Reception and enquiries should be directed to Ext: 3178/3545.

- Samples are sent to the referral centre the same day (Monday–Thursday) if received in the laboratory before 10:30 am. On Friday, samples can be received up until 12:00. Samples received after this time will be sent the following routine working day. Our courier provides a next day delivery to the referral centres.

- All samples must be sent with a completed request form.

- No samples for molecular genetics should be sent outside of routine hours (Monday-Friday 08:00-17:00).

- Please contact specimen reception for further information on specimen requirements for molecular genetics.

REFERRAL LABORATORY DETAILS

| REFERRAL CENTRE | ADDRESS |  | PHONE NUMBER |  |
| --- | --- | --- | --- | --- |
| Children’s Hospital Ireland (CHI), Crumlin | Microbiology, Children’s Hospital Ireland, Crumlin, Dublin 12 |  | 01 409 6970 |  |
| Eurofins Biomnis | Unit 3 Sandyford Business Park, Burton Hall Road, Sandyford Business Park, Dublin 18, D18 E528 | Three Rock Road, Sandyford Industrial Estate, Dublin 18, D18 A4C0 | 01 293 3690 | 01 295 8545 |
| NVRL | UCD, Belfield, Dublin 4 |  | 01 716 4415 |  |
| TDL Genetics | TDL Genetics, The Doctors Laboratory, 60 Whitfield Street, London, W1T 4EU |  | 0044 207 307 7373 |  |
| Toxoplasma Reference Unit, Public Health Wales | Toxoplasma Reference Unit, Public Health Wales Microbiology, Singleton Hospital, Swansea, SA2 8QA |  | 0044 (0)1792 285 055 |  |

For other virology requests, please consult WI-CS-SR-2 or The NVRL User Manual at the following link: http://nvrl.ucd.ie/routine

If both serology and molecular test requests are made, please collect a separate specimen for each request.

## Retrospective Requesting/Additional Requests

Samples are sent to NVRL and not retained in Specimen Reception. Additional tests may be requested within a year period by completion of a Serology request.  Highlight on the form that it is add on request to a previous sample sent to the laboratory and send form to the Specimen Reception department. Samples are stored in the NVRL for 12 months. All add on requests are entered into the LIS.

# Appendices

## Appendix 1: Useful Referral Contact Numbers

| Referral Laboratory | Address | Phone/Fax Number |
| --- | --- | --- |
| Haematology Laboratory Children’s Health Ireland at Crumlin | Children’s Health Ireland at Crumlin Dublin 12 | Phone:01-4096432 Fax: 01-4559014 |
| Haemolytic Laboratory | Central Pathology Dept St James Hospital Dublin 8 | Phone: 01-4162394 01-4162909 |
| Special Coagulation Laboratory (NCHCD) | Central Pathology Dept St James Hospital Dublin 8 | Phone: 01-4162956 |
| St. James Immunology Dept | Central Pathology Dept St James Hospital Dublin 8 | Phone: 01-4162925 Fax: 01-4113008 |
| St. Vincent’s Haematology Laboratory | St. Vincent's University Hospital Elm park Dublin 4 | Phone: 01-2774280 |
| St. Vincent’s Coagulation Laboratory | St. Vincent's University Hospital Elm park Dublin 4 | Phone: 01-2774395 |
| St. Vincent’s Immunology Laboratory | St. Vincent's University Hospital Elm park Dublin 4 | Phone: 01-2774598 01-2773825 |
| St. Vincent’s Biochemistry Laboratory | St. Vincent's University Hospital Elm park Dublin 4 | Phone: 01-2214550 |
| Nuclear Medicine Department | St. Vincent’s University Hospital Elm park Dublin 4 | Phone: 01-2214378 |
| St. James Nutrition Laboratory | Central Pathology Dept St James Hospital Dublin 8 | Phone: 01-4162394 |
| Cancer Molecular Diagnostics Laboratory | Central Pathology Dept St James Hospital Dublin 8 | Phone: 01-4103588 |
| National Virus Reference Laboratory(NVRL) | University College Dublin, Belfield, Dublin 4 | Phone:01 7164414 Web: www.ucd.ie/nvrl |
| TDL | The Doctors Laboratory, 60 Whitfield Street, London W1T 4EU | Phone: 00442073077409 00442073077373 |
| Children’s Health Ireland at Temple Street Biochemistry: (Lactate, Organic Acids, Amino Acids) | Children’s Health Ireland at Temple Street Children’s HospitalDublin 1 | Phone: 01 878 4272 / 4273 / 4458 |
| Biomnis Laboratories | Three Rock Road, Sandyford Industrial Estate, Foxrock | Phone: 01 - 2944108 |
| The Rotunda Hospital | Parnell Square, Dublin 1 | 01-8171700 |

## Appendix 2: Uncertainty of Measurement

Performance specifications and indications of uncertainty of measurement for internal tests are recorded in the laboratory form RF-CS-LM-90, Calculated Uncertainty of Measurement for Laboratory Procedures, and are available from the individual laboratories (where appropriate) on request.